======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-1001

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-DCI-RCK-001

--------------------------------------------------

ASSEMBLY NAME

Server Rack & Cabinet Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Data Center, Server Room &

Mission Critical Infrastructure

--------------------------------------------------

Assembly Type

Server Rack & Equipment Cabinet

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-101 Equipment Mounting Standards

ASM-501 Network Rack Assembly

ASM-507 UPS & Power Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Server Rack & Cabinet Assembly establishes

the engineering standard for installing,

anchoring, grounding, organizing, documenting,

and commissioning server racks and equipment

cabinets within Digitally Defined mission-critical

facilities.

The assembly standardizes rack layout, structural

mounting, cable management, airflow management,

power distribution, grounding, equipment spacing,

labeling, and service accessibility to maximize

reliability, maintainability, and future expansion.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Equipment room constructed.

• Environmental controls operational.

• Floor loading verified.

• Power infrastructure available.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Enterprise Data Centers

• Server Rooms

• MDF Rooms

• IDF Rooms

• Network Operations Centers

• Mission Critical Facilities

• Industrial Control Rooms

======================================================================

STANDARD SCOPE

Includes

• Server Cabinets

• Open Frame Racks

• Seismic Anchoring

• Grounding & Bonding

• Vertical Cable Managers

• Horizontal Cable Managers

• Blanking Panels

• Brush Panels

• Rack PDU Mounting

• Documentation

• Commissioning

======================================================================

MISSION CRITICAL PERFORMANCE REQUIREMENTS (MCPR)

Rack Stability

Verified

--------------------------------------------------

Equipment Accessibility

Verified

--------------------------------------------------

Ground Continuity

Verified

--------------------------------------------------

Cable Organization

Verified

--------------------------------------------------

Airflow Management

Verified

--------------------------------------------------

Expansion Capacity

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Mission-Critical Infrastructure

--------------------------------------------------

Expandability

Minimum 25% Rack Space Reserved

--------------------------------------------------

Maintenance Accessibility

Front and Rear Service Access

--------------------------------------------------

Acceptance Criteria

Every rack shall provide secure equipment

mounting, organized cable pathways, proper

grounding, optimized airflow, and sufficient

capacity for future expansion.

======================================================================

SUPPORTED RACK TYPES

Rack Styles

• 2-Post Rack

• 4-Post Rack

• Enclosed Cabinet

• Seismic Cabinet

• Sound-Reduced Cabinet

--------------------------------------------------

Standard Heights

• 24U

• 42U

• 45U

• 48U

--------------------------------------------------

Widths

• 600 mm

• 800 mm

--------------------------------------------------

Depths

Per engineering design

======================================================================

STRUCTURAL REQUIREMENTS

Rack Anchoring

Required

--------------------------------------------------

Floor Rating

Verified

--------------------------------------------------

Level Installation

Verified

--------------------------------------------------

Seismic Compliance

Where applicable

--------------------------------------------------

Load Capacity

Per manufacturer specifications

======================================================================

AIRFLOW MANAGEMENT

Required

• Front-to-Rear Airflow

• Blanking Panels

• Brush Grommets

• Air Containment Ready

• Cable Separation

--------------------------------------------------

Thermal Obstructions

Not Permitted

======================================================================

POWER DISTRIBUTION

Rack PDUs

Installed

--------------------------------------------------

A/B Power Feed

Supported where required

--------------------------------------------------

Power Cable Separation

Required

--------------------------------------------------

Grounding

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Rack Space

Minimum 25% reserve

--------------------------------------------------

Weight Capacity

Verified

--------------------------------------------------

Power Capacity

Verified

--------------------------------------------------

Future Expansion

Additional servers

Storage systems

Network equipment

Mission-critical upgrades

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Physical Security

Lockable cabinets where required

--------------------------------------------------

Rack Access Logging

Where specified

--------------------------------------------------

Asset Identification

Required

--------------------------------------------------

Configuration Documentation

Mandatory

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review rack elevations

• Verify floor loading

• Verify cooling strategy

• Review equipment layout

--------------------------------------------------

MATERIAL VERIFICATION

• Rack verified

• Cable managers verified

• PDUs verified

• Grounding hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify floor penetrations

• Verify grounding

• Verify cable pathways

--------------------------------------------------

INSTALLATION

• Anchor rack

• Install cable managers

• Install PDUs

• Install blanking panels

• Bond rack to grounding system

--------------------------------------------------

FINAL CONFIGURATION

• Verify elevations

• Verify labels

• Verify airflow

• Verify service clearances

--------------------------------------------------

TESTING & COMMISSIONING

• Verify rack stability

• Verify grounding

• Verify PDU installation

• Verify cable routing

• Verify airflow

• Verify documentation

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Rack secure

□ Grounding verified

□ Airflow verified

□ Rack elevations verified

□ Expansion capacity verified

□ Documentation complete

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Rack level

□ Anchors secure

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Rack Elevation Drawings

□ Equipment Layout

□ Grounding Verification

□ Rack Numbering Schedule

□ PDU Assignment

□ QC Photographs

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

WARRANTY & LIFECYCLE

Rack Infrastructure

25+ Years

Hardware

Manufacturer Warranty

Annual physical inspection recommended.

======================================================================

SIGNAL CLASSIFICATION

Infrastructure

• Ground Bond

• Rack Power

• Ethernet

• Fiber

• Cable Management

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laser Level

• Torque Wrench

• Rotary Hammer

• Ground Resistance Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Grounding verified

--------------------------------------------------

HVAC

□ Cooling strategy verified

--------------------------------------------------

IT

□ Rack elevations approved

--------------------------------------------------

Customer

□ Equipment layout approved

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

ROOM-012 Data Center

Mission Critical Spaces

======================================================================

UPGRADE COMPATIBILITY

ASM-1002 Server &

Compute Hardware Assembly

ASM-1003 Storage Systems

(NAS/SAN) Assembly

ASM-1004 Virtualization &

Hypervisor Infrastructure Assembly

ASM-1005 UPS, Power Distribution &

Redundant Power Assembly

ASM-1006 Environmental Monitoring &

Precision Cooling Assembly

ASM-1007 Data Center Network

Core Integration Assembly

ASM-1008 Disaster Recovery &

High Availability Assembly

ASM-1009 Data Center Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every rack shall be permanently anchored unless

engineering documentation explicitly permits

otherwise.

--------------------------------------------------

2.

Front and rear service clearances shall remain

unobstructed.

--------------------------------------------------

3.

Grounding and bonding shall comply with approved

engineering standards.

--------------------------------------------------

4.

Blanking panels shall be installed in all unused

rack spaces where required for airflow management.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include rack elevations,

QC photographs, commissioning reports,

ground verification, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Poor airflow management

• Missing rack grounding

• Improper anchoring

• Unorganized cable routing

• Overloaded racks

• Missing blanking panels

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

TIA-942 Data Center Standards

BICSI 002 Data Center Design Standard

ANSI/TIA-606 Labeling Standard

NEC

Mission Critical Infrastructure Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-1001

======================================================================