======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-1002

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-DCI-SRV-001

--------------------------------------------------

ASSEMBLY NAME

Server & Compute Hardware Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Data Center, Server Room &

Mission Critical Infrastructure

--------------------------------------------------

Assembly Type

Enterprise Server & Compute Infrastructure

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Systems Engineer

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-1001 Server Rack &

Cabinet Assembly

ASM-507 UPS & Power

Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Server & Compute Hardware Assembly establishes

the engineering standard for installing,

configuring, documenting, validating, and

commissioning enterprise compute infrastructure

within Digitally Defined mission-critical

environments.

The assembly standardizes rack-mounted servers,

blade chassis, GPU compute systems, redundant

power, hardware configuration, firmware

management, hardware monitoring, asset tracking,

and lifecycle readiness.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Server racks installed.

• Environmental controls operational.

• Power infrastructure verified.

• Network infrastructure operational.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Enterprise Data Centers

• Server Rooms

• Edge Computing

• Healthcare

• Industrial Facilities

• Education

• High Availability Environments

======================================================================

STANDARD SCOPE

Includes

• Rack Servers

• Blade Servers

• GPU Compute Servers

• Rail Kits

• Cable Management

• Redundant Power Supplies

• RAID Controllers

• Out-of-Band Management

• Documentation

• Commissioning

======================================================================

MISSION CRITICAL PERFORMANCE REQUIREMENTS (MCPR)

Server Availability

24/7 Continuous Operation

--------------------------------------------------

Hardware Monitoring

Continuous

--------------------------------------------------

Redundant Power

Verified

--------------------------------------------------

Thermal Performance

Verified

--------------------------------------------------

Firmware Compliance

Verified

--------------------------------------------------

Asset Documentation

Complete

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Mission-Critical Operation

--------------------------------------------------

Reliability

Enterprise-grade Compute

--------------------------------------------------

Expandability

Supports Future Compute Growth

--------------------------------------------------

Maintenance Accessibility

Front and Rear Service Access

--------------------------------------------------

Acceptance Criteria

Every server shall operate continuously while

maintaining redundant power, verified firmware,

hardware health monitoring, secure remote

management, and complete engineering

documentation.

======================================================================

SUPPORTED SERVER TYPES

Enterprise Servers

• 1U Rack Server

• 2U Rack Server

• 4U Rack Server

--------------------------------------------------

Blade Infrastructure

• Blade Chassis

• Blade Compute Modules

--------------------------------------------------

Specialized Systems

• GPU Servers

• AI Compute Servers

• Hyperconverged Nodes

• Edge Compute Appliances

======================================================================

HARDWARE CONFIGURATION

Processor Installation

Verified

--------------------------------------------------

Memory Population

Per engineering design

--------------------------------------------------

RAID Configuration

Verified

--------------------------------------------------

Drive Population

Verified

--------------------------------------------------

PCIe Expansion

Verified

--------------------------------------------------

Asset Tagging

Required

======================================================================

POWER REQUIREMENTS

Primary PSU

Installed

--------------------------------------------------

Secondary PSU

Installed

--------------------------------------------------

Dual Power Feeds

Supported

--------------------------------------------------

Power Redundancy

Verified

--------------------------------------------------

Power Consumption

Documented

======================================================================

REMOTE MANAGEMENT

Supported Platforms

• Dell iDRAC

• HPE iLO

• Lenovo XClarity

• Supermicro IPMI

--------------------------------------------------

Functions

• Remote Console

• Remote Power Control

• Hardware Monitoring

• Firmware Updates

• Event Logs

======================================================================

FIRMWARE MANAGEMENT

Required

• BIOS/UEFI Current

• RAID Firmware Current

• BMC Firmware Current

• Drive Firmware Current

--------------------------------------------------

Firmware Baseline

Documented

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Rack Capacity

Minimum 25% reserve

--------------------------------------------------

Power Capacity

Verified

--------------------------------------------------

Cooling Capacity

Verified

--------------------------------------------------

Future Expansion

Additional Compute

GPU Expansion

Virtualization

Cluster Growth

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Unique Administrator Accounts

Required

--------------------------------------------------

Secure Management Protocols

HTTPS / SSH

--------------------------------------------------

Firmware Security

Verified

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review rack elevations

• Verify server specifications

• Review power requirements

• Review cooling requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Servers verified

• Rail kits verified

• Drives verified

• Power supplies verified

--------------------------------------------------

INSTALLATION

• Install rail kits

• Install servers

• Connect redundant power

• Connect network interfaces

• Label equipment

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure BIOS

• Configure RAID

• Configure remote management

• Update firmware

• Configure monitoring

--------------------------------------------------

TESTING & COMMISSIONING

• Verify POST

• Verify hardware health

• Verify RAID

• Verify redundant power

• Verify remote management

• Perform burn-in testing

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Server operational

□ RAID verified

□ Remote management verified

□ Redundant power verified

□ Firmware current

□ Burn-in testing completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Hardware secure

□ Labels complete

□ Firmware documented

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Server Inventory

□ Asset Register

□ Firmware Inventory

□ RAID Configuration

□ BIOS Configuration

□ Remote Management Configuration

□ Burn-In Test Report

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

WARRANTY & LIFECYCLE

Servers

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Quarterly hardware health review recommended.

======================================================================

SIGNAL CLASSIFICATION

Infrastructure

• Ethernet

• Fiber

• HTTPS

• SSH

• IPMI

• SNMP

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• KVM Console

• Network Analyzer

• Cable Tester

• Torque Driver

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Redundant power verified

--------------------------------------------------

IT

□ Network configuration verified

--------------------------------------------------

Facilities

□ Cooling verified

--------------------------------------------------

Customer

□ Hardware specifications approved

======================================================================

ROOM COMPATIBILITY

ROOM-012 Data Center

ROOM-009 Equipment Room

Mission Critical Facilities

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-1003 Storage Systems

(NAS/SAN) Assembly

ASM-1004 Virtualization &

Hypervisor Infrastructure Assembly

ASM-1005 UPS, Power Distribution &

Redundant Power Assembly

ASM-1006 Environmental Monitoring &

Precision Cooling Assembly

ASM-1007 Data Center Network

Core Integration Assembly

ASM-1008 Disaster Recovery &

High Availability Assembly

ASM-1009 Data Center Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every server shall utilize redundant power supplies

where supported by the hardware platform.

--------------------------------------------------

2.

All firmware shall be updated to the approved

baseline before production deployment.

--------------------------------------------------

3.

RAID configuration shall be verified before

operating system installation.

--------------------------------------------------

4.

Remote management interfaces shall utilize secure

credentials and encrypted protocols.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include firmware records,

burn-in test reports, QC photographs,

configuration documentation, and updated project

records.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect rail installation

• Single power supply connection

• Outdated firmware

• Missing RAID validation

• Improper airflow spacing

• Weak remote management credentials

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

TIA-942 Data Center Standards

BICSI 002 Data Center Design Standard

NIST Cybersecurity Framework

Enterprise Server Best Practices

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-1002

======================================================================