======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-1005

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-DCI-PWR-001

--------------------------------------------------

ASSEMBLY NAME

UPS, Power Distribution &

Redundant Power Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Data Center, Server Room &

Mission Critical Infrastructure

--------------------------------------------------

Assembly Type

Mission-Critical Power Infrastructure

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Licensed Electrician

1 Level-2+ Infrastructure Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-1001 Server Rack &

Cabinet Assembly

ASM-1002 Server &

Compute Hardware Assembly

ASM-507 UPS & Power

Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The UPS, Power Distribution & Redundant Power

Assembly establishes the engineering standard for

installing, configuring, documenting, validating,

and commissioning mission-critical electrical

infrastructure within Digitally Defined enterprise

facilities.

The assembly standardizes online UPS systems,

rack-mounted UPS systems, intelligent PDUs,

automatic transfer switches, generator interfaces,

battery monitoring, redundant power distribution,

runtime validation, and lifecycle management.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Electrical infrastructure complete.

• Equipment racks installed.

• Grounding verified.

• Generator available where specified.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Enterprise Data Centers

• Server Rooms

• Network Operations Centers

• Healthcare

• Industrial Facilities

• Financial Institutions

• High Availability Environments

======================================================================

STANDARD SCOPE

Includes

• Online Double-Conversion UPS

• Rack UPS Systems

• Modular UPS Platforms

• Intelligent Rack PDUs

• Automatic Transfer Switches (ATS)

• Static Transfer Switches (STS)

• Battery Monitoring Systems

• Generator Integration

• Runtime Validation

• Documentation

• Commissioning

======================================================================

MISSION CRITICAL PERFORMANCE REQUIREMENTS (MCPR)

Power Availability

24/7 Continuous Operation

--------------------------------------------------

Redundant Power

Verified

--------------------------------------------------

Battery Health

Continuous Monitoring

--------------------------------------------------

Generator Integration

Verified

--------------------------------------------------

Power Quality

Verified

--------------------------------------------------

Runtime Validation

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Mission-Critical Operation

--------------------------------------------------

Reliability

Enterprise Redundant Power

--------------------------------------------------

Expandability

Supports Future Load Growth

--------------------------------------------------

Maintenance Accessibility

Hot-Swappable Modules Supported

--------------------------------------------------

Acceptance Criteria

The power infrastructure shall provide continuous,

conditioned electrical power with redundant power

paths, validated battery autonomy, generator

coordination, and complete engineering

documentation.

======================================================================

SUPPORTED POWER SYSTEMS

UPS Types

• Online Double Conversion

• Rack-Mounted UPS

• Modular UPS

--------------------------------------------------

Power Distribution

• Intelligent Rack PDUs

• Metered PDUs

• Switched PDUs

• Busway Systems

--------------------------------------------------

Transfer Equipment

• Automatic Transfer Switches

• Static Transfer Switches

======================================================================

BATTERY SYSTEMS

Supported Technologies

• VRLA Batteries

• Lithium-Ion Batteries

• External Battery Cabinets

--------------------------------------------------

Battery Monitoring

• Voltage

• Current

• Temperature

• Internal Resistance

• Runtime Estimation

======================================================================

POWER MONITORING

Monitor

• Voltage

• Current

• Frequency

• Load %

• Runtime Remaining

• Battery Health

• Event Logs

--------------------------------------------------

Remote Monitoring

Enabled

======================================================================

REDUNDANCY REQUIREMENTS

Power Architecture

• A Feed

• B Feed

• Dual-Cord Equipment

• Generator Backup

• Automatic Failover

--------------------------------------------------

Power Path Testing

Required

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

UPS Capacity

Maximum 80% Continuous Load

--------------------------------------------------

Battery Runtime

Per Engineering Design

--------------------------------------------------

PDU Capacity

Minimum 25% Reserve

--------------------------------------------------

Future Expansion

Additional UPS Modules

Battery Expansion

Additional Rack Capacity

Generator Expansion

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Role-Based Permissions

Required

--------------------------------------------------

Encrypted Management

HTTPS / SSH

--------------------------------------------------

Firmware

Current Manufacturer Version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review one-line diagrams

• Verify load calculations

• Review redundancy strategy

• Verify runtime requirements

--------------------------------------------------

MATERIAL VERIFICATION

• UPS verified

• Batteries verified

• PDUs verified

• ATS verified

--------------------------------------------------

INSTALLATION

• Install UPS

• Install battery cabinets

• Install PDUs

• Install ATS

• Label equipment

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure UPS

• Configure monitoring

• Configure alerts

• Configure network management

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify input/output voltage

• Verify runtime

• Verify failover

• Verify battery monitoring

• Verify generator transfer

• Verify alarms

--------------------------------------------------

PERFORMANCE VERIFICATION

□ UPS operational

□ Runtime verified

□ Generator integration verified

□ Battery monitoring verified

□ Power redundancy verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Equipment secure

□ Labels complete

□ Electrical torque verified

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ UPS Configuration

□ Battery Inventory

□ Runtime Calculations

□ PDU Assignment

□ One-Line Diagram

□ Monitoring Configuration

□ Firmware Inventory

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

WARRANTY & LIFECYCLE

UPS Systems

Manufacturer Warranty

Battery Systems

Manufacturer Warranty

Infrastructure

25+ Years

Battery replacement per manufacturer lifecycle.

Annual preventative maintenance required.

======================================================================

SIGNAL CLASSIFICATION

Infrastructure

• SNMP

• Modbus

• HTTPS

• Relay Outputs

• Dry Contacts

• Power Telemetry

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Digital Multimeter

• Power Quality Analyzer

• Battery Impedance Tester

• Torque Wrench

• Thermal Camera

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Utility power verified

--------------------------------------------------

Generator Contractor

□ Generator integration verified

--------------------------------------------------

IT

□ Monitoring network verified

--------------------------------------------------

Customer

□ Runtime requirements approved

======================================================================

ROOM COMPATIBILITY

ROOM-012 Data Center

ROOM-009 Equipment Room

Mission Critical Facilities

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-1006 Environmental Monitoring &

Precision Cooling Assembly

ASM-1007 Data Center Network

Core Integration Assembly

ASM-1008 Disaster Recovery &

High Availability Assembly

ASM-1009 Data Center Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every mission-critical server shall receive redundant

power where supported by the equipment.

--------------------------------------------------

2.

UPS systems shall not exceed 80% continuous rated

capacity unless approved by engineering.

--------------------------------------------------

3.

Battery runtime shall meet or exceed the approved

engineering design prior to project turnover.

--------------------------------------------------

4.

Generator transfer and UPS failover testing shall be

completed before production acceptance.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include runtime reports,

battery health documentation, QC photographs,

commissioning reports, and updated project records.

======================================================================

COMMON ERRORS TO AVOID

• Single power feed deployments

• Improper battery sizing

• Missing redundancy testing

• Incorrect PDU balancing

• Outdated UPS firmware

• Inadequate runtime validation

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

TIA-942 Data Center Standards

NFPA 70 (NEC)

IEEE UPS Standards

Manufacturer UPS Best Practices

Mission Critical Infrastructure Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-1005

======================================================================