======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-1006

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-DCI-ENV-001

--------------------------------------------------

ASSEMBLY NAME

Environmental Monitoring &

Precision Cooling Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Data Center, Server Room &

Mission Critical Infrastructure

--------------------------------------------------

Assembly Type

Environmental Monitoring &

Precision Cooling

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 HVAC Controls Technician

1 Level-2+ Infrastructure Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-905 HVAC Integration &

Environmental Control Assembly

ASM-1001 Server Rack &

Cabinet Assembly

ASM-1005 UPS, Power Distribution &

Redundant Power Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Environmental Monitoring &

Precision Cooling Assembly establishes the

engineering standard for installing,

configuring, documenting, validating,

and commissioning environmental monitoring

and cooling infrastructure within Digitally

Defined mission-critical facilities.

The assembly standardizes precision cooling,

hot aisle/cold aisle containment, environmental

monitoring, airflow optimization, leak detection,

humidity control, pressure monitoring, thermal

validation, redundancy, and lifecycle management.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Server infrastructure operational.

• Power infrastructure operational.

• Mechanical systems installed.

• Environmental design approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Enterprise Data Centers

• Server Rooms

• Network Operations Centers

• Healthcare

• Industrial Facilities

• Financial Institutions

• High Availability Environments

======================================================================

STANDARD SCOPE

Includes

• CRAC Units

• CRAH Units

• In-Row Cooling

• Rear Door Heat Exchangers

• Hot Aisle Containment

• Cold Aisle Containment

• Leak Detection

• Environmental Sensors

• Airflow Monitoring

• Documentation

• Commissioning

======================================================================

MISSION CRITICAL PERFORMANCE REQUIREMENTS (MCPR)

Temperature Stability

Verified

--------------------------------------------------

Humidity Control

Verified

--------------------------------------------------

Cooling Redundancy

Verified

--------------------------------------------------

Leak Detection

Continuous

--------------------------------------------------

Airflow Performance

Verified

--------------------------------------------------

Environmental Monitoring

24/7 Continuous Operation

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Mission-Critical Operation

--------------------------------------------------

Reliability

Enterprise Cooling Infrastructure

--------------------------------------------------

Expandability

Supports Future Rack Density

--------------------------------------------------

Maintenance Accessibility

Continuous Serviceability

--------------------------------------------------

Acceptance Criteria

The environmental management system shall

maintain ASHRAE-recommended operating

conditions while providing redundant cooling,

continuous environmental monitoring,

automated alarm generation, and complete

engineering documentation.

======================================================================

SUPPORTED COOLING SYSTEMS

Cooling Equipment

• CRAC Units

• CRAH Units

• In-Row Cooling

• Rear Door Heat Exchangers

• Chilled Water Systems

• DX Cooling Systems

--------------------------------------------------

Containment

• Hot Aisle Containment

• Cold Aisle Containment

• Rack Blanking Panels

• Airflow Baffles

======================================================================

ENVIRONMENTAL MONITORING

Monitor

• Temperature

• Relative Humidity

• Dew Point

• Air Pressure

• Differential Pressure

• Airflow

• Water Leak Detection

• Condensation Detection

--------------------------------------------------

Trend Logging

Enabled

======================================================================

COOLING PERFORMANCE

Verify

• Supply Air Temperature

• Return Air Temperature

• Rack Inlet Temperature

• Rack Exhaust Temperature

• Cooling Capacity

• Airflow Distribution

--------------------------------------------------

Thermal Imaging

Required

======================================================================

REDUNDANCY REQUIREMENTS

Cooling Strategy

• N+1

• 2N

• Redundant Pumps

• Redundant Fans

--------------------------------------------------

Automatic Failover

Required

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Cooling Capacity

Minimum 25% Reserve

--------------------------------------------------

Rack Density

Verified

--------------------------------------------------

Environmental Sensors

Expandable

--------------------------------------------------

Future Expansion

High Density Racks

Liquid Cooling

AI Cooling Optimization

Digital Twin Integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Role-Based Permissions

Required

--------------------------------------------------

Encrypted Management

HTTPS / SSH

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review cooling calculations

• Verify airflow strategy

• Review containment layout

• Verify redundancy

--------------------------------------------------

MATERIAL VERIFICATION

• Cooling units verified

• Sensors verified

• Leak detection verified

• Containment hardware verified

--------------------------------------------------

INSTALLATION

• Install cooling equipment

• Install containment

• Install sensors

• Install leak detection

• Label equipment

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure alarms

• Configure environmental thresholds

• Configure monitoring

• Configure notifications

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify cooling capacity

• Verify containment

• Verify environmental alarms

• Verify leak detection

• Verify redundancy

• Perform thermal imaging

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Cooling operational

□ Temperature stable

□ Humidity controlled

□ Leak detection verified

□ Thermal imaging completed

□ Redundancy verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Cooling equipment secure

□ Labels complete

□ Sensors documented

□ Documentation complete

□ Thermal images archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Cooling Equipment Schedule

□ Environmental Sensor Schedule

□ Thermal Imaging Report

□ Airflow Analysis

□ Leak Detection Layout

□ Alarm Matrix

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

WARRANTY & LIFECYCLE

Cooling Equipment

Manufacturer Warranty

Infrastructure

25+ Years

Filters

Replace per manufacturer schedule

Annual preventative maintenance required.

======================================================================

SIGNAL CLASSIFICATION

Infrastructure

• BACnet/IP

• Modbus

• SNMP

• Analog Inputs

• Environmental Telemetry

• Alarm Contacts

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Thermal Camera

• Airflow Meter

• Temperature Meter

• Hygrometer

• Differential Pressure Meter

• Leak Detection Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Mechanical

□ Cooling systems verified

--------------------------------------------------

Electrical

□ Power redundancy verified

--------------------------------------------------

IT

□ Environmental monitoring verified

--------------------------------------------------

Customer

□ Environmental operating limits approved

======================================================================

ROOM COMPATIBILITY

ROOM-012 Data Center

Mission Critical Facilities

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-1007 Data Center Network

Core Integration Assembly

ASM-1008 Disaster Recovery &

High Availability Assembly

ASM-1009 Data Center Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Mission-critical cooling systems shall maintain

ASHRAE TC 9.9 recommended environmental

conditions throughout occupied equipment spaces.

--------------------------------------------------

2.

Environmental alarms shall generate immediate

notifications upon exceeding approved operating

thresholds.

--------------------------------------------------

3.

Cooling redundancy shall be fully tested before

project turnover.

--------------------------------------------------

4.

Thermal imaging verification shall be completed

under normal operating load.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include thermal reports,

QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Poor airflow management

• Improper sensor placement

• Missing redundancy testing

• Incorrect containment installation

• Disabled environmental alarms

• Incomplete thermal validation

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

ASHRAE TC 9.9

TIA-942 Data Center Standards

BICSI 002 Data Center Design Standard

Mission Critical Cooling Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-1006

======================================================================