======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-1009

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-DCI-COM-001

--------------------------------------------------

ASSEMBLY NAME

Data Center Commissioning &

Certification Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Data Center, Server Room &

Mission Critical Infrastructure

--------------------------------------------------

Assembly Type

Mission-Critical Infrastructure

Commissioning & Final Acceptance

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Commissioning Engineer

1 Level-2+ Infrastructure Engineer

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-1001 Server Rack &

Cabinet Assembly

ASM-1002 Server &

Compute Hardware Assembly

ASM-1003 Storage Systems

(NAS/SAN) Assembly

ASM-1004 Virtualization &

Hypervisor Infrastructure Assembly

ASM-1005 UPS, Power Distribution &

Redundant Power Assembly

ASM-1006 Environmental Monitoring &

Precision Cooling Assembly

ASM-1007 Data Center Network

Core Integration Assembly

ASM-1008 Disaster Recovery &

High Availability Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Data Center Commissioning &

Certification Assembly establishes the engineering

standard for final inspection, commissioning,

validation, documentation, customer training,

operational acceptance, and certification of

Digitally Defined mission-critical infrastructure.

This assembly verifies that all physical,

electrical, mechanical, networking, compute,

storage, virtualization, environmental, backup,

and disaster recovery systems operate as a unified,

fully documented, resilient infrastructure before

project turnover.

======================================================================

ENGINEERING ASSUMPTIONS

• Installation complete

• All subsystems operational

• Network services operational

• Environmental systems operational

• Documentation substantially complete

• Customer administrative access established

======================================================================

STANDARD APPLICATIONS

Required For

• Enterprise Data Centers

• Server Rooms

• Healthcare

• Government

• Financial Institutions

• Industrial Facilities

• Mission-Critical Facilities

======================================================================

STANDARD SCOPE

Includes

• Engineering Verification

• Functional Testing

• Infrastructure Validation

• Performance Benchmarking

• Cybersecurity Verification

• Documentation Review

• Customer Training

• Final Acceptance

======================================================================

MISSION CRITICAL PERFORMANCE REQUIREMENTS (MCPR)

Verify

□ Rack Infrastructure

□ Compute Hardware

□ Enterprise Storage

□ Virtualization

□ Network Core

□ UPS Systems

□ Environmental Systems

□ Disaster Recovery

□ Monitoring Platforms

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

100% Operational

--------------------------------------------------

Reliability

Continuous During Testing

--------------------------------------------------

Performance

Meets Engineering Specifications

--------------------------------------------------

Documentation

100% Complete

--------------------------------------------------

Customer Acceptance

Required Before Project Closeout

======================================================================

COMMISSIONING CHECKLIST

Rack Infrastructure

□ Rack Anchoring Verified

□ Grounding Verified

□ Rack Elevations Verified

□ Cable Management Verified

--------------------------------------------------

Compute Infrastructure

□ Hardware Health Verified

□ Firmware Current

□ Redundant Power Verified

□ Burn-In Testing Complete

--------------------------------------------------

Storage Systems

□ RAID Health Verified

□ Replication Verified

□ Performance Benchmarked

□ Failover Verified

--------------------------------------------------

Virtualization

□ Cluster Health Verified

□ High Availability Verified

□ Live Migration Verified

□ Backup Integration Verified

--------------------------------------------------

Power Infrastructure

□ UPS Runtime Verified

□ ATS Operation Verified

□ Generator Integration Verified

□ Battery Health Verified

--------------------------------------------------

Environmental Systems

□ Temperature Stability Verified

□ Humidity Verified

□ Cooling Redundancy Verified

□ Leak Detection Verified

--------------------------------------------------

Network Core

□ Routing Verified

□ Redundancy Verified

□ Fibre Connectivity Verified

□ Telemetry Verified

--------------------------------------------------

Disaster Recovery

□ Backup Restore Verified

□ Replication Verified

□ Failover Verified

□ Recovery Objectives Achieved

======================================================================

CYBERSECURITY VALIDATION

Verify

□ Administrative Accounts Secured

□ MFA Enabled

□ RBAC Configured

□ Firmware Current

□ Configuration Backups Completed

□ Audit Logs Verified

□ Security Documentation Complete

======================================================================

PERFORMANCE VALIDATION

Verify

□ CPU Performance

□ Storage Performance

□ Network Throughput

□ Cooling Performance

□ Power Quality

□ Environmental Stability

□ Recovery Performance

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING

• Review engineering package

• Review commissioning procedures

• Review acceptance criteria

--------------------------------------------------

ENGINEERING VERIFICATION

• Verify infrastructure

• Verify networking

• Verify compute

• Verify storage

• Verify environmental systems

--------------------------------------------------

SYSTEM TESTING

• Functional testing

• Failover testing

• Load testing

• Performance benchmarking

• Recovery testing

--------------------------------------------------

CUSTOMER TRAINING

• Infrastructure overview

• Monitoring platforms

• Backup procedures

• Maintenance schedules

• Alarm response

• Basic troubleshooting

--------------------------------------------------

FINAL ACCEPTANCE

• Documentation review

• Customer walkthrough

• Questions answered

• Customer approval

======================================================================

PERFORMANCE VERIFICATION

□ Infrastructure verified

□ Performance validated

□ Disaster recovery validated

□ Customer training completed

□ Documentation complete

□ Meets engineering design intent

======================================================================

QUALITY CONTROL INSPECTION

Verify

□ Labels complete

□ Firmware current

□ Asset inventory complete

□ Documentation complete

□ Photos archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Commissioning Report

□ Performance Benchmark Report

□ Firmware Inventory

□ Asset Inventory

□ Network Documentation

□ Environmental Reports

□ UPS Runtime Report

□ Disaster Recovery Validation

□ Configuration Backups

□ Customer Training Record

□ Warranty Registration

□ Customer Acceptance Form

□ As-Built Drawings

□ Digital Project Record Updated

======================================================================

CUSTOMER ACCEPTANCE

Customer Demonstration

□ Completed

--------------------------------------------------

Administrator Training

□ Completed

--------------------------------------------------

Documentation Delivered

□ Completed

--------------------------------------------------

Customer Questions

□ Answered

--------------------------------------------------

Customer Acceptance

□ Signed

======================================================================

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Software

Maintain Current Supported Releases

Annual preventative maintenance and disaster

recovery exercises recommended.

======================================================================

SIGNAL CLASSIFICATION

Verified Systems

• Ethernet

• Fibre Channel

• HTTPS

• SSH

• SNMP

• Telemetry

• Environmental Monitoring

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• Thermal Camera

• Power Quality Analyzer

• Storage Benchmark Software

• Hypervisor Management Console

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Final verification completed

--------------------------------------------------

Mechanical

□ Cooling systems verified

--------------------------------------------------

IT

□ Enterprise systems verified

--------------------------------------------------

Customer

□ Final walkthrough completed

======================================================================

ROOM COMPATIBILITY

ROOM-012 Data Center

Mission Critical Facilities

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

Future Hybrid Cloud Standards

Future AI Infrastructure Standards

Future Edge Data Center Standards

Future Enterprise Infrastructure Standards

======================================================================

INSTALLATION RULES

1.

Every mission-critical subsystem shall successfully

complete functional testing before project turnover.

--------------------------------------------------

2.

All failover, redundancy, and disaster recovery

testing shall be documented.

--------------------------------------------------

3.

Configuration backups shall be completed for all

managed infrastructure.

--------------------------------------------------

4.

Customer administrators shall receive operational

training before acceptance.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every project shall include commissioning reports,

QC documentation, customer training records,

configuration backups, warranty documentation,

and updated project records.

======================================================================

COMMON ERRORS TO AVOID

• Incomplete performance testing

• Missing redundancy validation

• Incomplete disaster recovery testing

• Missing firmware verification

• Incomplete customer training

• Missing configuration backups

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

TIA-942 Data Center Standards

BICSI 002 Data Center Design Standard

NIST Cybersecurity Framework

ISO 22301 Business Continuity

Mission Critical Commissioning Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-1009

======================================================================