======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-103

ASSEMBLY NAME:

Fireplace Television Outlet

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Television Infrastructure

--------------------------------------------------

Assembly Type

Premium

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Low-Voltage Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

From LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Fireplace Television Outlet Assembly provides a premium

television installation above a fireplace while maintaining proper

equipment protection, serviceability, aesthetics, and future

expandability.

This assembly is intended for builder homes where the fireplace is

the primary focal point of the room.

======================================================================

STANDARD APPLICATIONS

Approved Rooms

• Great Room

• Family Room

• Bonus Room

• Game Room

• Casita

• Outdoor Living (when approved)

======================================================================

STANDARD SCOPE

This assembly includes:

• One premium television location

• One 2" ENT conduit

• One recessed media enclosure

• One recessed power bridge

• Two Cat6 home runs

• One RG6 home run

• Pull string

• Equipment labeling

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install one 2" ENT conduit from the television outlet to the

structured wiring pathway.

Install one recessed media enclosure centered behind the television.

Install one recessed power bridge in accordance with applicable

electrical code.

Install:

• Two Cat6 home runs

• One RG6 home run

Maintain proper separation between low-voltage wiring and electrical

wiring throughout the installation.

Verify fireplace manufacturer clearance requirements before final

device placement.

======================================================================

STANDARD LOCATION

Television shall be centered on the fireplace unless otherwise shown

on the approved construction drawings.

Default television centerline:

60"–72"

Final height shall be determined by:

• Fireplace height

• Mantel height

• Builder standard

• Approved homeowner selections

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

Typical materials include:

• 2" ENT

• Pull String

• Recessed Media Box

• Recessed Power Bridge

• Low-Voltage Bracket

• Cable Labels

• Fire-Rated Sealant

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical operations include:

• Layout

• Height Verification

• Bracket Installation

• Top Plate Drilling

• ENT Installation

• Cable Installation

• Labeling

• QC Inspection

======================================================================

QUALITY CONTROL

Verify:

□ TV centered over fireplace

□ Builder-approved height confirmed

□ Clearance from fireplace verified

□ ENT installed

□ Pull string installed

□ Recessed media box installed

□ Recessed power bridge installed

□ Two Cat6 installed

□ One RG6 installed

□ Proper bend radius maintained

□ Cable labels installed

□ Photo documentation complete

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-007 Bonus Room

ROOM-020 Game Room

ROOM-023 Casita

ROOM-006 Outdoor Living

(When approved)

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• Premium TV Mount

• Articulating Mount

• Soundbar Package

• Linear Soundbar Mount

• AV Receiver Package

• Fiber Upgrade

• Additional Cat6

• Smart TV Package

======================================================================

INSTALLATION RULES

1.

Fireplace manufacturer clearance requirements shall

always take precedence.

--------------------------------------------------

2.

Television locations shall be centered unless

otherwise approved.

--------------------------------------------------

3.

Two Cat6 home runs are required.

--------------------------------------------------

4.

One RG6 home run is required.

--------------------------------------------------

5.

A recessed media enclosure shall always be installed.

--------------------------------------------------

6.

Power shall comply with all applicable electrical

codes and shall be installed by the appropriate trade.

======================================================================

COMMON ERRORS TO AVOID

• TV mounted too high

• TV mounted off-center

• Missing recessed media box

• Missing power bridge

• ENT not continuous

• Sharp conduit bends

• Missing pull string

• Poor cable labeling

• Failure to verify fireplace clearances

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Installation Standards

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ASSEMBLY

ASM-103

======================================================================