======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-106

ASSEMBLY NAME:

Projector Location

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Television Infrastructure

--------------------------------------------------

Assembly Type

Dedicated Projection System

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Low-Voltage Technician

(2 Recommended During Equipment Installation)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-203 Quad Cat6

ASM-601 Structured Wiring Panel

======================================================================

PURPOSE

The Projector Location Assembly establishes the standard

infrastructure for ceiling-mounted projection systems installed in

dedicated home theaters, media rooms, training rooms, and premium

entertainment spaces.

The assembly provides sufficient infrastructure for current

projection systems while allowing future equipment replacement

without opening finished walls or ceilings.

======================================================================

STANDARD APPLICATIONS

Approved Rooms

• Media Room

• Home Theater

• Theater Lobby

• Luxury Game Room

• Training Room

• Commercial Presentation Room

======================================================================

STANDARD SCOPE

This assembly includes:

• One ceiling projector location

• One 2" ENT conduit

• One ceiling-mounted low-voltage box

• One projector mounting block location

• Four Cat6 home runs

• One pull string

• Cable identification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install one 2" ENT conduit from the projector location to the

Structured Wiring Closet.

Install one ceiling-mounted low-voltage enclosure.

Install:

• Four Cat6 home runs

• Pull string

Provide adequate service loop at the projector location.

Projector mounting shall align with the engineered projector throw

distance and screen location.

Blocking for projector mounting shall be installed by the framing

contractor or builder when specified on approved construction

documents.

======================================================================

STANDARD LOCATION

Projector location shall be centered with the projection screen.

Final location shall be determined by:

• Projector manufacturer

• Throw distance

• Screen size

• Ceiling height

• Engineered room layout

No field relocation shall occur without approval.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

Typical materials include:

• 2" ENT

• Pull String

• Ceiling LV Box

• Cable Labels

• Fire Stop Materials

• Fasteners

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical operations include:

• Layout

• Verify Throw Distance

• Install LV Box

• Install ENT

• Pull Four Cat6

• Install Pull String

• Label Cables

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Tape Measure

• Laser Distance Meter

• Drill

• Hole Saw

• Fish Tape

• Conduit Cutter

• Cable Pulling Equipment

• Label Printer

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Cut-Resistant Gloves

□ Hard Hat (Construction Phase)

□ Dust Mask (Attic Access)

□ Ladder Safety Compliance

Safety Requirements

• Verify ceiling framing before drilling.

• Maintain safe ladder positioning.

• Protect existing electrical wiring.

• Follow attic safety procedures.

======================================================================

QUALITY CONTROL

Verify:

□ Projector centered on screen

□ Throw distance verified

□ Ceiling box installed

□ ENT installed

□ Pull string installed

□ Four Cat6 installed

□ Service loop maintained

□ Cable labels installed

□ Fire stop completed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Projector location matches approved plans

□ Conduit is continuous and unobstructed

□ Four Cat6 home runs terminate correctly

□ Pull string operates freely

□ Labels match documentation

□ Photos uploaded to project file

FAIL when:

□ Location differs from engineered layout

□ Missing conduit

□ Missing Cat6

□ Damaged conduit

□ Missing pull string

□ Incomplete documentation

======================================================================

ROOM COMPATIBILITY

ROOM-005 Media Room

ROOM-020 Game Room

ROOM-028 Theater Lobby

Future Theater Designs

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• Projection Screen Assembly

• Equipment Rack

• Fiber Backbone

• AV Receiver Package

• Dolby Atmos System

• Hidden Equipment Chase

• Home Automation Controller

======================================================================

INSTALLATION RULES

1.

Every projector location shall receive four Cat6

home runs.

--------------------------------------------------

2.

Every projector location shall receive one continuous

2" ENT conduit.

--------------------------------------------------

3.

Projector locations shall follow engineered throw

distance calculations.

--------------------------------------------------

4.

Blocking shall be installed before drywall when

required.

--------------------------------------------------

5.

Service loops shall be maintained at the projector

location.

--------------------------------------------------

6.

No field relocation shall occur without engineering

approval.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect throw distance

• Off-center projector

• Missing blocking

• Missing pull string

• Insufficient service loop

• Missing cable labels

• Poor conduit support

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Installation Standards

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ASSEMBLY

ASM-106

============================================================================================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-107

ASSEMBLY NAME:

Television Power Bridge Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Television Infrastructure

--------------------------------------------------

Assembly Type

Power Infrastructure

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Low-Voltage Technician

(Electrical coordination required)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

Electrical Contractor

======================================================================

PURPOSE

The Television Power Bridge Assembly provides a clean, concealed,

code-compliant method of supplying power to wall-mounted televisions

without exposed power cords.

This assembly is intended to create a professional finished

appearance while maintaining serviceability and compliance with all

applicable electrical codes.

======================================================================

STANDARD APPLICATIONS

Approved Rooms

• Great Room

• Primary Bedroom

• Standard Bedroom

• Home Office

• Media Room

• Bonus Room

• Loft

• Guest Suite

• Casita

• Game Room

• Home Gym

• Outdoor Living (Weather-Rated Version)

======================================================================

STANDARD SCOPE

This assembly includes:

• One recessed power inlet

• One recessed power outlet

• Internal power bridge pathway

• Wall cavity cable management

• Device labeling

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install the recessed power outlet directly behind the television.

Install the recessed power inlet directly below the television,

typically behind furniture or cabinetry.

Maintain a straight wall cavity pathway between inlet and outlet.

Coordinate all electrical work with the licensed electrical

contractor where required.

Power bridge components shall never be installed in a manner that

violates local electrical code.

======================================================================

STANDARD LOCATION

Upper Outlet

Centered behind television.

--------------------------------------------------

Lower Inlet

Centered below television.

Typically:

16"–18" AFF

Or as shown on approved construction drawings.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

Typical materials include:

• Recessed Power Bridge Kit

• Fasteners

• Cable Labels

• Fire Stop Materials (When Required)

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical operations include:

• Verify Layout

• Install Upper Box

• Install Lower Box

• Route Power Bridge

• Secure Components

• Coordinate Electrical

• Label Installation

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Tape Measure

• Level

• Drywall Saw

• Drill

• Screwdrivers

• Fish Tape

• Label Printer

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Cut-Resistant Gloves

□ Dust Mask

Safety Requirements

• De-energize circuits before work begins.

• Follow all NEC and local electrical codes.

• Never route low-voltage and high-voltage conductors in the same

device box unless specifically listed for that purpose.

• Electrical connections shall only be completed by qualified

personnel where required by code.

======================================================================

QUALITY CONTROL

Verify:

□ Upper recessed outlet installed

□ Lower power inlet installed

□ Components aligned vertically

□ Proper spacing maintained

□ Device securely mounted

□ Wall finish undamaged

□ Labels installed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Components are properly aligned

□ Power bridge operates correctly

□ Installation complies with electrical code

□ Finished appearance is clean

□ Photos uploaded

FAIL when:

□ Exposed power cords visible

□ Improper alignment

□ Damaged drywall

□ Loose components

□ Code violations observed

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-002 Primary Bedroom

ROOM-003 Standard Bedroom

ROOM-004 Home Office

ROOM-005 Media Room

ROOM-007 Bonus Room

ROOM-008 Loft

ROOM-019 Home Gym

ROOM-020 Game Room

ROOM-022 Guest Suite

ROOM-023 Casita

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• ASM-101 Standard TV Outlet

• ASM-102 Premium TV Outlet

• ASM-103 Fireplace TV Outlet

• ASM-104 Outdoor TV Outlet

(Weather-Rated Version)

• Premium TV Mount

• Soundbar Package

• Hidden Equipment Chase

• Smart TV Package

======================================================================

INSTALLATION RULES

1.

Every Power Bridge shall utilize approved recessed

components.

--------------------------------------------------

2.

No exposed television power cords shall remain after

installation.

--------------------------------------------------

3.

Electrical work shall comply with all applicable

codes.

--------------------------------------------------

4.

Power bridge shall remain serviceable after drywall

installation.

--------------------------------------------------

5.

Only approved products shall be installed.

--------------------------------------------------

6.

No field modifications shall be made without

engineering approval.

======================================================================

COMMON ERRORS TO AVOID

• Crooked installation

• Improper box spacing

• Exposed power cords

• Damaged drywall

• Improper electrical routing

• Missing labels

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Installation Standards

National Electrical Code (NEC)

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ASSEMBLY

ASM-107

======================================================================