======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-109

ASSEMBLY NAME:

Television Mount Blocking Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Television Infrastructure

--------------------------------------------------

Assembly Type

Structural Support

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Low-Voltage Technician

(Framing Contractor Coordination Required)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-1 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

Builder Framing Standards

======================================================================

PURPOSE

The Television Mount Blocking Assembly provides structural backing

for wall-mounted televisions and accessories, eliminating the need

to locate framing members during trim while ensuring secure,

repeatable installations.

======================================================================

STANDARD APPLICATIONS

Approved Rooms

• Great Room

• Primary Bedroom

• Standard Bedroom

• Home Office

• Media Room

• Bonus Room

• Loft

• Guest Suite

• Casita

• Game Room

• Home Gym

• Outdoor Living (Weather-Rated Construction)

======================================================================

STANDARD SCOPE

This assembly includes:

• Structural blocking

• Approved mounting location

• Height verification

• Layout documentation

• Label identification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install structural blocking between wall studs prior to drywall.

Blocking shall be securely fastened in accordance with builder

framing standards.

Blocking shall extend beyond the anticipated television mount

footprint to accommodate multiple mounting patterns.

Confirm blocking location using approved construction drawings

before installation.

======================================================================

STANDARD LOCATION

Blocking shall be centered on the designated television location.

Recommended minimum dimensions:

Height:

12"

Width:

24"

Larger blocking may be required for oversized televisions,

articulating mounts, or specialty installations.

======================================================================

STRUCTURAL REQUIREMENTS

Blocking shall support:

• Fixed TV Mounts

• Tilting Mounts

• Full-Motion Mounts

• Soundbar Mounts

• Future Larger Displays

Blocking material shall comply with approved builder framing

requirements.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

Typical materials include:

• Structural Blocking Material

• Structural Fasteners

• Layout Labels

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical operations include:

• Verify Layout

• Measure Height

• Install Blocking

• Verify Location

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Tape Measure

• Framing Square

• Level

• Circular Saw

• Drill / Driver

• Impact Driver

• Label Printer

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Cut-Resistant Gloves

□ Hearing Protection

□ Hard Hat

Safety Requirements

• Verify wall is clear before installing blocking.

• Maintain structural integrity of framing.

• Use approved fasteners only.

======================================================================

QUALITY CONTROL

Verify:

□ Blocking centered

□ Correct elevation

□ Securely fastened

□ Proper dimensions

□ Framing undamaged

□ Label installed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Blocking matches approved layout

□ Blocking is securely fastened

□ Mounting area fully supported

□ Photos uploaded

FAIL when:

□ Incorrect location

□ Loose blocking

□ Inadequate support

□ Missing documentation

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

Life of Structure

--------------------------------------------------

Preventive Maintenance

None Required

--------------------------------------------------

Replacement Criteria

Replace only if damaged during remodel or structural repair.

--------------------------------------------------

Field Repairability

Repairable prior to drywall.

Post-drywall repairs require engineering approval.

--------------------------------------------------

Warranty Classification

Structural Infrastructure

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-002 Primary Bedroom

ROOM-003 Standard Bedroom

ROOM-004 Home Office

ROOM-005 Media Room

ROOM-006 Outdoor Living

ROOM-007 Bonus Room

ROOM-008 Loft

ROOM-019 Home Gym

ROOM-020 Game Room

ROOM-022 Guest Suite

ROOM-023 Casita

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• ASM-101 Standard TV Outlet

• ASM-102 Premium TV Outlet

• ASM-103 Fireplace TV Outlet

• ASM-104 Outdoor TV Outlet

• ASM-105 Media Room TV Outlet

• ASM-107 Television Power Bridge

• ASM-108 Recessed Media Box

• Premium TV Mounts

• Articulating Mounts

• Soundbar Mounts

======================================================================

INSTALLATION RULES

1.

Blocking shall be installed before drywall.

--------------------------------------------------

2.

Blocking shall extend beyond the expected mount

footprint.

--------------------------------------------------

3.

Only approved structural materials shall be used.

--------------------------------------------------

4.

Blocking location shall match approved construction

drawings.

--------------------------------------------------

5.

Photo documentation is mandatory.

--------------------------------------------------

6.

No field modifications shall be made without

engineering approval.

======================================================================

COMMON ERRORS TO AVOID

• Blocking installed too high

• Blocking installed off-center

• Insufficient blocking size

• Improper fasteners

• Missing documentation

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Builder Framing Standards

Installation Standards

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ASSEMBLY

ASM-109

======================================================================