======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-110

ASSEMBLY NAME:

Hidden Equipment Chase Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Television Infrastructure

--------------------------------------------------

Assembly Type

Future Expansion Infrastructure

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Low-Voltage Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-101 through ASM-109

======================================================================

PURPOSE

The Hidden Equipment Chase Assembly provides a concealed pathway

between wall-mounted displays and remote equipment locations,

allowing future cable replacement, equipment upgrades, and

technology expansion without opening finished walls.

This assembly is the preferred installation method for all premium,

luxury, and custom home television installations.

======================================================================

STANDARD APPLICATIONS

Approved Rooms

• Great Room

• Media Room

• Home Theater

• Primary Bedroom

• Game Room

• Bonus Room

• Office

• Casita

• Luxury Outdoor Living

======================================================================

STANDARD SCOPE

This assembly includes:

• One continuous 2" ENT equipment chase

• Pull string

• Accessible termination points

• Cable routing pathway

• Label identification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install one continuous 2" ENT conduit between the television

location and the designated equipment location.

Whenever possible, maintain sweeping bends and minimize changes in

direction to facilitate future cable pulls.

Install pull string immediately after conduit installation.

Protect conduit ends using approved bushings.

Maintain complete accessibility at both termination points.

======================================================================

STANDARD ROUTING

Preferred routing order:

TV Location

↓

Wall Cavity

↓

Attic / Floor System

↓

Structured Wiring Closet

OR

↓

Media Cabinet

OR

↓

Equipment Rack

No unnecessary junction boxes shall be installed.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

Typical materials include:

• 2" ENT

• ENT Couplings

• ENT Bushings

• Pull String

• Conduit Straps

• Fire Stop Materials

• Cable Labels

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical operations include:

• Verify Routing

• Install ENT

• Secure Conduit

• Install Pull String

• Install Bushings

• Label Assembly

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Tape Measure

• Fish Tape

• Conduit Cutter

• Drill

• Hole Saw

• Label Printer

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Gloves

□ Dust Mask

□ Hard Hat

Safety Requirements

• Protect structural framing.

• Restore fire-rated assemblies.

• Avoid electrical conflicts.

• Maintain approved bend radius.

======================================================================

QUALITY CONTROL

Verify:

□ Continuous conduit installed

□ No crushed conduit

□ Pull string installed

□ Bushings installed

□ Proper support spacing

□ Accessible termination points

□ Labels installed

□ Fire stop restored

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Chase is continuous

□ Pull string moves freely

□ Both ends accessible

□ Proper labels installed

□ Photos uploaded

FAIL when:

□ Blocked conduit

□ Missing pull string

□ Sharp bends

□ Damaged conduit

□ Missing documentation

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

Life of Structure

--------------------------------------------------

Preventive Maintenance

None Required

--------------------------------------------------

Replacement Criteria

Replace only if physically damaged.

--------------------------------------------------

Field Repairability

Accessible from termination points.

--------------------------------------------------

Warranty Classification

Permanent Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-2 Technician

--------------------------------------------------

Required Certifications

Low-Voltage Infrastructure

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

2 Hours

--------------------------------------------------

Related Training Modules

TV Infrastructure

Cable Routing

Conduit Installation

Future Expansion Standards

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-002 Primary Bedroom

ROOM-004 Home Office

ROOM-005 Media Room

ROOM-007 Bonus Room

ROOM-019 Home Gym

ROOM-020 Game Room

ROOM-023 Casita

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• Premium Television Package

• Projector Systems

• AV Receiver Systems

• Fiber Backbone

• Dolby Atmos

• Equipment Rack

• Future Smart Home Expansion

======================================================================

INSTALLATION RULES

1.

Every Hidden Equipment Chase shall utilize continuous

2" ENT conduit.

--------------------------------------------------

2.

Every chase shall include a pull string.

--------------------------------------------------

3.

Every chase shall terminate in an accessible

equipment location.

--------------------------------------------------

4.

Sharp bends shall be avoided whenever possible.

--------------------------------------------------

5.

Only approved materials shall be installed.

--------------------------------------------------

6.

No field modifications shall occur without

engineering approval.

======================================================================

COMMON ERRORS TO AVOID

• Missing pull string

• Excessive conduit bends

• Crushed conduit

• Poor routing

• Missing bushings

• Inaccessible termination

• Missing labels

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Installation Standards

======================================================================

REVISION HISTORY

Version 1.0

Initial Release

======================================================================

END OF ASSEMBLY

ASM-110

======================================================================