======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-204

ASSEMBLY NAME:

High-Capacity Data Hub Assembly

(Six Cat6 Home Runs)

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Data Infrastructure

--------------------------------------------------

Assembly Type

High-Density Structured Cabling

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

(2 Recommended for Large Projects)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ANSI/TIA-568 Standards

======================================================================

PURPOSE

The High-Capacity Data Hub Assembly establishes the standard

installation for six dedicated Category 6 home run cables serving

locations that require substantial bandwidth, equipment expansion,

or centralized technology integration.

This assembly is intended for technology-intensive spaces where

future flexibility is a design requirement rather than an upgrade.

======================================================================

STANDARD APPLICATIONS

Approved For

• Media Cabinets

• Home Office Command Centers

• Equipment Closets

• Smart Home Head-End Locations

• Luxury Great Rooms

• Home Theaters

• Builder Model Homes

• Future Expansion Areas

======================================================================

STANDARD SCOPE

This assembly includes:

• Six Cat6 home runs

• Oversized low-voltage bracket

• Device-end service loops

• Panel-end service loops

• Permanent cable identification

• Cable certification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install six continuous Cat6 home run cables between the device

location and the Structured Wiring Closet.

Bundle cables using approved hook-and-loop cable management.

Avoid excessive compression of cable bundles.

Maintain proper separation from electrical wiring and sources of

electromagnetic interference.

No cable splices shall be permitted.

======================================================================

CABLE REQUIREMENTS

Cable Type

Category 6

--------------------------------------------------

Topology

Six Home Runs

--------------------------------------------------

Maximum Length

90 Meters (295 Feet)

Per Cable

--------------------------------------------------

Termination

TIA-568B

Unless otherwise specified.

======================================================================

INSTALLATION REQUIREMENTS

Minimum Bend Radius

4x Cable Diameter

--------------------------------------------------

Support Interval

Per Installation Standards

--------------------------------------------------

Service Loops

Device End

12"

Panel End

36"

--------------------------------------------------

Cable Management

Hook-and-loop fasteners only.

Plastic zip ties shall not contact Category cable

bundles.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

BILL OF MATERIALS (BOM)

Referenced Automatically

PROD Library

MAT Library

LAB Library

Typical References

PROD-XXXX Category 6 Cable

PROD-XXXX Keystone Jack

PROD-XXXX Faceplate

MAT-XXXX Cable Label

MAT-XXXX Hook-and-Loop Strap

MAT-XXXX Cable Support

LAB-XXXX Pull Six Cat6

LAB-XXXX Terminate Cat6

LAB-XXXX Certification Testing

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical Operations

• Layout

• Pull Six Cat6

• Bundle Management

• Install Bracket

• Terminate Six Cables

• Label Cables

• Certification Testing

• QC Inspection

======================================================================

REQUIRED TOOLS

• Fish Tape

• Cable Pulling Equipment

• Punch Down Tool

• Cable Certification Tester

• Label Printer

• Cable Stripper

• Tone Generator

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Gloves

□ Dust Mask

□ Hard Hat (Construction Phase)

Safety Requirements

• Protect cable from abrasion.

• Maintain fire stopping.

• Avoid excessive pulling tension.

• Follow attic and ladder safety procedures.

======================================================================

QUALITY CONTROL

Verify

□ Six home runs installed

□ No cable damage

□ Proper support spacing

□ Proper bend radius

□ Service loops installed

□ Six certification tests passed

□ Labels installed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Six certification reports pass

□ Labels match documentation

□ Cable routing protected

□ Documentation complete

FAIL when:

□ Failed certification

□ Missing cable

□ Cable splice found

□ Missing labels

□ Missing documentation

======================================================================

TESTING & DOCUMENTATION

Required

□ Cable Certification Report

□ Cable Schedule

□ Patch Panel Assignment

□ Device Assignment

□ As-Built Documentation

□ Digital Project Record Updated

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

25+ Years

--------------------------------------------------

Preventive Maintenance

None Required

--------------------------------------------------

Replacement Criteria

Entire home run replacement.

--------------------------------------------------

Field Repairability

No splicing permitted.

--------------------------------------------------

Warranty Classification

Permanent Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-2 Technician

--------------------------------------------------

Required Certifications

Structured Cabling Certification

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

5 Hours

--------------------------------------------------

Related Training Modules

Advanced Cable Routing

High-Density Bundle Management

Cable Certification

Documentation Standards

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-004 Home Office

ROOM-005 Media Room

ROOM-018 Mechanical Room

ROOM-020 Game Room

ROOM-023 Casita

ROOM-039 Structured Wiring Closet

Future High-Density Equipment Locations

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• ASM-205 Fiber Backbone

• ASM-206 Demarcation Point

• ASM-207 Wireless Access Point

• ASM-601 Structured Wiring Panel

• ASM-602 Equipment Rack

• ASM-603 Patch Panel

• ASM-606 Network Switch

======================================================================

INSTALLATION RULES

1.

All six cables shall be continuous home runs.

--------------------------------------------------

2.

No splices shall be permitted.

--------------------------------------------------

3.

Each cable shall receive an individual certification

test.

--------------------------------------------------

4.

Labels shall be installed at both ends of every cable.

--------------------------------------------------

5.

Cable certification reports shall be stored with the

project documentation.

--------------------------------------------------

6.

Every completed assembly shall include QC photos,

test reports, and updated as-built documentation.

======================================================================

COMMON ERRORS TO AVOID

• Missing cable

• Over-compressed cable bundle

• Plastic zip ties on cable bundle

• Improper bend radius

• Missing certification

• Missing labels

• Poor bundle organization

• Missing QC documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ANSI/TIA-568 Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-204

======================================================================