======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-205

ASSEMBLY NAME:

Fiber Backbone Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Data Infrastructure

--------------------------------------------------

Assembly Type

Backbone Infrastructure

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

(Fiber Certified Preferred)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ANSI/TIA-568

ANSI/TIA-942

======================================================================

PURPOSE

The Fiber Backbone Assembly establishes the standard installation

method for optical fiber infrastructure used as the primary backbone

between technology distribution locations.

The assembly provides extremely high-bandwidth, low-latency,

future-ready connectivity between network equipment while supporting

next-generation residential and commercial technologies.

======================================================================

STANDARD APPLICATIONS

Approved For

• Structured Wiring Closet

• Equipment Rack

• Detached Garage

• Guest House

• Casita

• Pool House

• Gate Equipment

• Large Luxury Homes

• Commercial Installations

======================================================================

STANDARD SCOPE

This assembly includes:

• Fiber backbone cable

• Protective innerduct where required

• Service loops

• Fiber termination hardware

• Fiber identification

• Fiber certification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install one continuous fiber backbone between approved technology

locations.

Fiber shall be installed inside approved conduit or innerduct where

required.

Maintain manufacturer minimum bend radius at all times.

Fiber shall never be kinked, crushed, or over-tensioned.

All fiber pathways shall remain serviceable for future cable

replacement.

======================================================================

FIBER REQUIREMENTS

Default Fiber

Single Mode OS2

--------------------------------------------------

Optional

Multi-Mode OM4

(Project Specific)

--------------------------------------------------

Topology

Dedicated Backbone

--------------------------------------------------

Maximum Length

Per Fiber Design

======================================================================

INSTALLATION REQUIREMENTS

Minimum Bend Radius

Per Manufacturer Specification

--------------------------------------------------

Maximum Pull Tension

Per Manufacturer Specification

--------------------------------------------------

Service Loops

Equipment End

10 Feet

Intermediate Closet

5 Feet

Where Applicable

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

BILL OF MATERIALS (BOM)

Referenced Automatically

PROD Library

MAT Library

LAB Library

Typical References

PROD-XXXX Fiber Cable

PROD-XXXX Fiber Enclosure

PROD-XXXX Fiber Adapter Panel

PROD-XXXX Fiber Patch Cable

MAT-XXXX Fiber Labels

MAT-XXXX Innerduct

MAT-XXXX Pull Tape

LAB-XXXX Pull Fiber

LAB-XXXX Fiber Termination

LAB-XXXX Fiber Certification

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical Operations

• Verify Route

• Install Innerduct

• Pull Fiber

• Install Service Loops

• Terminate Fiber

• Fiber Certification Testing

• Label Fiber

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Fiber Pulling Equipment

• Fiber Cleaning Kit

• Fiber Inspection Scope

• OTDR

• Optical Light Source

• Power Meter

• Fusion Splicer (If Applicable)

• Label Printer

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Fiber Safety Glasses

□ Cut-Resistant Gloves

□ Dust Mask

Safety Requirements

• Never look into live fiber.

• Properly dispose of fiber scraps.

• Maintain clean fiber work surfaces.

• Protect connectors from contamination.

======================================================================

QUALITY CONTROL

Verify

□ Fiber installed without damage

□ Proper bend radius maintained

□ Service loops installed

□ Fiber connectors cleaned

□ Certification passed

□ Labels installed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Fiber certification passes

□ OTDR results acceptable

□ Labels verified

□ Documentation complete

□ Photos uploaded

FAIL when:

□ Dirty connectors

□ Failed certification

□ Fiber damage

□ Missing labels

□ Missing documentation

======================================================================

TESTING & DOCUMENTATION

Required

□ OTDR Report

□ Optical Loss Report

□ Fiber Identification Schedule

□ Fiber Route Documentation

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

30+ Years

--------------------------------------------------

Preventive Maintenance

Connector inspection during equipment upgrades.

--------------------------------------------------

Replacement Criteria

Replace damaged backbone.

Repair only where engineering approves.

--------------------------------------------------

Field Repairability

Fusion splice permitted only by certified technician.

--------------------------------------------------

Warranty Classification

Permanent Backbone Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-2+

--------------------------------------------------

Required Certifications

Fiber Optic Installation

Fiber Testing

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

8 Hours

--------------------------------------------------

Related Training Modules

Fiber Installation

Fiber Cleaning

OTDR Testing

Fusion Splicing

Documentation Standards

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-023 Casita

ROOM-036 Pool Equipment

ROOM-037 Gate Entrance

ROOM-038 Roof Infrastructure

ROOM-039 Structured Wiring Closet

ROOM-040 Future Expansion

Detached Structures

Commercial Projects

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• ASM-204 High-Capacity Data Hub

• ASM-206 Demarcation Point

• ASM-601 Structured Wiring Panel

• ASM-602 Equipment Rack

• ASM-603 Patch Panel

• ASM-605 Router

• ASM-606 Network Switch

• Future 10G / 25G / 40G Networks

======================================================================

INSTALLATION RULES

1.

Fiber shall always be installed as a continuous

backbone unless engineered otherwise.

--------------------------------------------------

2.

Manufacturer bend radius shall never be exceeded.

--------------------------------------------------

3.

Fiber connectors shall be cleaned before testing.

--------------------------------------------------

4.

Every backbone shall be fully certified.

--------------------------------------------------

5.

Documentation shall include OTDR and optical loss

reports.

--------------------------------------------------

6.

Only approved fiber products shall be installed.

======================================================================

COMMON ERRORS TO AVOID

• Dirty connectors

• Exceeded bend radius

• Excessive pulling force

• Missing service loops

• Poor labeling

• Missing OTDR results

• Improper fiber storage

• Missing QC documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ANSI/TIA Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-205

======================================================================