======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-207

ASSEMBLY NAME:

Wireless Access Point Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Structured Cabling & Network Infrastructure

--------------------------------------------------

Assembly Type

Wireless Network Infrastructure

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-201 Single Cat6 Home Run

ASM-202 Dual Cat6 Home Run

ASM-601 Structured Wiring Panel

ASM-606 Network Switch

IEEE 802.11 Standards

======================================================================

PURPOSE

The Wireless Access Point Assembly establishes the standard

installation for ceiling-mounted wireless access points, providing

high-performance Wi-Fi coverage throughout the residence or

commercial space.

The assembly is designed to support current Wi-Fi standards while

allowing for future upgrades without modifications to the building

structure.

======================================================================

STANDARD APPLICATIONS

Approved For

• Great Room

• Hallway

• Loft

• Bonus Room

• Office

• Second Floor Landing

• Large Open Living Areas

• Commercial Spaces

======================================================================

STANDARD SCOPE

This assembly includes:

• One dedicated Cat6 home run

• Ceiling mounting location

• Low-voltage mounting bracket

• Device service loop

• Permanent cable identification

• Certification testing

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install one dedicated Cat6 home run from the Wireless Access Point

location to the Structured Wiring Closet.

Mount the access point in the center of the intended coverage area

whenever practical.

Avoid installation near HVAC equipment, fluorescent lighting,

electrical panels, or large metal obstructions.

Leave a minimum 12-inch service loop above the ceiling.

Terminate the cable according to TIA-568B standards.

======================================================================

LOCATION REQUIREMENTS

Preferred Mounting

Ceiling

--------------------------------------------------

Preferred Height

Finished Ceiling

--------------------------------------------------

Coverage Planning

Location shall be determined using approved Wi-Fi design

guidelines, floor plan layout, and expected coverage

requirements.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

BILL OF MATERIALS (BOM)

Referenced Automatically

PROD Library

MAT Library

LAB Library

Typical References

PROD-XXXX Wi-Fi Access Point

PROD-XXXX Category 6 Cable

PROD-XXXX Keystone Jack

MAT-XXXX Ceiling Bracket

MAT-XXXX Cable Label

LAB-XXXX Pull Cat6

LAB-XXXX AP Installation

LAB-XXXX Certification Testing

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical Operations

• Verify AP Location

• Install Bracket

• Pull Cat6

• Install Service Loop

• Terminate Cable

• Label Cable

• Cable Certification

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Fish Tape

• Cable Pulling Equipment

• Punch Down Tool

• Cable Certification Tester

• Label Printer

• Laser Measure

• Ladder

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Gloves

□ Hard Hat

□ Dust Mask

Safety Requirements

• Verify ceiling is clear before drilling.

• Maintain required separation from electrical systems.

• Follow ladder safety procedures.

• Protect ceiling finishes during trim.

======================================================================

QUALITY CONTROL

Verify

□ AP centered

□ Correct mounting location

□ Dedicated Cat6 installed

□ Service loop installed

□ Cable certified

□ Labels installed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Cable passes certification

□ AP location matches approved drawings

□ Service loop verified

□ Documentation complete

□ Photos uploaded

FAIL when:

□ Failed certification

□ Incorrect AP location

□ Missing service loop

□ Missing labels

□ Missing documentation

======================================================================

TESTING & DOCUMENTATION

Required

□ Cable Certification Report

□ AP Location Recorded

□ Patch Panel Port Assigned

□ Switch Port Reserved

□ Wi-Fi Coverage Plan Updated

□ Digital Project Record Updated

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

10–15 Years

--------------------------------------------------

Preventive Maintenance

Firmware updates

Periodic cleaning

Performance verification

--------------------------------------------------

Replacement Criteria

Replace when no longer supported or when performance

requirements exceed hardware capabilities.

--------------------------------------------------

Field Repairability

Replace device only.

Structured cabling remains in place.

--------------------------------------------------

Warranty Classification

Network Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-2 Technician

--------------------------------------------------

Required Certifications

Structured Cabling

Wireless Networking Fundamentals

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

4 Hours

--------------------------------------------------

Related Training Modules

Wireless Design

PoE Devices

Access Point Mounting

Cable Certification

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-004 Home Office

ROOM-007 Bonus Room

ROOM-008 Loft

ROOM-015 Foyer

ROOM-029 Hallway

ROOM-039 Structured Wiring Closet

Future Expansion Areas

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• ASM-202 Dual Cat6

• ASM-203 Quad Cat6

• ASM-205 Fiber Backbone

• ASM-210 Structured Backbone

• ASM-602 Equipment Rack

• ASM-605 Router

• ASM-606 Network Switch

• Future Wi-Fi Standards

======================================================================

INSTALLATION RULES

1.

Every Wireless Access Point shall receive one

dedicated Cat6 home run.

--------------------------------------------------

2.

Every cable shall be certified.

--------------------------------------------------

3.

Access Points shall be ceiling-mounted unless

engineering approves an alternate location.

--------------------------------------------------

4.

Every installation shall maintain a 12-inch service

loop.

--------------------------------------------------

5.

Only approved PoE-compatible devices shall be

installed.

--------------------------------------------------

6.

Every completed assembly shall include certification

reports, QC photos, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Mounting too close to HVAC ducts

• Mounting near electrical panels

• Missing service loop

• Failed cable certification

• Incorrect coverage location

• Missing labels

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ANSI/TIA-568 Standards

IEEE 802.11 Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-207

======================================================================