======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-208

ASSEMBLY NAME:

Floor Box Data Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Structured Cabling & Network Infrastructure

--------------------------------------------------

Assembly Type

Floor Infrastructure

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

(Coordinate with Electrical Contractor)

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-201 Single Cat6

ASM-202 Dual Cat6

Builder Floor Box Standards

======================================================================

PURPOSE

The Floor Box Data Assembly establishes the standard installation

for recessed floor-mounted data outlets serving furniture,

conference tables, seating areas, and open-concept living spaces.

This assembly provides concealed connectivity while maintaining a

clean architectural appearance and future serviceability.

======================================================================

STANDARD APPLICATIONS

Approved For

• Great Rooms

• Home Offices

• Conference Rooms

• Board Rooms

• Living Rooms

• Libraries

• Commercial Spaces

• Furniture Islands

======================================================================

STANDARD SCOPE

This assembly includes:

• Recessed floor box

• Dual Cat6 home runs

• Conduit pathway

• Pull string

• Service loops

• Permanent cable identification

• Certification testing

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install one recessed floor box at the approved location prior to

concrete placement or subfloor installation.

Install one continuous conduit between the floor box and the

Structured Wiring Closet.

Install:

• Two Cat6 home runs

• Pull string

Protect all conduits during concrete placement and finish work.

Maintain accessibility for future cable replacement.

======================================================================

LOCATION REQUIREMENTS

Floor box location shall be verified using:

• Furniture Layout

• Builder Drawings

• Interior Design Plans

• Customer Selections

No relocation shall occur without engineering approval.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

BILL OF MATERIALS (BOM)

Referenced Automatically

PROD Library

MAT Library

LAB Library

Typical References

PROD-XXXX Floor Box

PROD-XXXX Cat6 Cable

PROD-XXXX Keystone Jack

MAT-XXXX ENT Conduit

MAT-XXXX Pull String

MAT-XXXX Labels

LAB-XXXX Install Floor Box

LAB-XXXX Pull Cat6

LAB-XXXX Certification Testing

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical Operations

• Verify Location

• Install Floor Box

• Install Conduit

• Pull Cat6

• Install Pull String

• Terminate Cables

• Certification Testing

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Hammer Drill

• Hole Saw

• Fish Tape

• Cable Puller

• Label Printer

• Cable Certification Tester

• Laser Measure

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Gloves

□ Knee Protection

□ Hard Hat

Safety Requirements

• Protect conduit before concrete placement.

• Verify no structural conflicts exist.

• Coordinate with concrete contractor.

• Maintain separation from electrical systems.

======================================================================

INTER-TRADE COORDINATION

Builder

□ Floor layout approved

--------------------------------------------------

Electrical

□ Power floor box coordinated

--------------------------------------------------

Concrete

□ Box elevation verified

□ Protection installed before pour

--------------------------------------------------

Framing

□ Floor penetrations approved

--------------------------------------------------

Interior Design

□ Furniture layout verified

--------------------------------------------------

Finish Flooring

□ Final trim coordinated

======================================================================

QUALITY CONTROL

Verify

□ Floor box level

□ Correct location

□ Conduit installed

□ Pull string installed

□ Two Cat6 installed

□ Certification passed

□ Labels installed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Floor box matches approved layout

□ Cables pass certification

□ Conduit accessible

□ Documentation complete

□ Photos uploaded

FAIL when:

□ Incorrect location

□ Failed certification

□ Missing conduit

□ Missing labels

□ Missing documentation

======================================================================

TESTING & DOCUMENTATION

Required

□ Cable Certification Report

□ Floor Box Schedule

□ Device Assignment

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

25+ Years

--------------------------------------------------

Preventive Maintenance

Inspect during flooring replacement or remodeling.

--------------------------------------------------

Replacement Criteria

Replace damaged box or cover assembly.

--------------------------------------------------

Field Repairability

Accessible through removable floor box cover.

--------------------------------------------------

Warranty Classification

Permanent Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-2 Technician

--------------------------------------------------

Required Certifications

Structured Cabling Installation

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

4 Hours

--------------------------------------------------

Related Training Modules

Floor Box Installation

Conduit Installation

Cable Certification

Construction Coordination

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-004 Home Office

ROOM-010 Dining Room

ROOM-020 Game Room

ROOM-026 Library

Commercial Conference Spaces

======================================================================

UPGRADE COMPATIBILITY

Compatible With:

• ASM-203 Quad Cat6

• ASM-204 High-Capacity Data Hub

• ASM-205 Fiber Backbone

• ASM-210 Structured Backbone

• Future Floor Power Assemblies

======================================================================

INSTALLATION RULES

1.

Every floor box shall include conduit to the

Structured Wiring Closet.

--------------------------------------------------

2.

Every conduit shall include a pull string.

--------------------------------------------------

3.

Every floor box shall receive two Cat6 home runs.

--------------------------------------------------

4.

All cables shall be certified after termination.

--------------------------------------------------

5.

Only approved floor boxes shall be installed.

--------------------------------------------------

6.

Every completed assembly shall include QC photos,

certification reports, and updated as-built drawings.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect floor box location

• Improper box elevation

• Missing pull string

• Damaged conduit during concrete pour

• Failed certification

• Missing labels

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ANSI/TIA-568 Standards

Builder Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-208

======================================================================