======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-301

ASSEMBLY NAME:

Single Ceiling Speaker Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Distributed Audio Infrastructure

--------------------------------------------------

Difficulty Level

2 of 5

--------------------------------------------------

Required Crew

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-1 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-210 Structured Backbone

======================================================================

PURPOSE

The Single Ceiling Speaker Assembly establishes the standard

installation for one flush-mounted ceiling speaker used for

distributed audio, voice announcements, ambient music, or smart home

audio applications.

This assembly provides consistent speaker placement, wiring, and

future serviceability.

======================================================================

STANDARD APPLICATIONS

Approved For

• Kitchen

• Laundry Room

• Bathroom

• Hallway

• Pantry

• Mud Room

• Small Office

• Entry

======================================================================

STANDARD SCOPE

This assembly includes:

• One ceiling speaker location

• One 16/2 speaker wire home run

• Ceiling mounting location

• Service loop

• Cable identification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install one continuous 16/2 speaker cable from the speaker location

to the designated audio equipment location.

Route cable independently from electrical wiring.

Leave a minimum 24-inch service loop above the finished ceiling.

Speaker location shall be centered within the intended listening

area unless otherwise shown on approved drawings.

======================================================================

SPEAKER REQUIREMENTS

Speaker Type

In-Ceiling

--------------------------------------------------

Cable

16/2 CL2 or Better

--------------------------------------------------

Topology

Home Run

Unless engineering specifies daisy-chain architecture.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

BILL OF MATERIALS (BOM)

Referenced Automatically

PROD Library

MAT Library

LAB Library

Typical References

PROD-XXXX In-Ceiling Speaker

PROD-XXXX 16/2 Speaker Cable

MAT-XXXX Cable Labels

MAT-XXXX Mounting Ring

LAB-XXXX Pull Speaker Wire

LAB-XXXX Speaker Trim

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical Operations

• Verify Layout

• Pull Speaker Cable

• Install Mounting Ring

• Label Cable

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Fish Tape

• Drill

• Hole Saw

• Wire Stripper

• Label Printer

• Laser Measure

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Gloves

□ Dust Mask

Safety Requirements

• Verify ceiling is clear before cutting.

• Maintain separation from electrical wiring.

• Protect finished ceiling surfaces.

======================================================================

INTER-TRADE COORDINATION

Builder

□ Ceiling layout approved

--------------------------------------------------

Electrical

□ Lighting locations verified

--------------------------------------------------

HVAC

□ Duct conflicts eliminated

--------------------------------------------------

Framing

□ Speaker location verified

--------------------------------------------------

Drywall

□ Speaker opening coordinated

======================================================================

QUALITY CONTROL

Verify

□ Speaker centered

□ Cable installed

□ Service loop provided

□ Labels installed

□ Correct cable type

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Speaker location matches drawings

□ Cable undamaged

□ Service loop verified

□ Documentation complete

FAIL when:

□ Incorrect location

□ Cable damage

□ Missing labels

□ Missing documentation

======================================================================

TESTING & DOCUMENTATION

Required

□ Speaker Cable Schedule

□ Equipment Assignment

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

20+ Years

--------------------------------------------------

Preventive Maintenance

Inspect during speaker replacement.

--------------------------------------------------

Replacement Criteria

Replace damaged speaker or cable.

--------------------------------------------------

Field Repairability

Speaker replaceable without replacing wiring.

--------------------------------------------------

Warranty Classification

Permanent Audio Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-1 Technician

--------------------------------------------------

Required Certifications

Distributed Audio Installation

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

2 Hours

--------------------------------------------------

Related Training Modules

Speaker Layout

Speaker Wiring

Trim Installation

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-009 Kitchen

ROOM-012 Laundry

ROOM-013 Primary Bathroom

ROOM-014 Standard Bathroom

ROOM-015 Foyer

ROOM-016 Pantry

ROOM-017 Mud Room

ROOM-026 Library

ROOM-029 Hallway

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-302 Ceiling Speaker Pair

ASM-313 Whole Home Audio Zone

ASM-314 Audio Distribution Controller

ASM-316 Volume Control

ASM-602 Equipment Rack

======================================================================

INSTALLATION RULES

1.

Every speaker shall receive a dedicated speaker wire.

--------------------------------------------------

2.

Every cable shall be labeled at both ends.

--------------------------------------------------

3.

Minimum 24-inch service loop shall be maintained.

--------------------------------------------------

4.

Speaker location shall avoid lighting fixtures,

HVAC registers, and structural framing.

--------------------------------------------------

5.

Only approved speakers and cabling shall be

installed.

--------------------------------------------------

6.

Every completed assembly shall include QC photos

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Speaker too close to recessed lighting

• Speaker too close to HVAC vents

• Missing service loop

• Incorrect speaker wire

• Missing labels

• Damaged ceiling cutout

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Audio Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-301

======================================================================