======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-302

ASSEMBLY NAME:

Ceiling Speaker Pair Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Distributed Audio Infrastructure

--------------------------------------------------

Difficulty Level

2 of 5

--------------------------------------------------

Required Crew

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-1 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-301 Single Ceiling Speaker

ASM-210 Structured Backbone

======================================================================

PURPOSE

The Ceiling Speaker Pair Assembly establishes the standard

installation for two flush-mounted ceiling speakers providing

balanced stereo audio for distributed music systems.

This assembly is the standard for whole-home audio systems,

background music, and entertainment areas requiring stereo sound.

======================================================================

STANDARD APPLICATIONS

Approved For

• Great Room

• Kitchen

• Dining Room

• Primary Bedroom

• Patio

• Outdoor Kitchen

• Home Office

• Game Room

• Gym

======================================================================

STANDARD SCOPE

This assembly includes:

• Two in-ceiling speaker locations

• Two 16/2 speaker wire home runs

• Mounting locations

• Service loops

• Cable identification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install two continuous 16/2 speaker cables from each speaker

location to the designated audio equipment location.

Speaker locations shall be symmetrical within the listening area.

Maintain equal spacing from walls, lighting fixtures, HVAC

registers, and architectural features whenever practical.

Leave a minimum 24-inch service loop above each speaker location.

======================================================================

SPEAKER PLACEMENT REQUIREMENTS

Configuration

Stereo Pair

--------------------------------------------------

Recommended Spacing

8'–12'

Depending on room size.

--------------------------------------------------

Wall Offset

Minimum 24"

Unless engineering specifies otherwise.

--------------------------------------------------

Cable

16/2 CL2 or Better

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

BILL OF MATERIALS (BOM)

Referenced Automatically

PROD Library

MAT Library

LAB Library

Typical References

PROD-XXXX In-Ceiling Speaker

PROD-XXXX 16/2 Speaker Cable

MAT-XXXX Cable Labels

MAT-XXXX Mounting Ring

LAB-XXXX Pull Speaker Wire

LAB-XXXX Speaker Trim

LAB-XXXX Audio Testing

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical Operations

• Verify Layout

• Measure Speaker Spacing

• Pull Speaker Wire

• Install Mounting Rings

• Label Wiring

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Fish Tape

• Laser Measure

• Tape Measure

• Drill

• Hole Saw

• Wire Stripper

• Label Printer

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Gloves

□ Dust Mask

Safety Requirements

• Verify no framing conflicts exist.

• Maintain clearance from lighting fixtures.

• Maintain separation from HVAC equipment.

• Protect finished ceiling surfaces.

======================================================================

INTER-TRADE COORDINATION

Builder

□ Ceiling layout approved

--------------------------------------------------

Electrical

□ Lighting layout verified

--------------------------------------------------

HVAC

□ Register locations verified

--------------------------------------------------

Framing

□ Speaker locations approved

--------------------------------------------------

Drywall

□ Cutout locations coordinated

======================================================================

QUALITY CONTROL

Verify

□ Speakers symmetrical

□ Correct spacing maintained

□ Correct wall offsets

□ Service loops installed

□ Labels installed

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Speaker spacing matches design

□ Wiring correctly labeled

□ Service loops verified

□ Documentation complete

□ Photos uploaded

FAIL when:

□ Asymmetrical layout

□ Incorrect spacing

□ Missing service loops

□ Missing labels

□ Missing documentation

======================================================================

TESTING & DOCUMENTATION

Required

□ Speaker Wiring Schedule

□ Equipment Assignment

□ Left / Right Identification

□ As-Built Updated

□ Digital Project Record Updated

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

20+ Years

--------------------------------------------------

Preventive Maintenance

Inspect during speaker replacement.

--------------------------------------------------

Replacement Criteria

Replace damaged speaker or wiring.

--------------------------------------------------

Field Repairability

Speaker replacement without rewiring.

--------------------------------------------------

Warranty Classification

Permanent Audio Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-1 Technician

--------------------------------------------------

Required Certifications

Distributed Audio Installation

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

3 Hours

--------------------------------------------------

Related Training Modules

Stereo Speaker Layout

Speaker Wiring

Speaker Placement

Audio Testing

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-002 Primary Bedroom

ROOM-004 Home Office

ROOM-009 Kitchen

ROOM-010 Dining Room

ROOM-019 Home Gym

ROOM-020 Game Room

ROOM-024 Outdoor Kitchen

ROOM-025 Home Bar

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-303 Outdoor Speaker Pair

ASM-313 Whole Home Audio Zone

ASM-314 Audio Distribution Controller

ASM-316 Volume Control

ASM-321 Stereo Audio System

ASM-602 Equipment Rack

======================================================================

INSTALLATION RULES

1.

Speaker pairs shall be installed symmetrically.

--------------------------------------------------

2.

Left and Right channels shall be permanently labeled.

--------------------------------------------------

3.

Minimum 24-inch service loops shall be maintained.

--------------------------------------------------

4.

Speaker spacing shall follow approved room layouts.

--------------------------------------------------

5.

Only approved speakers and speaker cable shall be

installed.

--------------------------------------------------

6.

Every completed assembly shall include QC photos

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Uneven speaker spacing

• Speakers too close to walls

• Speakers too close to lighting

• Missing Left/Right labels

• Missing service loops

• Incorrect speaker wire

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Audio Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-302

======================================================================