======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID:

ASM-303

ASSEMBLY NAME:

Outdoor Speaker Pair Assembly

VERSION:

1.0

STATUS:

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Exterior Distributed Audio

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-210 Structured Backbone

Weather-Rated Installation Standards

======================================================================

PURPOSE

The Outdoor Speaker Pair Assembly establishes the standard

installation for weather-resistant stereo speakers serving patios,

covered outdoor living areas, outdoor kitchens, balconies, and

similar entertainment spaces.

The assembly is designed to provide balanced outdoor audio coverage

while maximizing equipment longevity and serviceability.

======================================================================

STANDARD APPLICATIONS

Approved For

• Covered Patio

• Outdoor Living

• Outdoor Kitchen

• Pool Patio

• Balcony

• Lanai

• Cabana

• Pavilion

======================================================================

STANDARD SCOPE

This assembly includes:

• Two weather-rated speakers

• Two 14/2 CL3 speaker wire home runs

• Exterior mounting hardware

• Weatherproof wire terminations

• Cable identification

• Photo documentation

======================================================================

STANDARD INSTALLATION

Install two dedicated 14/2 speaker wire home runs from the speaker

locations to the designated audio equipment location.

Mount speakers under covered structures whenever practical.

Orient speakers toward the primary listening area while minimizing

sound spill into neighboring properties.

Weatherproof all exterior penetrations using approved sealants.

======================================================================

AUDIO DESIGN CRITERIA

Configuration

Stereo Pair

--------------------------------------------------

Recommended Speaker Spacing

10'–16'

--------------------------------------------------

Recommended Mounting Height

8'–10' AFF

--------------------------------------------------

Wall Clearance

Minimum 12"

--------------------------------------------------

Amplifier Recommendation

50–150 Watts RMS Per Channel

--------------------------------------------------

Nominal Impedance

8 Ohms

Unless otherwise engineered.

--------------------------------------------------

Coverage Objective

Even sound distribution across the primary seating

area without excessive volume concentration.

======================================================================

ENVIRONMENTAL REQUIREMENTS

All components shall be:

• UV Resistant

• Moisture Resistant

• Corrosion Resistant

• Outdoor Rated

• Installed under covered areas whenever possible

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

BILL OF MATERIALS (BOM)

Referenced Automatically

PROD Library

MAT Library

LAB Library

Typical References

PROD-XXXX Outdoor Speaker

PROD-XXXX 14/2 CL3 Speaker Cable

PROD-XXXX Exterior Mounting Bracket

MAT-XXXX Exterior Sealant

MAT-XXXX Stainless Hardware

MAT-XXXX Cable Labels

LAB-XXXX Outdoor Speaker Prewire

LAB-XXXX Outdoor Speaker Trim

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

Typical Operations

• Verify Layout

• Pull Speaker Wire

• Install Mounting Hardware

• Seal Exterior Penetrations

• Label Wiring

• Photograph Installation

• QC Inspection

======================================================================

REQUIRED TOOLS

• Fish Tape

• Hammer Drill

• Masonry Bits (Where Required)

• Wire Stripper

• Label Printer

• Laser Measure

• Caulking Gun

======================================================================

SAFETY & PPE REQUIREMENTS

Required PPE

□ Safety Glasses

□ Gloves

□ Hearing Protection

□ Ladder Safety Equipment

Safety Requirements

• Verify structural mounting surface.

• Protect exterior finishes.

• Maintain weatherproof integrity.

• Follow ladder safety procedures.

======================================================================

INTER-TRADE COORDINATION

Builder

□ Exterior elevations approved

--------------------------------------------------

Electrical

□ Exterior power locations verified

--------------------------------------------------

Stucco / Masonry

□ Penetrations coordinated

--------------------------------------------------

Painting

□ Finish protection maintained

--------------------------------------------------

Landscape

□ Speaker coverage verified

======================================================================

QUALITY CONTROL

Verify

□ Speakers level

□ Proper spacing maintained

□ Weatherproof seals complete

□ Cable labels installed

□ Correct wire polarity

□ Photo documentation complete

======================================================================

INSPECTION & ACCEPTANCE CRITERIA

PASS when:

□ Speaker layout matches design

□ Weatherproofing complete

□ Wiring correctly identified

□ Documentation complete

□ Photos uploaded

FAIL when:

□ Incorrect spacing

□ Improper weather sealing

□ Incorrect polarity

□ Missing labels

□ Missing documentation

======================================================================

TESTING & DOCUMENTATION

Required

□ Speaker Wiring Schedule

□ Left / Right Assignment

□ Equipment Assignment

□ As-Built Documentation Updated

□ Digital Project Record Updated

======================================================================

LIFECYCLE MANAGEMENT

Expected Service Life

15–20 Years

--------------------------------------------------

Preventive Maintenance

Annual inspection of mounting hardware and seals.

--------------------------------------------------

Replacement Criteria

Replace damaged speakers, corroded hardware, or

weather-damaged wiring.

--------------------------------------------------

Field Repairability

Speakers replaceable without replacing infrastructure.

--------------------------------------------------

Warranty Classification

Exterior Audio Infrastructure

======================================================================

TRAINING REQUIREMENTS

Minimum Technician Level

Level-2 Technician

--------------------------------------------------

Required Certifications

Outdoor Audio Installation

--------------------------------------------------

Required Hands-On Demonstration

Yes

--------------------------------------------------

Field Sign-Off Required

Yes

--------------------------------------------------

Estimated Training Time

4 Hours

--------------------------------------------------

Related Training Modules

Outdoor Speaker Layout

Weatherproof Installation

Exterior Penetrations

Audio Testing

--------------------------------------------------

Competency Test Required

YES

======================================================================

ROOM COMPATIBILITY

ROOM-006 Outdoor Living

ROOM-024 Outdoor Kitchen

ROOM-031 Front Porch

ROOM-032 Rear Yard

ROOM-035 Balcony

Future Exterior Entertainment Areas

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-304 Landscape Audio

ASM-313 Whole Home Audio Zone

ASM-314 Audio Distribution Controller

ASM-320 Stereo Audio System

ASM-602 Equipment Rack

======================================================================

INSTALLATION RULES

1.

Outdoor speakers shall utilize weather-rated

equipment only.

--------------------------------------------------

2.

Every speaker shall receive a dedicated 14/2 speaker

wire home run.

--------------------------------------------------

3.

Exterior penetrations shall be fully weather sealed.

--------------------------------------------------

4.

Speaker locations shall maximize listening coverage

while minimizing sound spill.

--------------------------------------------------

5.

Only approved outdoor-rated products shall be

installed.

--------------------------------------------------

6.

Every completed assembly shall include QC photos,

updated documentation, and weatherproof inspection.

======================================================================

COMMON ERRORS TO AVOID

• Indoor speakers installed outdoors

• Poor speaker aiming

• Missing weather sealant

• Incorrect polarity

• Corroding fasteners

• Missing labels

• Missing QC photographs

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Outdoor Installation Standards

Audio Engineering Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-303

======================================================================