======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-309

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-SUB-DUAL-001

--------------------------------------------------

ASSEMBLY NAME

Dual Subwoofer Prewire Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Low-Frequency Audio Infrastructure

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-308 Subwoofer Prewire

ASM-210 Structured Backbone

======================================================================

PURPOSE

The Dual Subwoofer Prewire Assembly establishes the standard

infrastructure for two powered subwoofer locations in media rooms,

home theaters, and premium entertainment spaces.

Dual subwoofers improve bass uniformity, reduce room-induced nulls

and peaks, and provide greater placement flexibility during system

commissioning.

======================================================================

STANDARD APPLICATIONS

Approved For

• Media Room

• Home Theater

• Great Room

• Dedicated Listening Room

• Luxury Entertainment Spaces

======================================================================

STANDARD SCOPE

This assembly includes:

• Two line-level subwoofer signal pathways

• Two future-ready conduit pathways

• Pull strings

• Service loops

• Cable identification

• Documentation

• Photo documentation

======================================================================

AUDIO DESIGN CRITERIA

Configuration

Dual Powered Subwoofers

--------------------------------------------------

Recommended Locations

Front Left / Front Right

OR

Diagonal Corner Placement

Final placement determined during commissioning.

--------------------------------------------------

Signal Type

Line-Level Analog

(Standardized Signal Classification)

--------------------------------------------------

Future Expansion

Each location shall include accessible conduit.

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review room dimensions

• Identify candidate locations

• Coordinate furniture layout

• Coordinate electrical receptacles

--------------------------------------------------

MATERIAL VERIFICATION

• Signal cable verified

• Conduit verified

• Pull strings verified

• Labels verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Install two conduits

• Install pull strings

• Pull signal cabling

• Leave 24" service loops

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install wall plates

• Verify accessibility

• Protect unused conduit

--------------------------------------------------

SYSTEM CONFIGURATION

• Assign Subwoofer 1

• Assign Subwoofer 2

• Configure AVR outputs

• Configure DSP (if applicable)

--------------------------------------------------

TESTING & COMMISSIONING

• Verify continuity

• Verify polarity

• Confirm independent outputs

• Perform room optimization

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Signal path verified

□ No induced hum

□ Dual outputs verified

□ Bass response balanced

□ Room coverage acceptable

□ Meets design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Two pathways installed

□ Two conduits installed

□ Pull strings installed

□ Labels complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Subwoofer Schedule

□ Equipment Assignment

□ AVR Output Assignment

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Expected Service Life

25+ Years (Infrastructure)

======================================================================

SIGNAL CLASSIFICATION

Primary Signal

Line-Level Analog

--------------------------------------------------

Future Signal Support

Network Audio

Fiber

Digital Audio

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

======================================================================

REQUIRED TOOLS

• Fish Tape

• Cable Pulling Equipment

• Label Printer

• Cable Tester

• Laser Measure

======================================================================

INTER-TRADE COORDINATION

Builder

□ Furniture layout approved

--------------------------------------------------

Electrical

□ Two dedicated receptacles verified

--------------------------------------------------

HVAC

□ Register conflicts eliminated

--------------------------------------------------

Cabinetry

□ Built-in conflicts verified

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-005 Media Room

ROOM-020 Game Room

Future Home Theater Rooms

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-323 3.1 Audio System

ASM-325 5.1 Surround System

ASM-326 7.1 Surround System

ASM-327 Dolby Atmos System

ASM-360 Audio Calibration & Commissioning

======================================================================

INSTALLATION RULES

1.

Every dual-subwoofer system shall provide two

independent signal pathways.

--------------------------------------------------

2.

Every location shall include future-access conduit.

--------------------------------------------------

3.

Every conduit shall contain a pull string.

--------------------------------------------------

4.

Dedicated electrical receptacles shall be coordinated.

--------------------------------------------------

5.

Only approved signal cabling shall be installed.

--------------------------------------------------

6.

Every completed installation shall include

performance verification, QC photographs,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Only prewiring one location

• Missing conduit

• Missing pull strings

• Poor room symmetry

• Missing labels

• Inaccessible wall plates

• Missing documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Audio Engineering Standards

Signal Classification Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-309

======================================================================