======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-310

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-SPK-BBX-001

--------------------------------------------------

ASSEMBLY NAME

Speaker Back Box Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Acoustic Speaker Enclosure

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-301

ASM-302

ASM-305

Builder Framing Standards

======================================================================

PURPOSE

The Speaker Back Box Assembly establishes the standard installation

for acoustic back boxes supporting in-ceiling and in-wall speakers.

The back box improves acoustic consistency, reduces sound transfer

between adjacent spaces, protects speakers from insulation and

debris, and provides a repeatable enclosure volume for predictable

performance.

======================================================================

STANDARD APPLICATIONS

Approved For

• Great Room

• Media Room

• Home Theater

• Primary Bedroom

• Home Office

• Library

• Multi-Family Construction

• Sound-Isolated Rooms

======================================================================

STANDARD SCOPE

This assembly includes:

• Acoustic back box

• Speaker mounting interface

• Cable entry protection

• Acoustic sealing

• Speaker wiring

• Documentation

• Photo documentation

======================================================================

STANDARDIZED ACOUSTIC PERFORMANCE

Design Objective

Consistent speaker performance regardless of wall or

ceiling construction.

--------------------------------------------------

Target Enclosure Volume

Per speaker manufacturer's specification.

--------------------------------------------------

Sound Isolation

Reduce sound transmission into adjacent rooms.

--------------------------------------------------

Frequency Response Objective

Maintain manufacturer-designed low-frequency

performance.

--------------------------------------------------

Target SPL

Per approved speaker design.

--------------------------------------------------

Acoustic Leakage

Minimize through sealed construction.

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify speaker model

• Verify framing layout

• Verify enclosure size

• Coordinate insulation

--------------------------------------------------

MATERIAL VERIFICATION

• Back box verified

• Acoustic sealant verified

• Mounting hardware verified

• Speaker wire verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Install back box

• Secure to framing

• Install speaker wire

• Seal cable entry

• Leave 24" service loop

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install speaker

• Verify enclosure seal

• Install grille

--------------------------------------------------

SYSTEM CONFIGURATION

N/A

--------------------------------------------------

TESTING & COMMISSIONING

• Verify polarity

• Audio sweep

• Check enclosure resonance

• Confirm no air leaks

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Enclosure sealed

□ No vibration

□ Uniform frequency response

□ Proper speaker polarity

□ Meets design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Back box secure

□ Proper enclosure

□ Speaker centered

□ Labels installed

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Speaker Schedule

□ Back Box Schedule

□ Room Assignment

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Expected Service Life

Life of Structure

Speaker replaceable while retaining enclosure.

======================================================================

SIGNAL CLASSIFICATION

Primary Signal

Speaker-Level

--------------------------------------------------

Supported Cable Types

16/2 CL2

14/2 CL2

Per engineering design.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

======================================================================

REQUIRED TOOLS

• Drill

• Screwdriver

• Laser Measure

• Wire Stripper

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Builder

□ Wall/Ceiling framing approved

--------------------------------------------------

Electrical

□ Lighting conflicts eliminated

--------------------------------------------------

HVAC

□ Duct conflicts eliminated

--------------------------------------------------

Insulation

□ Clearance verified

--------------------------------------------------

Drywall

□ Opening coordinated

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-002 Primary Bedroom

ROOM-004 Home Office

ROOM-005 Media Room

ROOM-020 Game Room

ROOM-026 Library

Future Architectural Audio Rooms

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-301 Single Ceiling Speaker

ASM-302 Ceiling Speaker Pair

ASM-305 In-Wall Speaker Pair

ASM-311 Speaker Fire Backcan

ASM-323 3.1 Audio System

ASM-325 5.1 Surround System

ASM-327 Dolby Atmos System

======================================================================

INSTALLATION RULES

1.

Back boxes shall match the approved speaker model.

--------------------------------------------------

2.

Cable penetrations shall be acoustically sealed.

--------------------------------------------------

3.

Back boxes shall be securely attached to framing.

--------------------------------------------------

4.

Enclosure volume shall comply with engineering

requirements.

--------------------------------------------------

5.

Only approved acoustic enclosures shall be installed.

--------------------------------------------------

6.

Every completed installation shall include

performance verification, QC photographs, and

updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Wrong enclosure size

• Loose back box

• Air leaks

• Crushed speaker wire

• Missing service loop

• Missing labels

• Missing QC documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Architectural Audio Standards

Acoustic Engineering Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-310

======================================================================