======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-311

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-SPK-FBC-001

--------------------------------------------------

ASSEMBLY NAME

Speaker Fire Backcan Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Fire-Rated Acoustic Infrastructure

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

Builder Fire-Rated Assembly Standards

Local Building Code

ASM-301

ASM-302

ASM-305

ASM-310

======================================================================

PURPOSE

The Speaker Fire Backcan Assembly establishes the engineering

standard for installing fire-rated speaker enclosures in walls and

ceilings requiring fire-resistance ratings while maintaining

acoustic performance.

This assembly restores the integrity of rated assemblies after

speaker installation and supports compliance with applicable

building codes.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Standard residential wood-frame construction unless

engineered otherwise.

• Fire-rated wall or ceiling assemblies are identified

on approved construction drawings.

• Approved fire-rated speaker backcans are specified.

• Installation is performed by trained Digitally

Defined technicians.

• Local Authority Having Jurisdiction (AHJ)

requirements are followed.

• Approved products from the Digitally Defined Product

Library are utilized.

======================================================================

STANDARD APPLICATIONS

Approved For

• Multi-Family Construction

• Fire-Rated Ceilings

• Fire-Rated Walls

• Townhomes

• Condominiums

• Commercial Tenant Spaces

• Sound-Isolated Rooms

======================================================================

STANDARD SCOPE

This assembly includes:

• Fire-rated backcan

• Speaker mounting provisions

• Fire-rated cable penetration protection

• Acoustic sealing

• Speaker wiring

• Identification labels

• Photo documentation

======================================================================

STANDARDIZED ACOUSTIC PERFORMANCE

Design Objective

Maintain fire rating while minimizing acoustic loss.

--------------------------------------------------

Target Acoustic Performance

Equivalent to approved speaker enclosure design.

--------------------------------------------------

Target Fire Rating

Match surrounding assembly rating.

--------------------------------------------------

Acoustic Leakage

Minimized through approved sealing methods.

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify fire-rated construction

• Verify approved backcan model

• Verify speaker compatibility

• Review code requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Fire-rated backcan

• Fire-stop materials

• Approved fasteners

• Speaker cable

• Identification labels

--------------------------------------------------

PREWIRE / ROUGH-IN

• Install backcan

• Secure to framing

• Install speaker wiring

• Protect penetrations

• Seal openings

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install speaker

• Verify enclosure integrity

• Install grille

--------------------------------------------------

SYSTEM CONFIGURATION

N/A

--------------------------------------------------

TESTING & COMMISSIONING

• Verify enclosure integrity

• Verify speaker operation

• Verify no visible gaps

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Fire-rated enclosure installed

□ Acoustic seal maintained

□ No visible penetrations

□ Speaker operational

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Correct enclosure

□ Proper mounting

□ Fire-stop materials installed

□ Labels complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Fire-Rated Assembly Record

□ Speaker Schedule

□ Room Assignment

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Expected Service Life

Life of Structure

Replace speaker without disturbing fire-rated

enclosure whenever possible.

======================================================================

SIGNAL CLASSIFICATION

Primary Signal

Speaker-Level

--------------------------------------------------

Approved Cable Types

16/2 CL2

14/2 CL2

As specified by engineering.

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

======================================================================

REQUIRED TOOLS

• Drill

• Screwdriver

• Wire Stripper

• Label Printer

• Inspection Mirror

======================================================================

INTER-TRADE COORDINATION

Builder

□ Fire-rated assemblies verified

--------------------------------------------------

Electrical

□ Fire-rated penetrations coordinated

--------------------------------------------------

HVAC

□ Duct conflicts eliminated

--------------------------------------------------

Drywall

□ Fire-rated ceiling/wall verified

--------------------------------------------------

Building Inspector

□ Inspection requirements confirmed

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-002 Primary Bedroom

ROOM-004 Home Office

ROOM-005 Media Room

ROOM-020 Game Room

Commercial Fire-Rated Spaces

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-301 Single Ceiling Speaker

ASM-302 Ceiling Speaker Pair

ASM-305 In-Wall Speaker Pair

ASM-310 Speaker Back Box

ASM-323 3.1 Audio System

ASM-325 5.1 Surround System

ASM-327 Dolby Atmos System

======================================================================

INSTALLATION RULES

1.

Only approved fire-rated backcans shall be installed.

--------------------------------------------------

2.

Fire-resistance ratings shall not be reduced.

--------------------------------------------------

3.

All penetrations shall be sealed using approved

fire-stop systems.

--------------------------------------------------

4.

Only approved products shall be used.

--------------------------------------------------

5.

All required inspections shall be completed before

project closeout.

--------------------------------------------------

6.

Every installation shall include performance

verification, QC photographs, and updated

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect fire-rated enclosure

• Missing fire-stop materials

• Unsealed penetrations

• Damaged enclosure

• Missing labels

• Missing inspection documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Fire-Rated Construction Standards

Acoustic Engineering Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-311

======================================================================