======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-312

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-EQC-001

--------------------------------------------------

ASSEMBLY NAME

Audio Equipment Cabinet Ecosystem Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Equipment Infrastructure

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

QC Library

ASM-210 Structured Backbone

ASM-301 through ASM-311

======================================================================

PURPOSE

The Audio Equipment Cabinet Ecosystem Assembly establishes the

engineering standard for housing, organizing, protecting, cooling,

powering, and servicing residential audio equipment.

The assembly creates a scalable, serviceable equipment environment

that supports distributed audio, home theater, networked audio,

future expansion, and long-term maintenance.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Equipment is installed indoors in a conditioned

environment.

• Cabinet location has been approved during project

engineering.

• Dedicated electrical circuits are available.

• Structured cabling has been completed.

• Approved Digitally Defined products are utilized.

======================================================================

STANDARD APPLICATIONS

Approved For

• Structured Wiring Closet

• Media Closet

• AV Closet

• Equipment Room

• Home Theater Rack

• Luxury Residences

• Commercial AV Rooms

======================================================================

STANDARD SCOPE

This assembly includes:

• Equipment cabinet or rack

• Ventilation system

• Cable management

• Power distribution

• UPS installation provisions

• Network integration

• Grounding and bonding

• Identification labeling

• Documentation

• Photo documentation

======================================================================

ENGINEERING DESIGN CRITERIA

Cabinet Depth

Minimum 24"

--------------------------------------------------

Rack Width

19" EIA Standard

--------------------------------------------------

Front Service Clearance

Minimum 36"

--------------------------------------------------

Rear Service Clearance

Minimum 30"

--------------------------------------------------

Side Clearance

Minimum 6"

--------------------------------------------------

Expansion Capacity

Minimum 30% available rack space

--------------------------------------------------

Cooling

Passive or active ventilation based on equipment

heat load.

======================================================================

POWER DESIGN CRITERIA

Dedicated Circuit

Required

--------------------------------------------------

Surge Protection

Required

--------------------------------------------------

UPS

Recommended

Mission-critical systems.

--------------------------------------------------

Power Sequencing

Recommended

Multi-amplifier systems.

======================================================================

CABLE MANAGEMENT CRITERIA

Separate routing for:

• Speaker-Level

• Line-Level Analog

• Digital Audio

• Network

• Fiber

• Control

• AC Power

Maintain service loops and bend radius throughout.

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify cabinet location

• Verify rack elevation

• Calculate heat load

• Verify expansion capacity

--------------------------------------------------

MATERIAL VERIFICATION

• Cabinet verified

• Rack hardware verified

• Ventilation verified

• Power equipment verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Install backbone pathways

• Install dedicated circuits

• Install grounding

• Install cable pathways

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install cabinet

• Install rack rails

• Install cable management

• Mount equipment

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure network devices

• Configure amplifiers

• Configure DSP

• Configure UPS

• Configure monitoring

--------------------------------------------------

TESTING & COMMISSIONING

• Verify ventilation

• Verify grounding

• Verify power sequencing

• Verify cable labeling

• Verify service accessibility

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Cabinet secure

□ Ventilation adequate

□ Equipment temperatures acceptable

□ Grounding verified

□ Cable management compliant

□ Future expansion space available

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Rack square and level

□ Labels complete

□ Service clearances maintained

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Rack Elevation

□ Equipment Schedule

□ Circuit Assignment

□ UPS Assignment

□ Network Assignment

□ Cable Schedule

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Expected Service Life

20+ Years (Cabinet)

Individual equipment serviced independently.

======================================================================

SIGNAL CLASSIFICATION

Supported Signal Types

• Speaker-Level

• Line-Level Analog

• Digital Audio

• HDMI

• Network Audio

• Fiber

• Control

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

======================================================================

REQUIRED TOOLS

• Rack Hardware Tools

• Label Printer

• Cable Tester

• Network Tester

• Laser Level

• Torque Screwdriver

======================================================================

INTER-TRADE COORDINATION

Builder

□ Equipment room approved

--------------------------------------------------

Electrical

□ Dedicated circuits verified

□ Grounding complete

--------------------------------------------------

HVAC

□ Cooling capacity verified

--------------------------------------------------

Low-Voltage

□ Backbone complete

--------------------------------------------------

Finish Trades

□ Cabinet access maintained

======================================================================

ROOM COMPATIBILITY

ROOM-005 Media Room

ROOM-018 Mechanical Room

ROOM-039 Structured Wiring Closet

Dedicated AV Equipment Rooms

Commercial Equipment Rooms

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-320 Stereo Audio System

ASM-321 2.1 Audio System

ASM-322 3.1 Audio System

ASM-323 5.1 Surround System

ASM-324 5.1.2 Dolby Atmos

ASM-325 7.1 Surround System

ASM-326 7.1.4 Dolby Atmos

ASM-340 Whole-Home Audio

ASM-350 DSP Calibration

ASM-360 Audio Commissioning

======================================================================

INSTALLATION RULES

1.

Every audio equipment cabinet shall include dedicated

power, ventilation, grounding, and cable management.

--------------------------------------------------

2.

Maintain minimum service clearances on all accessible

sides.

--------------------------------------------------

3.

Separate power and low-voltage cable pathways.

--------------------------------------------------

4.

Maintain a minimum of 30% rack space for future

expansion.

--------------------------------------------------

5.

Only approved rack systems and accessories shall be

installed.

--------------------------------------------------

6.

Every completed installation shall include full

documentation, QC photographs, rack elevations, and

performance verification.

======================================================================

COMMON ERRORS TO AVOID

• Overfilled rack

• Poor ventilation

• Mixed power and signal cables

• No service loops

• Missing labels

• No future expansion space

• Inadequate grounding

• Missing rack documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Rack Standards

Audio Engineering Standards

Network Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-312

======================================================================