======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-340

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-WHA-Z1-001

--------------------------------------------------

ASSEMBLY NAME

Single Audio Zone Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Whole-Home Audio

--------------------------------------------------

Difficulty Level

3 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2 Technician

--------------------------------------------------

Dependencies

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

ASM-302 Ceiling Speaker Pair

ASM-312 Audio Equipment Cabinet Ecosystem

Structured Network Infrastructure

======================================================================

PURPOSE

The Single Audio Zone Assembly establishes the engineering standard

for one independently controlled distributed audio zone serving a

single room or defined listening area.

The assembly provides synchronized music playback, streaming

integration, local volume control, and future expansion into

multi-zone whole-home audio systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Structured network infrastructure is operational.

• Audio equipment is installed in a conditioned environment.

• Approved Digitally Defined products are used.

• Dedicated power is available.

• Installation is performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Great Room

• Kitchen

• Dining Room

• Patio

• Primary Bedroom

• Home Office

• Gym

• Outdoor Living Area

======================================================================

STANDARD SCOPE

This assembly includes:

• One audio zone

• One stereo speaker pair

• Zone amplifier

• Network audio connection

• Control interface

• Equipment cabinet integration

• Testing and commissioning

• Documentation

======================================================================

SYSTEM ARCHITECTURE

Configuration

Single Independent Audio Zone

--------------------------------------------------

Supported Sources

• Streaming Services

• Local Network Audio

• Bluetooth (Optional)

• AirPlay

• Chromecast

• Analog Audio Input

--------------------------------------------------

Control Methods

• Mobile Application

• Voice Assistant (Optional)

• Wall Keypad (Optional)

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous residential operation

--------------------------------------------------

Expandability

Upgradeable to multiple audio zones without

replacing infrastructure.

--------------------------------------------------

Network Requirements

Gigabit Ethernet recommended

--------------------------------------------------

Power Requirements

Dedicated conditioned circuit recommended

--------------------------------------------------

Maintenance Accessibility

All active equipment accessible for service.

--------------------------------------------------

Acceptance Criteria

Zone responds correctly to independent source

selection, playback, and volume control.

======================================================================

STANDARDIZED ACOUSTIC PERFORMANCE

Target Listening Level

70–80 dB

--------------------------------------------------

Channel Balance

±1 dB

--------------------------------------------------

Coverage

Uniform throughout designated listening area

--------------------------------------------------

Speech Clarity

Excellent

--------------------------------------------------

Music Reproduction

Balanced across audible frequency range

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify room layout

• Verify speaker placement

• Verify network connectivity

• Assign audio zone

--------------------------------------------------

MATERIAL VERIFICATION

• Speakers verified

• Amplifier verified

• Network hardware verified

• Cabling verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify speaker wiring

• Verify network cable

• Verify equipment cabinet pathways

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install speakers

• Install amplifier

• Install control interface

• Connect network

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure zone name

• Configure streaming services

• Configure source priorities

• Configure user permissions (if applicable)

--------------------------------------------------

TESTING & COMMISSIONING

• Verify left/right channels

• Verify independent zone control

• Verify streaming playback

• Verify network communication

• Listening evaluation

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Zone responds independently

□ Streaming services operational

□ Volume control verified

□ Network communication verified

□ Audio quality acceptable

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Wiring labeled

□ Equipment secured

□ Rack organized

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Zone Assignment Schedule

□ Equipment Schedule

□ Network Configuration

□ Streaming Service Configuration

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Per manufacturer warranty

Software

Maintain current supported firmware.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Speaker-Level

• Network Audio

• Ethernet

• Control

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from:

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from:

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from:

LAB Library

======================================================================

REQUIRED TOOLS

• Network Tester

• Audio Analyzer

• SPL Meter

• Label Printer

• Mobile Configuration Device

======================================================================

INTER-TRADE COORDINATION

Builder

□ Room layout approved

--------------------------------------------------

Electrical

□ Dedicated power verified

--------------------------------------------------

Network

□ Ethernet operational

--------------------------------------------------

Finish Trades

□ Speaker locations protected

======================================================================

ROOM COMPATIBILITY

ROOM-001 Great Room

ROOM-002 Primary Bedroom

ROOM-004 Home Office

ROOM-009 Kitchen

ROOM-010 Dining Room

ROOM-019 Home Gym

ROOM-024 Outdoor Kitchen

ROOM-032 Rear Yard

======================================================================

UPGRADE COMPATIBILITY

Compatible With

ASM-341 Two-Zone Audio

ASM-342 Four-Zone Audio

ASM-343 Eight-Zone Audio

ASM-345 Audio Matrix System

ASM-347 Streaming Audio Integration

ASM-348 Voice Assistant Audio Integration

======================================================================

INSTALLATION RULES

1.

Every audio zone shall have a unique zone name.

--------------------------------------------------

2.

All speaker wiring and network cabling shall be

permanently labeled.

--------------------------------------------------

3.

Independent source selection shall be verified during

commissioning.

--------------------------------------------------

4.

Network communication shall be tested before project

closeout.

--------------------------------------------------

5.

Only approved products shall be installed.

--------------------------------------------------

6.

Every completed system shall include commissioning

records, QC photographs, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Duplicate zone names

• Incorrect speaker polarity

• Network configuration errors

• Missing firmware updates

• Improper amplifier assignment

• Missing documentation

• Incomplete commissioning

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

Network Standards

Audio Engineering Standards

Streaming Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

________________________

Operations Approval

________________________

Effective Date

________________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-340

======================================================================