======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-344

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-WHA-OUT-001

--------------------------------------------------

ASSEMBLY NAME

Outdoor Audio Zone Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Outdoor Distributed Audio Zone

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-303 Outdoor Speaker Pair

ASM-304 Landscape Audio System

ASM-312 Audio Equipment Cabinet Ecosystem

ASM-340 Single Audio Zone

PROD Library

MAT Library

LAB Library

QC Library

ROOM Library

======================================================================

PURPOSE

The Outdoor Audio Zone Assembly establishes the engineering

standard for a complete outdoor entertainment audio zone serving

patios, pools, outdoor kitchens, courtyards, and landscape

listening areas.

The assembly integrates weather-rated speakers, amplification,

streaming services, automation, and network infrastructure into a

single engineered outdoor audio solution.

======================================================================

ENGINEERING ASSUMPTIONS

• Outdoor-rated equipment only

• Centralized AV rack installed

• Weatherproof speaker infrastructure complete

• Structured network available

• Dedicated electrical circuits installed

• Equipment installed per manufacturer environmental ratings

======================================================================

STANDARD APPLICATIONS

Approved Areas

• Covered Patio

• Outdoor Kitchen

• Pool Deck

• Cabana

• Courtyard

• Fire Pit

• Outdoor Dining

• Landscape Entertainment Areas

======================================================================

STANDARD SCOPE

Includes

• Outdoor speaker system

• Landscape speakers (optional)

• Outdoor subwoofer (optional)

• Zone amplifier

• Streaming audio

• Voice assistant integration

• Mobile control

• Rack integration

• Testing

• Documentation

======================================================================

SYSTEM ARCHITECTURE

Configuration

Single Outdoor Audio Zone

--------------------------------------------------

Supported Sources

• Streaming Services

• AirPlay

• Chromecast

• Bluetooth

• Television Audio

• Local Sources

--------------------------------------------------

Control Methods

• Mobile App

• Voice Assistant

• Wall Keypad

• Automation System

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Residential Outdoor Operation

--------------------------------------------------

Reliability

Outdoor-rated continuous operation

--------------------------------------------------

Environmental Rating

Suitable for local climate and installation

environment

--------------------------------------------------

Power

Dedicated conditioned electrical circuit

--------------------------------------------------

Network

Gigabit Ethernet recommended

--------------------------------------------------

Acceptance Criteria

Full outdoor audio functionality verified under

normal operating conditions.

======================================================================

STANDARDIZED ACOUSTIC PERFORMANCE

Coverage

Uniform coverage throughout intended outdoor

listening area

--------------------------------------------------

Target Listening Level

70–85 dBA

--------------------------------------------------

Maximum SPL

90 dBA

--------------------------------------------------

Coverage Overlap

No significant dead zones

--------------------------------------------------

Sound Spill

Minimized beyond property boundaries

======================================================================

CONTROL & AUTOMATION INTEGRATION

Supported Platforms

• Control4

• Savant

• Josh.ai

• Crestron Home

• RTI

--------------------------------------------------

Supported Protocols

• IP

• REST API

• Manufacturer Drivers

--------------------------------------------------

Remote Management

Firmware Updates

Diagnostics

Configuration Backup

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Expansion Capacity

Provision for additional outdoor speakers

--------------------------------------------------

Rack Capacity

Minimum 30% reserve

--------------------------------------------------

Power Capacity

Minimum 20% reserve

--------------------------------------------------

Network Capacity

Minimum two spare switch ports

--------------------------------------------------

Future Expansion

Outdoor television

Additional landscape speakers

Additional outdoor subwoofers

Outdoor automation devices

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify outdoor layout

• Verify speaker coverage

• Verify property boundaries

• Verify equipment locations

--------------------------------------------------

MATERIAL VERIFICATION

• Outdoor speakers verified

• Outdoor hardware verified

• Amplifier verified

• Cabling verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify outdoor speaker wiring

• Verify conduit

• Verify waterproof junctions

• Verify labeling

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install speakers

• Install outdoor subwoofer (if applicable)

• Install amplifier

• Install wall controls

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure outdoor zone

• Configure streaming

• Configure automation

• Configure volume limits

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Outdoor listening evaluation

• Coverage verification

• Streaming verification

• Automation testing

• Voice control verification

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Outdoor coverage verified

□ No audible distortion

□ Streaming operational

□ Voice control operational

□ Automation operational

□ Weatherproof installation verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Weatherproof seals complete

□ Speaker mounting secure

□ Labels complete

□ Rack organized

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Outdoor Zone Schedule

□ Equipment Schedule

□ Speaker Layout

□ Coverage Map

□ Network Configuration

□ Firmware Inventory

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Outdoor Equipment

Per manufacturer warranty

Annual inspection recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Speaker-Level

• Ethernet

• Network Audio

• Control

• AC Power

======================================================================

INTER-TRADE COORDINATION

Builder

□ Outdoor layout approved

--------------------------------------------------

Electrical

□ Outdoor power verified

--------------------------------------------------

Landscape

□ Irrigation conflicts eliminated

--------------------------------------------------

Pool Contractor

□ Equipment conflicts verified

--------------------------------------------------

Finish Trades

□ Outdoor finishes protected

======================================================================

ROOM COMPATIBILITY

ROOM-006 Outdoor Living

ROOM-024 Outdoor Kitchen

ROOM-031 Front Porch

ROOM-032 Rear Yard

ROOM-035 Balcony

Future Outdoor Entertainment Areas

======================================================================

UPGRADE COMPATIBILITY

ASM-345 Audio Matrix System

ASM-346 Distributed Amplifier System

ASM-347 Streaming Audio Integration

ASM-348 Voice Assistant Integration

ASM-349 Whole-Home Audio Commissioning

ASM-701 Smart Home Integration

======================================================================

INSTALLATION RULES

1.

Only approved weather-rated equipment shall be

installed.

--------------------------------------------------

2.

Outdoor wiring shall terminate in weatherproof

enclosures.

--------------------------------------------------

3.

Coverage shall be verified throughout the intended

listening area.

--------------------------------------------------

4.

Property boundary sound spill shall be minimized.

--------------------------------------------------

5.

Firmware shall be updated before commissioning.

--------------------------------------------------

6.

Every installation shall include commissioning

reports, QC photographs, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Poor outdoor speaker aiming

• Excessive sound spill

• Water intrusion

• Missing weatherproof seals

• Improper amplifier sizing

• Missing firmware updates

• Incomplete commissioning

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Outdoor Audio Standards

Audio Engineering Standards

Automation Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-344

======================================================================