======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-345

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-MTX-001

--------------------------------------------------

ASSEMBLY NAME

Audio Matrix System Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Centralized Audio Distribution

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-312 Audio Equipment Cabinet Ecosystem

ASM-340 Single Audio Zone

ASM-341 Two-Zone Audio System

ASM-342 Four-Zone Audio System

ASM-343 Eight-Zone Audio System

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Audio Matrix System Assembly establishes the engineering

standard for centralized audio routing between multiple audio

sources and multiple listening zones.

The matrix provides flexible source selection, simultaneous

distribution, centralized management, automation integration,

and future scalability while maintaining high-quality audio

performance.

======================================================================

ENGINEERING ASSUMPTIONS

• Centralized AV equipment rack installed

• Structured Gigabit Ethernet operational

• Dedicated conditioned electrical circuits installed

• Multi-zone audio infrastructure complete

• Approved Digitally Defined equipment utilized

• Installation performed by Level-2+ technicians

======================================================================

STANDARD APPLICATIONS

Approved For

• Luxury Residential

• Whole-Home Audio

• Estate Homes

• Entertainment Spaces

• Commercial Offices

• Hospitality Spaces

======================================================================

STANDARD SCOPE

Includes

• Audio Matrix Processor

• Source Routing

• Zone Routing

• Network Integration

• Automation Integration

• Rack Integration

• Source Prioritization

• Documentation

• Commissioning

======================================================================

SYSTEM ARCHITECTURE

Configuration

Central Audio Matrix

--------------------------------------------------

Supported Inputs

• Streaming Services

• NAS Music Library

• Bluetooth

• AirPlay

• Chromecast

• Television Audio

• Analog Audio

• Digital Audio

--------------------------------------------------

Supported Outputs

Configurable to approved distributed audio systems.

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Residential Operation

--------------------------------------------------

Reliability

Continuous independent source routing

--------------------------------------------------

Capacity

Multiple simultaneous source streams

--------------------------------------------------

Expandability

Supports future source and zone expansion

--------------------------------------------------

Power

Dedicated conditioned electrical circuit

UPS recommended

--------------------------------------------------

Network

Managed Gigabit Ethernet

QoS recommended

--------------------------------------------------

Maintenance

Rack-front serviceability

Remote diagnostics supported

--------------------------------------------------

Acceptance Criteria

Every source shall route correctly to every assigned

zone without degradation or interruption.

======================================================================

STANDARDIZED AUDIO PERFORMANCE

Source Switching

Seamless

--------------------------------------------------

Routing Latency

Within manufacturer specification

--------------------------------------------------

Audio Quality

No audible degradation through routing

--------------------------------------------------

Signal Integrity

Maintained across all outputs

--------------------------------------------------

Synchronization

Grouped zones synchronized where applicable

======================================================================

CONTROL & AUTOMATION INTEGRATION

Supported Platforms

• Control4

• Savant

• Josh.ai

• Crestron Home

• RTI

• URC

--------------------------------------------------

Supported Protocols

• IP

• REST API

• Manufacturer Drivers

--------------------------------------------------

Remote Management

Firmware Updates

Diagnostics

Configuration Backup

Health Monitoring

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Rack Space Reserve

Minimum 30%

--------------------------------------------------

Power Reserve

Minimum 20%

--------------------------------------------------

Network Capacity

Minimum 25% available switch ports

--------------------------------------------------

Source Expansion

Additional sources supported

--------------------------------------------------

Zone Expansion

Additional zones supported where hardware permits

--------------------------------------------------

Future Expansion

Streaming platforms

Additional matrix processors

Additional automation platforms

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Credentials

Unique administrator credentials required

--------------------------------------------------

Firmware

Maintain current manufacturer-supported firmware

--------------------------------------------------

Remote Access

Secure encrypted remote access only

--------------------------------------------------

Backups

Configuration backup required before updates

--------------------------------------------------

Network Security

VLAN recommended for AV equipment

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify source requirements

• Verify zone assignments

• Verify rack layout

• Verify network topology

--------------------------------------------------

MATERIAL VERIFICATION

• Matrix processor verified

• Cabling verified

• Network equipment verified

• Rack hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify all source cabling

• Verify all zone outputs

• Verify Cat6 infrastructure

• Verify permanent labeling

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install matrix processor

• Connect sources

• Connect zone outputs

• Connect network

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure sources

• Configure zone routing

• Configure priorities

• Configure automation

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify source switching

• Verify routing

• Verify simultaneous playback

• Verify automation

• Verify streaming services

--------------------------------------------------

PERFORMANCE VERIFICATION

□ All inputs operational

□ All outputs operational

□ Source routing verified

□ Zone routing verified

□ Streaming operational

□ Automation operational

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Rack organized

□ Labels complete

□ Firmware current

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Source Assignment Schedule

□ Zone Routing Matrix

□ Equipment Schedule

□ Rack Elevation

□ Network Configuration

□ Automation Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Software

Supported firmware maintained

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Analog Audio

• Digital Audio

• Network Audio

• Ethernet

• Control

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Audio Analyzer

• Network Analyzer

• Laptop

• Label Printer

• Mobile Configuration Device

======================================================================

INTER-TRADE COORDINATION

Builder

□ Equipment room approved

--------------------------------------------------

Electrical

□ Dedicated circuits verified

--------------------------------------------------

Network

□ Managed switch configured

--------------------------------------------------

HVAC

□ Rack cooling verified

--------------------------------------------------

Automation

□ Driver compatibility verified

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-346 Distributed Amplifier System

ASM-347 Streaming Audio Integration

ASM-348 Voice Assistant Integration

ASM-349 Whole-Home Audio Commissioning

ASM-701 Smart Home Integration

======================================================================

INSTALLATION RULES

1.

All sources shall be permanently labeled.

--------------------------------------------------

2.

Every output shall be documented within the routing

matrix.

--------------------------------------------------

3.

Configuration backups shall be completed before

project turnover.

--------------------------------------------------

4.

Firmware shall be updated prior to commissioning.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include commissioning

reports, QC photographs, rack elevations, and

updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect source routing

• Duplicate source names

• Poor rack organization

• Missing configuration backups

• Improper automation programming

• Missing documentation

• Incomplete commissioning

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Audio Engineering Standards

Automation Standards

Network Standards

Signal Classification Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-345

======================================================================