======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-347

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-AUD-STR-001

--------------------------------------------------

ASSEMBLY NAME

Streaming Audio Integration Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Audio Systems

--------------------------------------------------

Assembly Type

Streaming Audio Services Integration

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-312 Audio Equipment Cabinet Ecosystem

ASM-340 through ASM-346

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Streaming Audio Integration Assembly establishes the

engineering standard for integrating internet-based music

streaming services into Digitally Defined distributed audio

systems.

This assembly provides standardized configuration,

authentication, source management, network optimization,

automation integration, and long-term serviceability.

======================================================================

ENGINEERING ASSUMPTIONS

• Broadband internet service operational

• Structured Gigabit Ethernet operational

• Streaming-compatible audio platform installed

• Customer accounts available

• Approved Digitally Defined equipment utilized

• Installation performed by Level-2+ technicians

======================================================================

STANDARD APPLICATIONS

Approved For

• Whole-Home Audio

• Home Theater

• Media Rooms

• Outdoor Audio Systems

• Commercial Background Music

======================================================================

STANDARD SCOPE

Includes

• Streaming service integration

• Customer account configuration

• Source organization

• Network optimization

• Mobile application configuration

• Automation integration

• Documentation

• Commissioning

======================================================================

SUPPORTED STREAMING SERVICES

Examples

• Spotify

• Spotify Connect

• Apple Music

• Apple AirPlay

• Amazon Music

• Amazon Alexa Music

• TIDAL

• Qobuz

• Pandora

• SiriusXM

• YouTube Music

Additional services supported where compatible with

approved hardware platforms.

======================================================================

SYSTEM ARCHITECTURE

Configuration

Centralized Streaming Platform

--------------------------------------------------

Playback

Single Zone

Multi-Zone

Grouped Playback

Independent Playback

--------------------------------------------------

Source Priority

Configurable

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Residential Operation

--------------------------------------------------

Reliability

Continuous streaming within supported services

--------------------------------------------------

Network

Gigabit Ethernet preferred

Wi-Fi supported only where approved

--------------------------------------------------

Latency

Within manufacturer specifications

--------------------------------------------------

Expandability

Supports future streaming services and hardware

--------------------------------------------------

Acceptance Criteria

All configured streaming services shall authenticate,

stream, and operate without interruption.

======================================================================

STANDARDIZED AUDIO PERFORMANCE

Streaming Quality

Highest supported service quality

--------------------------------------------------

Synchronization

Grouped playback synchronized

--------------------------------------------------

Buffering

No excessive buffering during normal operation

--------------------------------------------------

Playback Stability

Continuous playback without interruption

======================================================================

CONTROL & AUTOMATION INTEGRATION

Supported Platforms

• Control4

• Savant

• Josh.ai

• Crestron Home

• RTI

• URC

--------------------------------------------------

Supported Protocols

• IP

• REST API

• Manufacturer Drivers

--------------------------------------------------

Supported Interfaces

• Mobile Application

• Voice Control

• Touch Panels

• Wall Keypads

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Streaming Accounts

Expandable

--------------------------------------------------

Source Capacity

Future services supported

--------------------------------------------------

Network Capacity

Minimum 25% reserve bandwidth recommended

--------------------------------------------------

Future Expansion

Additional services

Additional users

Additional automation integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Customer Credentials

Customer retains ownership of all streaming

accounts and passwords.

--------------------------------------------------

Installer Credentials

Temporary credentials shall be removed before

project turnover.

--------------------------------------------------

Authentication

Multi-factor authentication enabled where supported.

--------------------------------------------------

Remote Access

Encrypted remote support only.

--------------------------------------------------

Configuration Backup

Required before major updates.

--------------------------------------------------

Privacy

Customer account information shall not be stored

outside approved documentation procedures.

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify customer streaming requirements

• Verify compatible services

• Verify network performance

• Verify control platform

--------------------------------------------------

MATERIAL VERIFICATION

• Streaming hardware verified

• Network equipment verified

• Mobile devices verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify network infrastructure

• Verify equipment connectivity

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Connect streaming hardware

• Connect network

• Verify mobile application access

--------------------------------------------------

SYSTEM CONFIGURATION

• Authenticate streaming accounts

• Configure source names

• Configure favorites

• Configure playlists (if requested)

• Configure automation

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify account authentication

• Verify playback

• Verify grouped playback

• Verify independent playback

• Verify automation

• Verify mobile application control

--------------------------------------------------

PERFORMANCE VERIFICATION

□ All streaming services operational

□ Customer accounts authenticated

□ Group playback verified

□ Independent playback verified

□ Mobile application verified

□ Automation verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Source names correct

□ Favorites configured

□ Firmware current

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Streaming Service Inventory

□ Source Assignment Schedule

□ Equipment Schedule

□ Firmware Inventory

□ User Setup Guide

□ Customer Handover Documentation

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Streaming Hardware

Manufacturer Warranty

Software

Maintain supported firmware and application versions.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Network Audio

• Ethernet

• Wi-Fi

• Digital Audio

• Control

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Mobile Configuration Device

• Network Analyzer

• Internet Speed Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Network

□ Internet operational

□ Network performance verified

--------------------------------------------------

Automation

□ Driver compatibility verified

--------------------------------------------------

Customer

□ Account credentials available

□ Preferred services confirmed

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-348 Voice Assistant Integration

ASM-349 Whole-Home Audio Commissioning

ASM-701 Smart Home Integration

======================================================================

INSTALLATION RULES

1.

Only customer-approved streaming services shall be

configured.

--------------------------------------------------

2.

Customer account credentials shall remain private.

--------------------------------------------------

3.

Temporary installer credentials shall be removed

before project turnover.

--------------------------------------------------

4.

Firmware shall be current before commissioning.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include customer training,

commissioning reports, QC photographs, and updated

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect customer credentials

• Unremoved installer accounts

• Duplicate source names

• Poor network performance

• Outdated firmware

• Missing customer training

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Audio Engineering Standards

Streaming Service Standards

Network Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-347

======================================================================