======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-403

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-VID-SCR-001

--------------------------------------------------

ASSEMBLY NAME

Projection Screen Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Video Systems

--------------------------------------------------

Assembly Type

Projection Display Surface

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-402 Projector System

ASM-210 Structured Backbone

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Projection Screen Assembly establishes the engineering

standard for the installation, alignment, integration, and

commissioning of fixed-frame and motorized projection screens.

The assembly ensures accurate image presentation, proper screen

placement, reliable operation, structural integrity, and future

serviceability while integrating with Digitally Defined audio,

video, and automation systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Projector throw distance engineered.

• Viewing geometry established.

• Structural mounting surface approved.

• Dedicated electrical circuit available for

motorized screens.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Dedicated Home Theater

• Media Room

• Conference Room

• Training Room

• Golf Simulator

• Commercial Presentation Space

======================================================================

STANDARD SCOPE

Includes

• Projection screen

• Mounting hardware

• Structural attachment

• Motor controls (where applicable)

• Automation integration

• Screen alignment

• Documentation

• Commissioning

======================================================================

DISPLAY PERFORMANCE REQUIREMENTS (DPR)

Screen Type

Fixed Frame

Motorized

Recessed Motorized

--------------------------------------------------

Aspect Ratio

Per engineering design

--------------------------------------------------

Screen Material

Per projector and room requirements

--------------------------------------------------

Gain

Per engineering design

--------------------------------------------------

Viewing Angle

Optimized for primary seating

--------------------------------------------------

Surface Flatness

No visible waves, sagging, or wrinkles

======================================================================

VIEWING ENVIRONMENT REQUIREMENTS (VER)

Ambient Light

Controlled to maintain intended image quality

--------------------------------------------------

Viewing Distance

Per screen size and seating layout

--------------------------------------------------

Viewing Angle

Primary seating optimized

--------------------------------------------------

Wall & Ceiling Reflectance

Minimized within dedicated theater environments

--------------------------------------------------

Glare

No direct glare on projection surface

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Residential Operation

--------------------------------------------------

Reliability

Continuous operation within manufacturer

specifications

--------------------------------------------------

Expandability

Supports future projector upgrades

--------------------------------------------------

Maintenance Accessibility

Serviceable without structural demolition

--------------------------------------------------

Acceptance Criteria

Projection screen aligned, operational,

documented, and commissioned.

======================================================================

VIDEO PERFORMANCE

Screen Alignment

Level within ±0.25°

--------------------------------------------------

Image Borders

Uniform on all sides

--------------------------------------------------

Motor Operation

Smooth, quiet, and complete travel

--------------------------------------------------

Limit Positions

Properly programmed

--------------------------------------------------

Screen Retraction

Fully enclosed where applicable

======================================================================

CONTROL & AUTOMATION INTEGRATION

Supported Platforms

• Control4

• Savant

• Josh.ai

• Crestron Home

• RTI

• URC

--------------------------------------------------

Supported Interfaces

• Dry Contact

• Relay

• RS-232

• IP (where supported)

--------------------------------------------------

Automation Functions

• Raise

• Lower

• Scene Control

• Activity Macros

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Future Display Compatibility

Supports future projector upgrades

--------------------------------------------------

Conduit

Future service pathway recommended

--------------------------------------------------

Automation

Expandable

--------------------------------------------------

Infrastructure

Service loops maintained

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted where applicable

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Remote Access

Encrypted methods only

--------------------------------------------------

Configuration Backup

Required where supported

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify screen size

• Verify aspect ratio

• Verify viewing geometry

• Verify mounting location

--------------------------------------------------

MATERIAL VERIFICATION

• Screen verified

• Mounting hardware verified

• Electrical components verified

• Control hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify structural blocking

• Verify conduit

• Verify power

• Verify control wiring

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install mounting brackets

• Mount screen

• Connect controls

• Verify concealment

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure motor limits

• Configure automation

• Configure control interfaces

--------------------------------------------------

TESTING & COMMISSIONING

• Verify deployment

• Verify retraction

• Verify alignment

• Verify automation

• Verify quiet operation

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Screen level verified

□ Screen centered

□ Surface flatness verified

□ Motor operation verified

□ Automation verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Mount secure

□ Wiring concealed

□ Labels complete

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Screen Schedule

□ Mounting Record

□ Control Configuration

□ Automation Configuration

□ Customer Training Record

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Projection Screen

Manufacturer Warranty

Infrastructure

25+ Years

Motor System

Maintain per manufacturer recommendations

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Control

• Relay

• RS-232

• Ethernet (where applicable)

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laser Level

• Laser Distance Meter

• Drill

• Torque Driver

• Multimeter

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Builder

□ Structural blocking verified

--------------------------------------------------

Electrical

□ Dedicated power verified

--------------------------------------------------

Finish Trades

□ Ceiling and wall finishes complete

--------------------------------------------------

Automation

□ Control integration verified

======================================================================

ROOM COMPATIBILITY

ROOM-005 Media Room

Future Home Theater Rooms

Conference Rooms

Training Rooms

Golf Simulator Rooms

======================================================================

UPGRADE COMPATIBILITY

ASM-404 Video Distribution Assembly

ASM-405 Video Matrix Switching Assembly

ASM-406 HDMI Extension Assembly

ASM-407 Video over IP Assembly

ASM-409 Video Calibration & Commissioning

ASM-701 Smart Home Integration

======================================================================

INSTALLATION RULES

1.

Projection screen shall be securely mounted to

approved structural members.

--------------------------------------------------

2.

Screen shall be level within ±0.25°.

--------------------------------------------------

3.

Motorized screens shall complete full travel without

binding or excessive noise.

--------------------------------------------------

4.

Automation functions shall be verified during

commissioning.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include commissioning

reports, QC photographs, customer training, and

updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect screen size

• Improper aspect ratio

• Uneven mounting

• Poor motor limit adjustment

• Wrinkled screen surface

• Missing automation programming

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Video Engineering Standards

Projection Standards

Automation Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-403

======================================================================