======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-404

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-VID-DIST-001

--------------------------------------------------

ASSEMBLY NAME

Video Distribution Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Video Systems

--------------------------------------------------

Assembly Type

Centralized Video Distribution

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-210 Structured Backbone

ASM-312 Audio Equipment Cabinet Ecosystem

ASM-401 Television Display Assembly

ASM-402 Projector System Assembly

ASM-403 Projection Screen Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Video Distribution Assembly establishes the engineering

standard for centralized distribution of high-definition and

ultra-high-definition video sources to multiple display devices.

The assembly standardizes signal routing, infrastructure,

equipment installation, control integration, documentation,

commissioning, and future scalability while maintaining signal

integrity throughout the system.

======================================================================

ENGINEERING ASSUMPTIONS

• Centralized AV equipment rack installed

• Structured cabling completed

• Approved HDMI infrastructure installed

• Dedicated conditioned electrical circuits available

• Approved Digitally Defined products utilized

• Installation performed by Level-2+ technicians

======================================================================

STANDARD APPLICATIONS

Approved For

• Whole-Home Video

• Luxury Residential

• Media Rooms

• Commercial Offices

• Conference Rooms

• Hospitality Spaces

======================================================================

STANDARD SCOPE

Includes

• Video source equipment

• Distribution hardware

• Signal routing

• Display connections

• Network integration

• Automation integration

• Documentation

• Commissioning

======================================================================

DISPLAY PERFORMANCE REQUIREMENTS (DPR)

Supported Resolutions

HD

Full HD

4K UHD

8K Ready (where supported)

--------------------------------------------------

HDR Formats

HDR10

HDR10+

HLG

Dolby Vision (where supported)

--------------------------------------------------

Refresh Rate

Per system design

--------------------------------------------------

Color Space

Per source and display capability

--------------------------------------------------

Signal Integrity

No visible degradation throughout system

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Residential Operation

--------------------------------------------------

Reliability

Continuous signal distribution within manufacturer

specifications

--------------------------------------------------

Expandability

Additional displays and sources supported

--------------------------------------------------

Maintenance Accessibility

Rack-front serviceable

--------------------------------------------------

Acceptance Criteria

Every approved source shall successfully display on

every assigned display.

======================================================================

VIDEO SIGNAL PERFORMANCE

Signal Stability

Continuous without interruption

--------------------------------------------------

HDCP

Verified

--------------------------------------------------

EDID

Properly managed

--------------------------------------------------

Source Switching

Reliable

--------------------------------------------------

Latency

Within manufacturer specifications

--------------------------------------------------

Signal Errors

None during normal operation

======================================================================

CONTROL & AUTOMATION INTEGRATION

Supported Platforms

• Control4

• Savant

• Josh.ai

• Crestron Home

• RTI

• URC

--------------------------------------------------

Supported Interfaces

• IP

• RS-232

• IR

• HDMI-CEC (where approved)

--------------------------------------------------

Automation Functions

• Source Selection

• Display Power

• Display Routing

• Activity Macros

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Display Capacity

Expandable

--------------------------------------------------

Source Capacity

Expandable

--------------------------------------------------

Rack Space

Minimum 30% reserve

--------------------------------------------------

Network Capacity

Minimum 25% reserve

--------------------------------------------------

Conduit

Future video pathways recommended

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Remote Access

Encrypted remote support only

--------------------------------------------------

Configuration Backup

Required before firmware updates

--------------------------------------------------

Network Security

Dedicated AV VLAN recommended

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify source requirements

• Verify display schedule

• Verify signal paths

• Verify rack layout

--------------------------------------------------

MATERIAL VERIFICATION

• Distribution hardware verified

• HDMI cabling verified

• Network equipment verified

• Rack hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify HDMI pathways

• Verify fiber pathways (where applicable)

• Verify permanent labeling

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install distribution hardware

• Connect sources

• Connect displays

• Connect network

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure routing

• Configure EDID

• Configure HDCP

• Configure automation

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify every source

• Verify every display

• Verify signal quality

• Verify HDCP

• Verify automation

• Verify failover (if applicable)

--------------------------------------------------

PERFORMANCE VERIFICATION

□ All displays operational

□ All sources operational

□ HDCP verified

□ EDID verified

□ Automation verified

□ Signal quality verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Rack organized

□ Wiring labeled

□ Firmware current

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Source Schedule

□ Display Schedule

□ Signal Routing Matrix

□ Rack Elevation

□ Network Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Software

Maintain current supported firmware

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• HDMI

• Fiber HDMI

• HDBaseT (where applicable)

• Ethernet

• Control

• Video

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• HDMI Analyzer

• HDBaseT Tester

• Network Analyzer

• Cable Certification Tester

• Label Printer

• Laptop

======================================================================

INTER-TRADE COORDINATION

Builder

□ Equipment room approved

--------------------------------------------------

Electrical

□ Dedicated circuits verified

--------------------------------------------------

Network

□ Managed switch configured

--------------------------------------------------

Automation

□ Driver compatibility verified

--------------------------------------------------

Finish Trades

□ Device locations complete

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-405 Video Matrix Switching Assembly

ASM-406 HDMI Extension Assembly

ASM-407 Video over IP Assembly

ASM-408 Outdoor Television Assembly

ASM-409 Video Calibration & Commissioning

ASM-701 Smart Home Integration

======================================================================

INSTALLATION RULES

1.

All video signal pathways shall be permanently

labeled.

--------------------------------------------------

2.

Every source shall be verified on every assigned

display.

--------------------------------------------------

3.

EDID and HDCP management shall be verified before

project turnover.

--------------------------------------------------

4.

Firmware shall be updated prior to commissioning.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include commissioning

reports, QC photographs, configuration backups,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Improper EDID configuration

• HDCP handshake failures

• Unlabeled signal paths

• Excessive HDMI cable lengths

• Missing firmware updates

• Poor rack organization

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Video Engineering Standards

HDMI Standards

HDCP Standards

Automation Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-404

======================================================================