======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-501

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-NET-RACK-001

--------------------------------------------------

ASSEMBLY NAME

Network Rack Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Network Systems

--------------------------------------------------

Assembly Type

Network Equipment Rack

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-210 Structured Backbone

ASM-211 Equipment Room Infrastructure

ASM-212 Equipment Rack Grounding

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Network Rack Assembly establishes the engineering standard

for the installation, organization, integration, and

commissioning of centralized network equipment racks.

The assembly standardizes rack layout, thermal management,

power distribution, cable management, grounding, equipment

identification, and long-term serviceability while providing

the foundation for all Digitally Defined network systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Dedicated equipment room available.

• Approved equipment rack selected.

• Structured cabling complete.

• Dedicated conditioned electrical circuits installed.

• HVAC operating within design parameters.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Equipment Rooms

• Commercial MDF

• Commercial IDF

• AV Closets

• Telecommunications Rooms

• Security Equipment Rooms

======================================================================

STANDARD SCOPE

Includes

• Equipment rack

• Rack mounting hardware

• Cable management

• Grounding system

• Power distribution

• Equipment labeling

• Documentation

• Commissioning

======================================================================

RACK DESIGN REQUIREMENTS (RDR)

Rack Type

19-inch EIA Standard Rack

--------------------------------------------------

Rack Height

Per engineering design

--------------------------------------------------

Rack Depth

Per equipment requirements

--------------------------------------------------

Static Load

Per manufacturer specifications

--------------------------------------------------

Working Clearance

Front and rear service access maintained

--------------------------------------------------

Rack Identification

Permanent rack ID required

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Continuous support of installed network equipment

--------------------------------------------------

Expandability

Minimum 30% rack space reserved

--------------------------------------------------

Maintenance Accessibility

Front and rear service access maintained

--------------------------------------------------

Acceptance Criteria

Rack shall safely support all installed equipment,

provide organized cable management, maintain

thermal performance, and allow future expansion.

======================================================================

THERMAL MANAGEMENT

Operating Temperature

Per manufacturer specifications

--------------------------------------------------

Airflow

Front-to-back airflow maintained

--------------------------------------------------

Ventilation

No blocked ventilation openings

--------------------------------------------------

Rack Cooling

Verified during commissioning

--------------------------------------------------

Cable Routing

Shall not obstruct airflow

======================================================================

POWER DISTRIBUTION

Dedicated Circuits

Verified

--------------------------------------------------

PDU Installation

Required

--------------------------------------------------

UPS Integration

Where specified

--------------------------------------------------

Grounding

Verified

--------------------------------------------------

Load Balance

Verified across circuits

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Rack Space Reserve

Minimum 30%

--------------------------------------------------

Power Capacity

Minimum 25% reserve

--------------------------------------------------

Cooling Capacity

Minimum 20% reserve

--------------------------------------------------

Cable Pathways

Future expansion maintained

--------------------------------------------------

Future Expansion

Additional switches

Additional servers

Additional AV equipment

Additional automation equipment

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Physical Security

Equipment room access restricted

--------------------------------------------------

Rack Security

Lockable doors where specified

--------------------------------------------------

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Configuration Backups

Required before equipment replacement

--------------------------------------------------

Documentation

Rack inventory maintained

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify equipment schedule

• Verify rack elevation

• Verify power requirements

• Verify cooling requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Rack verified

• PDUs verified

• Cable managers verified

• Grounding components verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit entries

• Verify cable pathways

• Verify grounding

• Verify electrical circuits

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install rack

• Install cable managers

• Install PDUs

• Mount equipment

• Install blanking panels

--------------------------------------------------

SYSTEM CONFIGURATION

• Label equipment

• Verify grounding

• Verify rack elevation

• Record installed equipment

--------------------------------------------------

TESTING & COMMISSIONING

• Verify grounding

• Verify power distribution

• Verify thermal airflow

• Verify cable organization

• Verify accessibility

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Rack securely installed

□ Grounding verified

□ PDUs operational

□ Cable management complete

□ Rack labels complete

□ Cooling verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Rack level

□ Equipment secure

□ Blank panels installed

□ Labels complete

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Rack Elevation

□ Equipment Inventory

□ Circuit Schedule

□ Grounding Verification

□ Rack Label Schedule

□ QC Photographs

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Rack Infrastructure

25+ Years

Rack Hardware

Manufacturer Warranty

Annual inspection recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• Fiber

• Control

• AC Power

• Grounding

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Rack Level

• Torque Driver

• Cable Certification Tester

• Label Printer

• Multimeter

• Ground Resistance Tester

======================================================================

INTER-TRADE COORDINATION

Builder

□ Equipment room complete

--------------------------------------------------

Electrical

□ Dedicated circuits verified

□ Grounding verified

--------------------------------------------------

HVAC

□ Cooling operational

--------------------------------------------------

Low Voltage

□ Backbone complete

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Commercial MDF

Commercial IDF

Future Telecommunications Spaces

======================================================================

UPGRADE COMPATIBILITY

ASM-502 Residential Router Assembly

ASM-503 Managed Network Switch Assembly

ASM-504 Wireless Access Point Assembly

ASM-505 Network Controller Assembly

ASM-506 Patch Panel Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-508 Network Monitoring & Remote Management Assembly

ASM-509 Network Commissioning & Certification Assembly

======================================================================

INSTALLATION RULES

1.

Rack shall be permanently anchored to approved

structure.

--------------------------------------------------

2.

Minimum 30% rack space shall remain available for

future expansion unless otherwise approved.

--------------------------------------------------

3.

All equipment shall be permanently labeled.

--------------------------------------------------

4.

Cable management shall maintain unrestricted airflow.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include rack elevations,

QC photographs, equipment inventories, and updated

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Overfilled racks

• Blocked airflow

• Missing blanking panels

• Poor cable management

• Missing grounding

• Improper equipment labeling

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Network Engineering Standards

Rack Standards

TIA-568 Standards

ANSI/EIA-310 Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-501

======================================================================