======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-503

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-NET-SW-001

--------------------------------------------------

ASSEMBLY NAME

Managed Network Switch Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Network Systems

--------------------------------------------------

Assembly Type

Managed Ethernet Switch

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-501 Network Rack Assembly

ASM-502 Residential Router Assembly

ASM-210 Structured Backbone

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Managed Network Switch Assembly establishes the engineering

standard for installing, configuring, securing, documenting,

and commissioning managed Ethernet switches.

The assembly standardizes switching architecture, VLAN

deployment, PoE management, Quality of Service (QoS),

multicast support, redundancy, monitoring, and long-term

serviceability across all Digitally Defined network systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Network rack installed.

• Router operational.

• Structured cabling certified.

• UPS available where specified.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Networks

• Luxury Estates

• Commercial Offices

• AV Systems

• Surveillance Systems

• Access Control Systems

• Smart Home Systems

======================================================================

STANDARD SCOPE

Includes

• Managed Ethernet Switch

• VLAN Configuration

• PoE Configuration

• QoS Configuration

• Port Configuration

• Network Monitoring

• Documentation

• Commissioning

======================================================================

NETWORK PERFORMANCE REQUIREMENTS (NPR)

Switching Capacity

Per engineering design

--------------------------------------------------

Port Speed

1 Gigabit minimum

2.5/5/10 Gigabit where specified

--------------------------------------------------

PoE Budget

Verified against connected load

--------------------------------------------------

Latency

Within manufacturer specifications

--------------------------------------------------

Packet Loss

0% under normal operation

--------------------------------------------------

Availability

24/7 Continuous Operation

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous operation

--------------------------------------------------

Reliability

Enterprise-grade managed switching

--------------------------------------------------

Expandability

Supports future switch stacking and expansion

--------------------------------------------------

Maintenance Accessibility

Rack-front serviceability

--------------------------------------------------

Acceptance Criteria

All ports, VLANs, PoE services, and monitoring

functions shall operate as engineered.

======================================================================

SWITCH PERFORMANCE

Port Operation

Verified

--------------------------------------------------

PoE Delivery

Verified

--------------------------------------------------

VLAN Communication

Verified

--------------------------------------------------

QoS Policies

Verified

--------------------------------------------------

Multicast

IGMP Snooping verified

--------------------------------------------------

Link Aggregation

Verified where applicable

======================================================================

NETWORK FEATURES

Supported Features

• Layer 2 Switching

• VLANs

• QoS

• STP/RSTP

• IGMP Snooping

• LACP

• LLDP

• Jumbo Frames (where applicable)

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Available Ports

Minimum 20% spare

--------------------------------------------------

PoE Budget

Minimum 20% reserve

--------------------------------------------------

Switch Capacity

Expandable

--------------------------------------------------

Rack Capacity

Minimum 30% reserve

--------------------------------------------------

Future Expansion

Additional switches

Wireless expansion

AV-over-IP

Surveillance

Access Control

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Authentication

Unique administrator credentials required

--------------------------------------------------

Management VLAN

Required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Remote Management

Encrypted management only

--------------------------------------------------

Configuration Backup

Automatic backup required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify port requirements

• Verify VLAN design

• Verify PoE budget

• Verify rack elevation

--------------------------------------------------

MATERIAL VERIFICATION

• Switch verified

• SFP modules verified (if applicable)

• Patch cables verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify structured cabling

• Verify patch panels

• Verify rack pathways

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install switch

• Connect uplinks

• Connect patch panels

• Verify grounding

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure VLANs

• Configure QoS

• Configure PoE

• Configure STP

• Configure LACP

• Configure management

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify every port

• Verify VLAN communication

• Verify PoE delivery

• Verify multicast

• Verify redundancy

• Verify monitoring

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Switch operational

□ All ports operational

□ VLANs verified

□ PoE verified

□ QoS verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Equipment labeled

□ Patch cords organized

□ Firmware current

□ Configuration backup completed

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Port Schedule

□ VLAN Schedule

□ PoE Budget Report

□ Switch Configuration

□ Firmware Inventory

□ Configuration Backup

□ Rack Elevation Updated

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Switch

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Annual firmware review recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• PoE

• Fiber Ethernet

• Management Traffic

• Control

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Network Analyzer

• Cable Certification Tester

• PoE Tester

• Laptop

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ UPS verified

--------------------------------------------------

Network

□ Backbone verified

--------------------------------------------------

Automation

□ VLAN assignments verified

--------------------------------------------------

Security

□ Surveillance and access control VLANs verified

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-504 Wireless Access Point Assembly

ASM-505 Network Controller Assembly

ASM-506 Patch Panel Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-508 Network Monitoring & Remote Management Assembly

ASM-509 Network Commissioning & Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every switch port shall have a documented purpose.

--------------------------------------------------

2.

Unused switch ports shall be disabled unless

otherwise approved.

--------------------------------------------------

3.

PoE utilization shall not exceed engineered capacity.

--------------------------------------------------

4.

Management traffic shall utilize a dedicated

management VLAN.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include configuration

backups, commissioning reports, QC photographs,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unlabeled ports

• Excessive PoE loading

• Missing VLAN documentation

• Disabled spanning tree

• Outdated firmware

• Missing configuration backups

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Network Engineering Standards

Managed Switch Standards

IEEE 802 Standards

TIA-568 Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-503

======================================================================