======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-504

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-NET-WAP-001

--------------------------------------------------

ASSEMBLY NAME

Wireless Access Point Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Network Systems

--------------------------------------------------

Assembly Type

Enterprise Wireless Access Point

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-501 Network Rack Assembly

ASM-502 Residential Router Assembly

ASM-503 Managed Network Switch Assembly

ASM-210 Structured Backbone

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Wireless Access Point Assembly establishes the engineering

standard for the installation, configuration, optimization,

security, and commissioning of enterprise-grade wireless access

points.

The assembly standardizes RF design, access point placement,

channel planning, roaming optimization, wireless security,

network segmentation, and long-term serviceability across all

Digitally Defined wireless networks.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Structured cabling certified.

• Managed PoE switch operational.

• RF survey completed where required.

• Network controller available where applicable.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Hospitality

• Educational Facilities

• Healthcare Facilities

• Mixed-Use Buildings

======================================================================

STANDARD SCOPE

Includes

• Wireless Access Point

• Ceiling or Wall Mount

• PoE Connection

• RF Optimization

• SSID Configuration

• Security Configuration

• Documentation

• Commissioning

======================================================================

NETWORK PERFORMANCE REQUIREMENTS (NPR)

Wireless Standard

Wi-Fi 6 minimum

Wi-Fi 6E / Wi-Fi 7 where specified

--------------------------------------------------

Backhaul Speed

Minimum 1 Gbps

Multi-Gig where specified

--------------------------------------------------

Roaming

Seamless between access points

--------------------------------------------------

Packet Loss

0% under normal operation

--------------------------------------------------

Latency

Within manufacturer specifications

--------------------------------------------------

Coverage

Continuous within engineered coverage areas

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade wireless operation

--------------------------------------------------

Expandability

Supports future AP additions

--------------------------------------------------

Maintenance Accessibility

Accessible without structural demolition

--------------------------------------------------

Acceptance Criteria

Wireless coverage, roaming, throughput,

authentication, and security shall operate in

accordance with engineering design.

======================================================================

WIRELESS PERFORMANCE

Coverage

Verified throughout intended service area

--------------------------------------------------

Signal Strength

Minimum -67 dBm in primary coverage areas

--------------------------------------------------

Channel Utilization

Optimized

--------------------------------------------------

Roaming

Verified

--------------------------------------------------

Band Steering

Configured where supported

--------------------------------------------------

Client Capacity

Within engineering design limits

======================================================================

WIRELESS SECURITY

Authentication

WPA3 Preferred

WPA2 where compatibility requires

--------------------------------------------------

Guest Network

Isolated VLAN required

--------------------------------------------------

SSID Configuration

Per engineering design

--------------------------------------------------

Client Isolation

Enabled where applicable

--------------------------------------------------

Wireless Management

Encrypted

======================================================================

CONTROL & MANAGEMENT

Supported Platforms

• UniFi

• Omada

• Aruba Instant On

• Cisco Meraki

• Ruckus

--------------------------------------------------

Management Features

• Remote Diagnostics

• RF Optimization

• Firmware Updates

• Client Monitoring

• Rogue AP Detection

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Coverage Capacity

Minimum 20% expansion capability

--------------------------------------------------

PoE Capacity

Minimum 20% reserve

--------------------------------------------------

Switch Capacity

Minimum 20% available ports

--------------------------------------------------

RF Capacity

Additional AP deployment supported

--------------------------------------------------

Future Expansion

Wi-Fi 7

Outdoor APs

IoT Devices

Additional SSIDs

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Authentication

Unique administrator credentials required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Remote Management

Encrypted management only

--------------------------------------------------

Configuration Backup

Automatic scheduled backups required

--------------------------------------------------

Wireless Security

Periodic security review recommended

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify coverage requirements

• Verify AP locations

• Verify RF environment

• Verify PoE availability

--------------------------------------------------

MATERIAL VERIFICATION

• Access point verified

• Mounting hardware verified

• Patch cable verified

• PoE verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify Category cable

• Verify mounting location

• Verify cable labeling

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Mount access point

• Connect PoE

• Verify cable management

• Verify physical security

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure SSIDs

• Configure VLAN assignments

• Configure WPA security

• Configure roaming

• Configure band steering

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify wireless coverage

• Verify throughput

• Verify roaming

• Verify authentication

• Verify guest network

• Verify client isolation

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Coverage verified

□ Throughput verified

□ Roaming verified

□ Authentication verified

□ Guest network verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Mount secure

□ Labels complete

□ Firmware current

□ Configuration backup completed

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Access Point Schedule

□ RF Coverage Map

□ SSID Schedule

□ VLAN Assignment Schedule

□ Firmware Inventory

□ Configuration Backup

□ Wireless Performance Report

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Access Point

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Annual wireless survey recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Wi-Fi

• Ethernet

• PoE

• RF

• Management Traffic

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Wi-Fi Analyzer

• Spectrum Analyzer

• Network Analyzer

• PoE Tester

• Laptop

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ PoE verified

--------------------------------------------------

Network

□ VLAN assignments verified

--------------------------------------------------

Builder

□ Mounting location approved

--------------------------------------------------

Automation

□ Wireless device connectivity verified

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-505 Network Controller Assembly

ASM-506 Patch Panel Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-508 Network Monitoring & Remote Management Assembly

ASM-509 Network Commissioning & Certification Assembly

Future Outdoor Wireless Assemblies

======================================================================

INSTALLATION RULES

1.

Wireless access points shall not be installed inside

metal enclosures or concealed spaces that degrade RF

performance.

--------------------------------------------------

2.

Every access point shall receive a documented static

IP address or DHCP reservation in accordance with

network design.

--------------------------------------------------

3.

RF channels and transmit power shall be engineered to

minimize co-channel and adjacent-channel interference.

--------------------------------------------------

4.

Guest wireless networks shall remain isolated from

private network resources.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include RF validation,

configuration backups, QC photographs, and updated

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Poor AP placement

• Overlapping RF channels

• Excessive transmit power

• Weak roaming performance

• Missing VLAN isolation

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Wireless Engineering Standards

IEEE 802.11 Standards

RF Best Practices

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-504

======================================================================