======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-505

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-NET-CTRL-001

--------------------------------------------------

ASSEMBLY NAME

Network Controller Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Network Systems

--------------------------------------------------

Assembly Type

Centralized Network Management Controller

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-501 Network Rack Assembly

ASM-502 Residential Router Assembly

ASM-503 Managed Network Switch Assembly

ASM-504 Wireless Access Point Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Network Controller Assembly establishes the engineering

standard for centralized deployment, configuration,

monitoring, administration, security, and lifecycle

management of managed network infrastructure.

The assembly standardizes controller implementation,

device adoption, firmware management, policy deployment,

performance monitoring, alerting, configuration backups,

and long-term serviceability across all Digitally Defined

network systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Managed network infrastructure operational.

• Router configured.

• Managed switches operational.

• Wireless access points operational.

• Internet connectivity available.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Networks

• Estate Homes

• Commercial Offices

• Hospitality

• Multi-Building Campuses

• Smart Home Networks

======================================================================

STANDARD SCOPE

Includes

• Network Controller

• Device Adoption

• Centralized Management

• Firmware Management

• Network Monitoring

• Alert Configuration

• Configuration Backup

• Documentation

• Commissioning

======================================================================

NETWORK PERFORMANCE REQUIREMENTS (NPR)

Controller Availability

24/7 Continuous Operation

--------------------------------------------------

Device Communication

Continuous

--------------------------------------------------

Monitoring Refresh

Per manufacturer specification

--------------------------------------------------

Alert Delivery

Verified

--------------------------------------------------

Configuration Synchronization

Verified

--------------------------------------------------

Controller Performance

Within manufacturer specifications

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade centralized management

--------------------------------------------------

Expandability

Supports future infrastructure growth

--------------------------------------------------

Maintenance Accessibility

Local and remote administration supported

--------------------------------------------------

Acceptance Criteria

Controller shall successfully manage every approved

network device while maintaining centralized

configuration, monitoring, and reporting.

======================================================================

CENTRALIZED MANAGEMENT

Managed Devices

• Routers

• Switches

• Wireless Access Points

• Gateways

• Bridges

• Future Supported Devices

--------------------------------------------------

Functions

• Device Adoption

• Configuration

• Firmware Management

• Monitoring

• Diagnostics

• Alerts

• Reporting

======================================================================

MONITORING & ANALYTICS

Performance Metrics

• CPU Utilization

• Memory Utilization

• Network Throughput

• PoE Utilization

• Wireless Client Count

• Port Utilization

--------------------------------------------------

Alerts

• Device Offline

• High CPU

• High Memory

• Port Failure

• WAN Failure

• Firmware Available

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Managed Devices

Expandable

--------------------------------------------------

Controller Capacity

Minimum 30% reserve

--------------------------------------------------

Storage

Minimum 25% reserve

--------------------------------------------------

Network Capacity

Minimum 25% reserve

--------------------------------------------------

Future Expansion

Additional Sites

Additional Buildings

Cloud Management

Enterprise Expansion

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Authentication

Unique administrator credentials required

--------------------------------------------------

Multi-Factor Authentication

Enabled where supported

--------------------------------------------------

Remote Management

Encrypted access only

--------------------------------------------------

Configuration Backup

Automatic scheduled backups required

--------------------------------------------------

Audit Logs

Retained where supported

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify managed infrastructure

• Verify controller capacity

• Verify licensing

• Verify management requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Controller verified

• Licensing verified

• Network connectivity verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify controller network connectivity

• Verify rack installation

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install controller

• Connect network

• Verify redundancy (where applicable)

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure controller

• Adopt devices

• Configure administrator accounts

• Configure alerts

• Configure monitoring

• Configure scheduled backups

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify controller communication

• Verify device adoption

• Verify monitoring

• Verify alerts

• Verify firmware management

• Verify remote administration

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Controller operational

□ Device adoption complete

□ Monitoring operational

□ Alerts operational

□ Firmware management verified

□ Configuration backups verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Controller labeled

□ Firmware current

□ Administrator accounts verified

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Controller Configuration

□ Device Inventory

□ Administrator List

□ Monitoring Configuration

□ Alert Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Controller

Manufacturer Warranty

Software

Maintain current supported release

Infrastructure

25+ Years

Annual configuration review recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• Management Traffic

• HTTPS

• SNMP

• Syslog

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• Controller Management Software

• Internet Speed Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Network

□ Infrastructure verified

--------------------------------------------------

Automation

□ Controller integration verified

--------------------------------------------------

IT

□ Administrative requirements verified

--------------------------------------------------

Electrical

□ UPS protection verified

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-506 Patch Panel Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-508 Network Monitoring & Remote Management Assembly

ASM-509 Network Commissioning & Certification Assembly

Future Enterprise Network Assemblies

======================================================================

INSTALLATION RULES

1.

Every managed device shall be adopted into the

controller before project turnover.

--------------------------------------------------

2.

Administrator accounts shall use unique credentials.

--------------------------------------------------

3.

Automatic configuration backups shall be enabled.

--------------------------------------------------

4.

Monitoring alerts shall be configured before

commissioning.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include configuration

backups, commissioning reports, QC photographs,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unadopted devices

• Default administrator credentials

• Missing configuration backups

• Disabled monitoring

• Missing alert configuration

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Network Engineering Standards

Controller Management Standards

Cybersecurity Standards

SNMP Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-505

======================================================================