======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-508

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-NET-MON-001

--------------------------------------------------

ASSEMBLY NAME

Network Monitoring & Remote Management Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Network Systems

--------------------------------------------------

Assembly Type

Network Monitoring & Remote Administration

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-501 Network Rack Assembly

ASM-502 Residential Router Assembly

ASM-503 Managed Network Switch Assembly

ASM-504 Wireless Access Point Assembly

ASM-505 Network Controller Assembly

ASM-507 UPS & Power Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Network Monitoring & Remote Management Assembly

establishes the engineering standard for continuous

monitoring, remote diagnostics, alerting, reporting,

maintenance, and lifecycle management of Digitally Defined

network infrastructure.

The assembly provides standardized monitoring policies,

remote administration procedures, alert thresholds,

performance reporting, configuration backup management,

firmware lifecycle management, and proactive service

methodologies.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Network infrastructure operational.

• Internet connectivity available.

• Managed devices support remote management.

• Customer remote access approval obtained.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Networks

• Luxury Estates

• Commercial Offices

• Hospitality

• Smart Homes

• Multi-Site Networks

======================================================================

STANDARD SCOPE

Includes

• Remote Monitoring

• Health Monitoring

• Performance Monitoring

• Alert Configuration

• Firmware Management

• Configuration Backup

• Remote Diagnostics

• Documentation

• Commissioning

======================================================================

NETWORK PERFORMANCE REQUIREMENTS (NPR)

Monitoring Availability

24/7 Continuous

--------------------------------------------------

Alert Delivery

Verified

--------------------------------------------------

Polling Frequency

Per manufacturer recommendations

--------------------------------------------------

Configuration Backup

Automatic

--------------------------------------------------

Historical Data

Retained where supported

--------------------------------------------------

Remote Access

Encrypted

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous monitoring

--------------------------------------------------

Reliability

Enterprise-grade monitoring

--------------------------------------------------

Expandability

Supports future managed devices

--------------------------------------------------

Maintenance Accessibility

Remote diagnostics preferred

--------------------------------------------------

Acceptance Criteria

Monitoring platform shall continuously monitor,

record, alert, and report on all approved managed

devices.

======================================================================

MONITORED DEVICES

Supported Equipment

• Routers

• Managed Switches

• Wireless Access Points

• UPS Systems

• Controllers

• AV-over-IP Devices

• Automation Controllers

--------------------------------------------------

Monitored Parameters

• Device Status

• CPU Usage

• Memory Usage

• WAN Status

• LAN Status

• PoE Usage

• Wireless Clients

• Temperature

• Fan Status

• Power Status

======================================================================

ALERT MANAGEMENT

Alert Categories

Critical

Warning

Informational

--------------------------------------------------

Supported Alerts

• WAN Failure

• Device Offline

• High CPU

• High Memory

• High Temperature

• UPS Battery Fault

• Firmware Available

• Link Failure

• Power Failure

--------------------------------------------------

Notification Methods

• Email

• Mobile Application

• SMS (where supported)

• Dashboard Notification

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Managed Devices

Expandable

--------------------------------------------------

Monitoring Capacity

Minimum 30% reserve

--------------------------------------------------

Storage Capacity

Minimum 25% reserve

--------------------------------------------------

Future Expansion

Additional Sites

Commercial Expansion

Cloud Analytics

AI Diagnostics

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Multi-Factor Authentication

Required where supported

--------------------------------------------------

Remote Access

VPN or encrypted cloud access only

--------------------------------------------------

Audit Logging

Enabled where supported

--------------------------------------------------

Configuration Backup

Automatic scheduled backups required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify managed devices

• Verify monitoring platform

• Verify customer requirements

• Verify alert recipients

--------------------------------------------------

MATERIAL VERIFICATION

• Monitoring platform verified

• Licensing verified

• Internet connectivity verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify network connectivity

• Verify remote access

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Connect monitoring platform

• Verify communications

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure monitored devices

• Configure alerts

• Configure dashboards

• Configure reports

• Configure firmware notifications

• Configure automatic backups

--------------------------------------------------

TESTING & COMMISSIONING

• Verify monitoring

• Verify alerts

• Verify remote diagnostics

• Verify firmware notifications

• Verify reporting

• Verify historical logging

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Monitoring operational

□ Alerts operational

□ Reporting operational

□ Remote access verified

□ Backup automation verified

□ Historical logging verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Devices adopted

□ Alerts configured

□ Firmware current

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Monitoring Configuration

□ Alert Schedule

□ Notification Contacts

□ Dashboard Configuration

□ Firmware Inventory

□ Backup Schedule

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Monitoring Platform

Manufacturer Warranty

Infrastructure

25+ Years

Software

Maintain current supported release

Quarterly monitoring review recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• HTTPS

• SNMP

• Syslog

• API

• Management Traffic

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• Monitoring Dashboard

• Internet Speed Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Network

□ Managed devices verified

--------------------------------------------------

IT

□ Administrative requirements verified

--------------------------------------------------

Automation

□ Controller monitoring verified

--------------------------------------------------

Customer

□ Notification contacts approved

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-509 Network Commissioning & Certification Assembly

Future Enterprise Network Assemblies

Future Managed Service Standards

======================================================================

INSTALLATION RULES

1.

Every managed network device shall report to the

approved monitoring platform.

--------------------------------------------------

2.

Critical alerts shall be configured before project

turnover.

--------------------------------------------------

3.

Automatic configuration backups shall remain enabled.

--------------------------------------------------

4.

Remote management shall utilize encrypted

communications only.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include monitoring

configuration records, commissioning reports,

QC photographs, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Disabled monitoring

• Missing critical alerts

• Incorrect notification recipients

• No configuration backups

• Outdated firmware

• Weak administrator credentials

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Network Monitoring Standards

SNMP Standards

Cybersecurity Standards

Managed Service Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-508

======================================================================