======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-601

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-SUR-CAM-IP-001

--------------------------------------------------

ASSEMBLY NAME

Fixed IP Camera Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Surveillance Systems

--------------------------------------------------

Assembly Type

Fixed IP Surveillance Camera

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-210 Structured Backbone

ASM-503 Managed Network Switch Assembly

ASM-504 Wireless Access Point Assembly

(if approved)

ASM-507 UPS & Power Conditioning Assembly

ASM-509 Network Commissioning &

Certification Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Fixed IP Camera Assembly establishes the engineering

standard for installation, configuration, integration,

documentation, and commissioning of fixed IP surveillance

cameras.

The assembly provides repeatable engineering standards

for physical installation, field of view, network

integration, AI functionality, image quality,

cybersecurity, and long-term serviceability.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Structured cabling complete.

• PoE network available.

• Camera locations engineered.

• Lighting conditions evaluated.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Buildings

• Retail

• Warehouses

• Offices

• Hospitality

======================================================================

STANDARD SCOPE

Includes

• Fixed IP Camera

• Mounting Hardware

• Junction Box (where required)

• PoE Connection

• Network Configuration

• AI Configuration

• Documentation

• Commissioning

======================================================================

CAMERA PERFORMANCE REQUIREMENTS (CPR)

Image Resolution

Minimum 4 MP

8 MP preferred

Higher resolutions where specified

--------------------------------------------------

Frame Rate

Minimum 20 FPS

30 FPS preferred

--------------------------------------------------

Compression

H.265 Preferred

H.264 where required

--------------------------------------------------

Day/Night Operation

Automatic

--------------------------------------------------

Wide Dynamic Range

Enabled where applicable

--------------------------------------------------

Infrared Performance

Per engineering design

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Recording

--------------------------------------------------

Reliability

Continuous operation

--------------------------------------------------

Expandability

Supports future camera additions

--------------------------------------------------

Maintenance Accessibility

Serviceable without structural demolition

--------------------------------------------------

Acceptance Criteria

Camera shall provide complete engineered field

coverage, stable recording, AI functionality,

secure connectivity, and documented operation.

======================================================================

CAMERA PERFORMANCE

Focus

Verified

--------------------------------------------------

Exposure

Verified

--------------------------------------------------

Image Quality

Verified

--------------------------------------------------

Field of View

Matches engineering drawings

--------------------------------------------------

Motion Detection

Verified

--------------------------------------------------

AI Detection

Verified where supported

======================================================================

AI & ANALYTICS

Supported Features

• Human Detection

• Vehicle Detection

• Animal Detection

• Line Crossing

• Intrusion Detection

• Object Detection

• Smart Recording

--------------------------------------------------

Privacy Masks

Configured where required

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Network Capacity

Verified

--------------------------------------------------

PoE Capacity

Verified

--------------------------------------------------

Recording Capacity

Future camera expansion supported

--------------------------------------------------

Infrastructure

Minimum one spare network pathway

recommended

--------------------------------------------------

Future Expansion

Additional cameras

Video analytics

License plate recognition

Facial recognition (where permitted)

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Encryption

HTTPS enabled

--------------------------------------------------

Default Passwords

Removed before commissioning

--------------------------------------------------

Configuration Backup

Required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify coverage

• Verify mounting height

• Verify lighting

• Verify network availability

--------------------------------------------------

MATERIAL VERIFICATION

• Camera verified

• Mount verified

• Junction box verified

• Patch cable verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable pathway

• Verify junction box

• Verify labeling

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install mount

• Install camera

• Connect PoE

• Verify waterproofing

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure IP settings

• Configure recording

• Configure AI analytics

• Configure motion zones

• Configure privacy masks

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify live view

• Verify recording

• Verify AI events

• Verify night vision

• Verify network communication

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Camera operational

□ Focus verified

□ Coverage verified

□ Recording verified

□ AI verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Camera secure

□ Waterproofing complete

□ Labels complete

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Camera Schedule

□ Camera IP Address

□ Coverage Map

□ Recording Settings

□ AI Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Camera

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain supported release

Annual cleaning and inspection recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• PoE

• HTTPS

• RTSP

• ONVIF

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• PoE Tester

• Network Analyzer

• Laptop

• Camera Focus Tool

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ PoE verified

--------------------------------------------------

Network

□ Switch port verified

--------------------------------------------------

Builder

□ Mounting location approved

--------------------------------------------------

Security

□ Camera coverage approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

Outdoor locations require weather-rated equipment.

======================================================================

UPGRADE COMPATIBILITY

ASM-602 Network Video Recorder Assembly

ASM-603 PTZ Camera Assembly

ASM-604 Camera Mounting &

Environmental Protection Assembly

ASM-605 Video Analytics &

AI Detection Assembly

ASM-606 Remote Viewing &

Mobile Access Assembly

ASM-607 Camera Storage &

Retention Assembly

ASM-608 Perimeter Surveillance Assembly

ASM-609 Surveillance Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every camera shall receive a documented field-of-view

verification before project turnover.

--------------------------------------------------

2.

Default administrator credentials shall never remain

active.

--------------------------------------------------

3.

Every camera shall receive the latest approved

firmware before commissioning.

--------------------------------------------------

4.

Motion zones and privacy masks shall match the

approved surveillance design.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include configuration

backups, QC photographs, commissioning reports,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Poor camera placement

• Incorrect viewing angle

• Unfocused image

• Excessive IR reflection

• Default passwords retained

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Surveillance Engineering Standards

ONVIF Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-601

======================================================================