======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-602

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-SUR-NVR-001

--------------------------------------------------

ASSEMBLY NAME

Network Video Recorder (NVR) Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Surveillance Systems

--------------------------------------------------

Assembly Type

Network Video Recording System

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-501 Network Rack Assembly

ASM-503 Managed Network Switch Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-601 Fixed IP Camera Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Network Video Recorder (NVR) Assembly establishes the

engineering standard for the installation, configuration,

integration, storage management, cybersecurity, and

commissioning of IP-based video recording systems.

The assembly standardizes recording performance, storage

architecture, AI event management, redundancy, remote

management, and long-term serviceability while ensuring

continuous surveillance recording.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• IP network operational.

• Cameras installed and commissioned.

• Managed network infrastructure operational.

• UPS protection available.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Buildings

• Retail

• Warehouses

• Hospitality

• Mixed-Use Facilities

======================================================================

STANDARD SCOPE

Includes

• Network Video Recorder

• Hard Drive Installation

• RAID Configuration (where applicable)

• Camera Integration

• Recording Configuration

• AI Event Recording

• Remote Management

• Documentation

• Commissioning

======================================================================

SURVEILLANCE PERFORMANCE REQUIREMENTS (SPR)

Recording Resolution

Matches camera capability

--------------------------------------------------

Recording Frame Rate

Per engineering design

--------------------------------------------------

Recording Availability

24/7 Continuous

--------------------------------------------------

Event Recording

Verified

--------------------------------------------------

Playback Performance

Verified

--------------------------------------------------

Search Performance

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Recording

--------------------------------------------------

Reliability

Continuous operation

--------------------------------------------------

Expandability

Supports additional cameras and storage

--------------------------------------------------

Maintenance Accessibility

Rack-front serviceable

--------------------------------------------------

Acceptance Criteria

Every approved camera shall successfully record,

store, search, and playback video while maintaining

engineering performance standards.

======================================================================

RECORDING PERFORMANCE

Continuous Recording

Verified

--------------------------------------------------

Motion Recording

Verified

--------------------------------------------------

AI Event Recording

Verified

--------------------------------------------------

Playback

Verified

--------------------------------------------------

Export Function

Verified

--------------------------------------------------

Time Synchronization

Verified

======================================================================

STORAGE MANAGEMENT

Storage Type

Surveillance-rated hard drives

--------------------------------------------------

RAID

Configured where specified

--------------------------------------------------

Retention Period

Per engineering design

--------------------------------------------------

Disk Health Monitoring

Enabled

--------------------------------------------------

Automatic Overwrite

Configured where approved

--------------------------------------------------

Storage Alerts

Enabled

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Camera Capacity

Minimum 20% reserve

--------------------------------------------------

Storage Capacity

Minimum 25% reserve

--------------------------------------------------

Rack Capacity

Minimum 30% reserve

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Future Expansion

Additional cameras

Additional storage

AI analytics

Cloud backup

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted to authorized personnel

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Encryption

HTTPS enabled

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Remote Access

Encrypted only

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify camera count

• Verify storage calculations

• Verify rack space

• Verify network capacity

--------------------------------------------------

MATERIAL VERIFICATION

• NVR verified

• Hard drives verified

• Network connections verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify rack installation

• Verify network connectivity

• Verify UPS

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install NVR

• Install hard drives

• Connect network

• Connect UPS

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure recording schedules

• Configure storage

• Configure RAID

• Configure AI recording

• Configure users

• Configure remote access

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify live recording

• Verify playback

• Verify exports

• Verify storage alerts

• Verify remote access

• Verify AI events

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Recording verified

□ Playback verified

□ Storage verified

□ RAID verified

□ Remote access verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Rack installation complete

□ Hard drives secure

□ Labels complete

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Camera Assignment Schedule

□ Recording Schedule

□ Storage Report

□ RAID Configuration

□ User Account List

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Recorder

Manufacturer Warranty

Hard Drives

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain current supported release

Annual storage health verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• PoE Network Traffic

• ONVIF

• RTSP

• HTTPS

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• Storage Diagnostic Software

• Hard Drive Health Utility

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Network

□ Network verified

--------------------------------------------------

Electrical

□ UPS verified

--------------------------------------------------

Security

□ Camera assignments verified

--------------------------------------------------

Customer

□ Retention requirements approved

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-603 PTZ Camera Assembly

ASM-604 Camera Mounting &

Environmental Protection Assembly

ASM-605 Video Analytics &

AI Detection Assembly

ASM-606 Remote Viewing &

Mobile Access Assembly

ASM-607 Camera Storage &

Retention Assembly

ASM-608 Perimeter Surveillance Assembly

ASM-609 Surveillance Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Only surveillance-rated hard drives shall be

installed.

--------------------------------------------------

2.

Recording retention shall match the approved project

requirements.

--------------------------------------------------

3.

Every installed camera shall be assigned to the

correct recording schedule.

--------------------------------------------------

4.

Configuration backups shall be completed before

project turnover.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include recording

verification, QC photographs, configuration backups,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Consumer-grade hard drives

• Insufficient storage capacity

• Incorrect retention calculations

• Disabled storage monitoring

• Default administrator credentials

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Surveillance Engineering Standards

ONVIF Standards

Cybersecurity Standards

Storage Best Practices

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-602

======================================================================