======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-603

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-SUR-CAM-PTZ-001

--------------------------------------------------

ASSEMBLY NAME

PTZ Camera Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Surveillance Systems

--------------------------------------------------

Assembly Type

Pan-Tilt-Zoom IP Camera

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-503 Managed Network Switch Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-601 Fixed IP Camera Assembly

ASM-602 Network Video Recorder Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The PTZ Camera Assembly establishes the engineering

standard for installation, configuration, programming,

integration, and commissioning of Pan-Tilt-Zoom (PTZ)

surveillance cameras.

The assembly standardizes PTZ operation, preset

management, patrol programming, auto-tracking, optical

zoom performance, event response, cybersecurity, and

long-term serviceability while providing advanced

surveillance capabilities beyond fixed-camera systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Network infrastructure operational.

• PoE or dedicated power available.

• Camera coverage engineered.

• Mounting structure approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Estate Properties

• Commercial Buildings

• Parking Lots

• Warehouses

• Schools

• Hospitality

• Large Residential Properties

======================================================================

STANDARD SCOPE

Includes

• PTZ Camera

• Mounting Hardware

• Network Configuration

• Preset Programming

• Patrol Programming

• Auto-Tracking Configuration

• Documentation

• Commissioning

======================================================================

SURVEILLANCE PERFORMANCE REQUIREMENTS (SPR)

Image Resolution

Minimum 4 MP

8 MP preferred

--------------------------------------------------

Optical Zoom

Per engineering design

--------------------------------------------------

Pan Range

360° Continuous or manufacturer specification

--------------------------------------------------

Tilt Range

Per manufacturer specification

--------------------------------------------------

Frame Rate

Minimum 30 FPS

--------------------------------------------------

Tracking Performance

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Continuous PTZ functionality

--------------------------------------------------

Expandability

Supports future AI integration

--------------------------------------------------

Maintenance Accessibility

Serviceable without structural demolition

--------------------------------------------------

Acceptance Criteria

PTZ camera shall provide engineered coverage,

preset accuracy, patrol operation, zoom

performance, and secure network connectivity.

======================================================================

PTZ PERFORMANCE

Pan Operation

Verified

--------------------------------------------------

Tilt Operation

Verified

--------------------------------------------------

Optical Zoom

Verified

--------------------------------------------------

Preset Accuracy

Verified

--------------------------------------------------

Patrol Tours

Verified

--------------------------------------------------

Auto-Tracking

Verified where supported

======================================================================

ADVANCED CAMERA FEATURES

Supported Functions

• Presets

• Guard Tours

• Pattern Recording

• Auto Patrol

• Auto Tracking

• Human Tracking

• Vehicle Tracking

• Smart Tracking

--------------------------------------------------

Privacy Zones

Configured where required

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Network Capacity

Verified

--------------------------------------------------

Recording Capacity

Verified

--------------------------------------------------

PoE Budget

Verified

--------------------------------------------------

Future Expansion

Additional PTZ Cameras

Advanced Analytics

License Plate Recognition

Cloud Recording

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Encryption

HTTPS enabled

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Remote Access

Encrypted only

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify coverage

• Verify mounting height

• Verify tracking zones

• Verify network availability

--------------------------------------------------

MATERIAL VERIFICATION

• PTZ camera verified

• Mount verified

• Network components verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable pathway

• Verify mounting hardware

• Verify labeling

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install mount

• Install PTZ camera

• Connect network

• Verify weather sealing

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure IP settings

• Configure presets

• Configure patrols

• Configure tracking

• Configure recording

• Configure privacy zones

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify live video

• Verify pan

• Verify tilt

• Verify zoom

• Verify patrols

• Verify tracking

--------------------------------------------------

PERFORMANCE VERIFICATION

□ PTZ operational

□ Presets verified

□ Patrols verified

□ Auto-tracking verified

□ Recording verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Camera secure

□ Waterproofing complete

□ Labels complete

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ PTZ Schedule

□ Preset Schedule

□ Patrol Schedule

□ Tracking Configuration

□ Recording Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Camera

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain supported release

Annual operational verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• PoE++

• HTTPS

• ONVIF

• RTSP

• Control Data

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Network Analyzer

• PoE Tester

• Laptop

• PTZ Calibration Software

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Power verified

--------------------------------------------------

Network

□ Network verified

--------------------------------------------------

Builder

□ Mounting structure approved

--------------------------------------------------

Security

□ Coverage approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

Outdoor installations require weather-rated

equipment.

======================================================================

UPGRADE COMPATIBILITY

ASM-604 Camera Mounting &

Environmental Protection Assembly

ASM-605 Video Analytics &

AI Detection Assembly

ASM-606 Remote Viewing &

Mobile Access Assembly

ASM-607 Camera Storage &

Retention Assembly

ASM-608 Perimeter Surveillance Assembly

ASM-609 Surveillance Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every PTZ preset shall be documented and verified.

--------------------------------------------------

2.

Patrol routes shall be tested under normal operating

conditions.

--------------------------------------------------

3.

Auto-tracking shall be validated where enabled.

--------------------------------------------------

4.

Default administrator credentials shall never remain

active.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include configuration

backups, QC photographs, commissioning reports,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect preset programming

• Poor patrol coverage

• Excessive zoom beyond usable identification range

• Auto-tracking not calibrated

• Default passwords retained

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Surveillance Engineering Standards

ONVIF Standards

Cybersecurity Standards

PTZ Best Practices

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-603

======================================================================