======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-604

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-SUR-MNT-001

--------------------------------------------------

ASSEMBLY NAME

Camera Mounting & Environmental Protection Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Surveillance Systems

--------------------------------------------------

Assembly Type

Camera Mounting Infrastructure

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-210 Structured Backbone

ASM-601 Fixed IP Camera Assembly

ASM-603 PTZ Camera Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Camera Mounting & Environmental Protection Assembly

establishes the engineering standard for the physical

installation, environmental protection, structural support,

and long-term durability of surveillance camera systems.

The assembly standardizes mounting methods, environmental

sealing, corrosion resistance, cable protection, grounding,

lightning protection, vibration control, and future

serviceability for all surveillance camera installations.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Camera locations engineered.

• Structural mounting surfaces verified.

• Cable pathways complete.

• Outdoor environmental exposure evaluated.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Buildings

• Warehouses

• Parking Structures

• Educational Facilities

• Hospitality

======================================================================

STANDARD SCOPE

Includes

• Camera Mount

• Junction Box

• Pole Mounts

• Wall Mounts

• Ceiling Mounts

• Parapet Mounts

• Environmental Sealing

• Grounding

• Documentation

• Commissioning

======================================================================

SURVEILLANCE PERFORMANCE REQUIREMENTS (SPR)

Mount Stability

Zero observable movement

--------------------------------------------------

Camera Alignment

Matches engineered field of view

--------------------------------------------------

Environmental Protection

Verified

--------------------------------------------------

Ingress Protection

Maintained to manufacturer rating

--------------------------------------------------

Service Accessibility

Verified

--------------------------------------------------

Structural Integrity

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Long-term structural stability

--------------------------------------------------

Expandability

Supports future camera replacement

--------------------------------------------------

Maintenance Accessibility

Serviceable without structural demolition

--------------------------------------------------

Acceptance Criteria

Mounting system shall securely support the camera,

maintain environmental protection, preserve

alignment, and provide long-term reliability.

======================================================================

MOUNTING REQUIREMENTS

Approved Mount Types

• Wall Mount

• Ceiling Mount

• Pendant Mount

• Pole Mount

• Corner Mount

• Parapet Mount

--------------------------------------------------

Fasteners

Corrosion-resistant hardware required

--------------------------------------------------

Structural Attachment

Approved structural members only

--------------------------------------------------

Load Capacity

Minimum 4× installed equipment weight

--------------------------------------------------

Vibration

No excessive movement permitted

======================================================================

ENVIRONMENTAL PROTECTION

Weather Sealing

Verified

--------------------------------------------------

UV Resistance

Outdoor-rated materials only

--------------------------------------------------

Corrosion Protection

Required

--------------------------------------------------

Cable Protection

Conduit or approved raceway where required

--------------------------------------------------

Water Intrusion

None permitted

--------------------------------------------------

Drainage

Maintained where applicable

======================================================================

GROUNDING & LIGHTNING PROTECTION

Grounding

Required where applicable

--------------------------------------------------

Bonding

Verified

--------------------------------------------------

Surge Protection

Installed where required

--------------------------------------------------

Lightning Protection

Per engineering design

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Mount Capacity

Supports future camera upgrades

--------------------------------------------------

Cable Capacity

Service loop maintained

--------------------------------------------------

Conduit

Future pull capacity maintained

--------------------------------------------------

Future Expansion

PTZ upgrades

Higher resolution cameras

Additional sensors

Thermal cameras

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Physical Security

Tamper-resistant hardware required

--------------------------------------------------

Tamper Detection

Enabled where supported

--------------------------------------------------

Equipment Access

Restricted to authorized personnel

--------------------------------------------------

Documentation

Mounting records maintained

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify mounting location

• Verify structural support

• Verify environmental exposure

• Verify service access

--------------------------------------------------

MATERIAL VERIFICATION

• Mount verified

• Junction box verified

• Fasteners verified

• Sealants verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify cable pathway

• Verify grounding

• Verify service loop

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install mount

• Install junction box

• Mount camera

• Seal penetrations

• Verify alignment

--------------------------------------------------

SYSTEM CONFIGURATION

• Verify camera orientation

• Verify field of view

• Document installation

--------------------------------------------------

TESTING & COMMISSIONING

• Verify structural integrity

• Verify waterproofing

• Verify grounding

• Verify vibration resistance

• Verify service accessibility

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Mount secure

□ Alignment verified

□ Waterproofing verified

□ Grounding verified

□ Corrosion protection verified

□ Service access verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Fasteners secure

□ Sealants complete

□ Junction box sealed

□ Labels complete

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Mount Schedule

□ Structural Attachment Record

□ Environmental Protection Record

□ Grounding Verification

□ QC Photographs

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Mounting Hardware

Manufacturer Warranty

Infrastructure

25+ Years

Annual inspection recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Systems

• Structural Support

• Grounding

• Conduit

• Ethernet

• PoE

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Torque Wrench

• Laser Level

• Stud Finder

• Drill

• Multimeter

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Builder

□ Structural support verified

--------------------------------------------------

Electrical

□ Grounding verified

--------------------------------------------------

Roofing

□ Roof penetrations sealed

--------------------------------------------------

Security

□ Camera orientation approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

Approved for indoor and outdoor installations

using appropriate environmental ratings.

======================================================================

UPGRADE COMPATIBILITY

ASM-605 Video Analytics & AI Detection Assembly

ASM-606 Remote Viewing & Mobile Access Assembly

ASM-607 Camera Storage & Retention Assembly

ASM-608 Perimeter Surveillance Assembly

ASM-609 Surveillance Commissioning & Certification Assembly

Future Thermal Camera Assemblies

Future Multi-Sensor Camera Assemblies

======================================================================

INSTALLATION RULES

1.

Every camera mount shall attach only to approved

structural members.

--------------------------------------------------

2.

Outdoor installations shall utilize corrosion-resistant

hardware and weather-rated sealants.

--------------------------------------------------

3.

All cable penetrations shall be permanently sealed

against moisture intrusion.

--------------------------------------------------

4.

Grounding and surge protection shall comply with the

approved engineering design.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include QC photographs,

structural verification, environmental inspection,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Mounting to non-structural surfaces

• Improper waterproofing

• Missing drip loops

• Unsupported conduit

• Poor grounding

• Misaligned cameras

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Surveillance Engineering Standards

Environmental Protection Standards

Grounding Standards

BICSI Best Practices

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-604

======================================================================