======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-605

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-SUR-AI-001

--------------------------------------------------

ASSEMBLY NAME

Video Analytics & AI Detection Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Surveillance Systems

--------------------------------------------------

Assembly Type

Artificial Intelligence Video Analytics

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-601 Fixed IP Camera Assembly

ASM-602 Network Video Recorder Assembly

ASM-603 PTZ Camera Assembly

ASM-503 Managed Network Switch Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Video Analytics & AI Detection Assembly establishes

the engineering standard for configuring, validating,

documenting, and commissioning AI-powered surveillance

analytics.

The assembly standardizes object classification,

behavioral analytics, event detection, alarm filtering,

automation integration, cybersecurity, and lifecycle

management while maximizing detection accuracy and

minimizing nuisance alarms.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Cameras installed and commissioned.

• Recording platform operational.

• Network infrastructure operational.

• Camera fields of view optimized.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Buildings

• Warehouses

• Retail

• Educational Facilities

• Hospitality

======================================================================

STANDARD SCOPE

Includes

• AI Configuration

• Object Detection

• Behavioral Analytics

• Event Rules

• Alarm Configuration

• Automation Integration

• Documentation

• Commissioning

======================================================================

SURVEILLANCE PERFORMANCE REQUIREMENTS (SPR)

Detection Accuracy

Per manufacturer specification

--------------------------------------------------

False Alarm Rate

Minimized through engineering optimization

--------------------------------------------------

Object Classification

Verified

--------------------------------------------------

AI Processing

Verified

--------------------------------------------------

Event Recording

Verified

--------------------------------------------------

Notification Accuracy

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Analysis

--------------------------------------------------

Reliability

Continuous AI operation

--------------------------------------------------

Expandability

Supports future analytics

--------------------------------------------------

Maintenance Accessibility

Software configurable

--------------------------------------------------

Acceptance Criteria

AI analytics shall reliably detect approved events,

properly classify objects, and generate accurate

notifications while minimizing nuisance alarms.

======================================================================

SUPPORTED AI FUNCTIONS

Object Classification

• Human

• Vehicle

• Animal

• Bicycle

• Motorcycle

• Package (where supported)

--------------------------------------------------

Behavior Detection

• Line Crossing

• Intrusion Detection

• Loitering

• Region Entry

• Region Exit

• Object Removal

• Object Left Behind

--------------------------------------------------

Advanced Features

• Auto Tracking

• Facial Detection*

• License Plate Recognition*

• Crowd Detection

• Heat Mapping

*Where legally permitted.

======================================================================

EVENT CONFIGURATION

Detection Zones

Verified

--------------------------------------------------

Schedules

Configured

--------------------------------------------------

Sensitivity

Optimized

--------------------------------------------------

Confidence Thresholds

Configured

--------------------------------------------------

Alarm Priorities

Configured

--------------------------------------------------

Recording Triggers

Verified

======================================================================

AUTOMATION INTEGRATION

Supported Platforms

• Control4

• Savant

• Crestron Home

• Josh.ai

• RTI

--------------------------------------------------

Supported Actions

• Push Notifications

• Email Alerts

• Relay Outputs

• Lighting Activation

• Audio Announcements

• Scene Activation

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

AI Processing

Minimum 20% reserve

--------------------------------------------------

Recording Capacity

Verified

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Future Expansion

Cloud AI

Advanced analytics

Additional cameras

Enterprise analytics

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Encryption

HTTPS required

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Privacy Compliance

Required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify surveillance objectives

• Verify camera coverage

• Verify analytics requirements

• Verify customer approval

--------------------------------------------------

MATERIAL VERIFICATION

• AI licensing verified

• Camera compatibility verified

• Recording platform verified

--------------------------------------------------

PREWIRE / ROUGH-IN

Not Applicable

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure detection zones

• Configure AI rules

• Configure schedules

• Configure notifications

• Configure automation

• Configure recording triggers

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify object detection

• Verify AI classification

• Verify intrusion events

• Verify line crossing

• Verify notifications

• Verify automation events

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Object detection verified

□ AI classification verified

□ Event notifications verified

□ Automation verified

□ False alarms minimized

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ AI rules documented

□ Detection zones verified

□ Notification recipients verified

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ AI Configuration Report

□ Detection Zone Map

□ Event Schedule

□ Notification Schedule

□ Automation Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Software

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain supported release

AI tuning recommended annually.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• AI Metadata

• Ethernet

• HTTPS

• ONVIF Events

• API Events

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• AI Configuration Software

• Network Analyzer

• Mobile Test Device

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Network

□ Bandwidth verified

--------------------------------------------------

Automation

□ Event integration verified

--------------------------------------------------

Customer

□ Notification preferences approved

--------------------------------------------------

Security

□ Detection objectives approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-606 Remote Viewing & Mobile Access Assembly

ASM-607 Camera Storage & Retention Assembly

ASM-608 Perimeter Surveillance Assembly

ASM-609 Surveillance Commissioning & Certification Assembly

Future AI Analytics Assemblies

======================================================================

INSTALLATION RULES

1.

AI detection zones shall match the approved

engineering drawings.

--------------------------------------------------

2.

Confidence thresholds shall be adjusted to minimize

false alarms while maintaining reliable detection.

--------------------------------------------------

3.

Notification recipients shall be verified prior to

project turnover.

--------------------------------------------------

4.

Facial recognition and license plate recognition

shall only be enabled where legally permitted and

approved by the customer.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include AI validation,

configuration backups, commissioning reports,

QC photographs, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Detection zones too large

• Excessive false alarms

• Incorrect sensitivity settings

• Missing notification testing

• Disabled AI features

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

AI Surveillance Standards

ONVIF Standards

Cybersecurity Standards

Privacy Compliance Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-605

======================================================================