======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-607

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-SUR-STOR-001

--------------------------------------------------

ASSEMBLY NAME

Camera Storage & Retention Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Surveillance Systems

--------------------------------------------------

Assembly Type

Video Storage & Retention Management

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-602 Network Video Recorder Assembly

ASM-503 Managed Network Switch Assembly

ASM-507 UPS & Power Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Camera Storage & Retention Assembly establishes the

engineering standard for surveillance video storage,

retention management, redundancy, health monitoring,

evidence preservation, and lifecycle planning.

The assembly standardizes recording capacity calculations,

retention schedules, storage redundancy, drive monitoring,

archive procedures, export validation, and long-term data

integrity across all Digitally Defined surveillance systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• NVR operational.

• Cameras commissioned.

• Recording schedules approved.

• Customer retention requirements documented.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Buildings

• Warehouses

• Retail

• Hospitality

• Multi-Site Facilities

======================================================================

STANDARD SCOPE

Includes

• Storage Sizing

• Retention Planning

• RAID Configuration

• Drive Health Monitoring

• Archive Procedures

• Export Procedures

• Evidence Preservation

• Documentation

• Commissioning

======================================================================

SURVEILLANCE PERFORMANCE REQUIREMENTS (SPR)

Recording Availability

24/7 Continuous

--------------------------------------------------

Retention Period

Per engineering design

--------------------------------------------------

Storage Capacity

Verified

--------------------------------------------------

Drive Health

Verified

--------------------------------------------------

Export Integrity

Verified

--------------------------------------------------

Archive Integrity

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous Recording

--------------------------------------------------

Reliability

Enterprise-grade storage

--------------------------------------------------

Expandability

Supports future storage expansion

--------------------------------------------------

Maintenance Accessibility

Front-service storage access

--------------------------------------------------

Acceptance Criteria

Storage infrastructure shall reliably retain,

protect, archive, and retrieve surveillance

recordings in accordance with engineering

requirements.

======================================================================

STORAGE ARCHITECTURE

Supported Storage

• Internal NVR Storage

• NAS

• SAN

• Expansion Units

• Cloud Archive (where approved)

--------------------------------------------------

Supported RAID

• RAID 1

• RAID 5

• RAID 6

• RAID 10

Per engineering design

--------------------------------------------------

Drive Type

Surveillance-rated HDD

Enterprise SSD where specified

======================================================================

RETENTION MANAGEMENT

Retention Schedule

Customer approved

--------------------------------------------------

Continuous Recording

Supported

--------------------------------------------------

Event Recording

Supported

--------------------------------------------------

Overwrite Policy

Automatic after retention period

unless otherwise approved

--------------------------------------------------

Critical Event Protection

Enabled where supported

======================================================================

DRIVE HEALTH MANAGEMENT

Drive Monitoring

Enabled

--------------------------------------------------

SMART Monitoring

Enabled

--------------------------------------------------

Failure Alerts

Configured

--------------------------------------------------

Temperature Monitoring

Enabled

--------------------------------------------------

Predictive Failure Detection

Enabled where supported

--------------------------------------------------

Replacement Documentation

Required

======================================================================

VIDEO EXPORT & EVIDENCE MANAGEMENT

Supported Formats

Manufacturer native

MP4

AVI (where supported)

--------------------------------------------------

Evidence Verification

Playback verified after export

--------------------------------------------------

Chain of Custody

Required for evidentiary exports

--------------------------------------------------

Export Documentation

Required

--------------------------------------------------

Archive Verification

Required

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Storage Reserve

Minimum 25%

--------------------------------------------------

Camera Capacity

Minimum 20%

--------------------------------------------------

Rack Capacity

Minimum 30%

--------------------------------------------------

Future Expansion

Additional drives

Additional NVRs

Cloud archive

Enterprise storage

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

Required where supported

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Storage Access Logging

Enabled where supported

--------------------------------------------------

Evidence Access

Restricted and documented

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify retention requirements

• Calculate storage requirements

• Verify RAID design

• Verify expansion capacity

--------------------------------------------------

MATERIAL VERIFICATION

• Hard drives verified

• RAID controller verified

• Expansion units verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify rack installation

• Verify cooling

• Verify UPS protection

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure storage

• Configure RAID

• Configure retention

• Configure overwrite policy

• Configure SMART monitoring

• Configure alerts

--------------------------------------------------

TESTING & COMMISSIONING

• Verify recording

• Verify playback

• Verify export

• Verify retention

• Verify drive monitoring

• Verify storage alerts

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Storage verified

□ RAID verified

□ Retention verified

□ SMART monitoring verified

□ Export verified

□ Alerts verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Drives secure

□ Cooling verified

□ Labels complete

□ Documentation complete

□ Photos complete

--------------------------------------------------

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Storage Calculation Report

□ Retention Schedule

□ RAID Configuration

□ Drive Inventory

□ SMART Baseline Report

□ Export Procedures

□ Evidence Handling Procedure

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Storage Hardware

Manufacturer Warranty

Hard Drives

Manufacturer Warranty

Infrastructure

25+ Years

Drive health review recommended quarterly.

======================================================================

SIGNAL CLASSIFICATION

Primary Systems

• Storage Bus

• Ethernet

• ONVIF

• HTTPS

• RAID

• AC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Storage Diagnostic Software

• SMART Monitoring Utility

• Laptop

• Network Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Network

□ Bandwidth verified

--------------------------------------------------

Electrical

□ UPS verified

--------------------------------------------------

Customer

□ Retention policy approved

--------------------------------------------------

Security

□ Evidence procedures approved

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-608 Perimeter Surveillance Assembly

ASM-609 Surveillance Commissioning &

Certification Assembly

Future Cloud Recording Standards

Future Enterprise Storage Standards

======================================================================

INSTALLATION RULES

1.

Only surveillance-rated or enterprise-approved

storage devices shall be installed.

--------------------------------------------------

2.

Storage sizing shall include future expansion

capacity in accordance with engineering standards.

--------------------------------------------------

3.

SMART monitoring and failure alerts shall remain

enabled at all times.

--------------------------------------------------

4.

Video exports intended for evidentiary purposes

shall include documented chain-of-custody records.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include storage

calculations, configuration backups,

QC photographs, commissioning reports,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Undersized storage

• Consumer-grade hard drives

• Disabled SMART monitoring

• Missing RAID verification

• Unverified exports

• Missing evidence documentation

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Surveillance Engineering Standards

Storage Best Practices

RAID Standards

Cybersecurity Standards

Evidence Handling Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-607

======================================================================