======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-608

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-SUR-PER-001

--------------------------------------------------

ASSEMBLY NAME

Perimeter Surveillance Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Surveillance Systems

--------------------------------------------------

Assembly Type

Perimeter Surveillance System

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-503 Managed Network Switch Assembly

ASM-601 Fixed IP Camera Assembly

ASM-603 PTZ Camera Assembly

ASM-605 Video Analytics & AI Detection Assembly

ASM-607 Camera Storage & Retention Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Perimeter Surveillance Assembly establishes the

engineering standard for designing, installing,

configuring, documenting, and commissioning layered

property perimeter surveillance systems.

The assembly standardizes perimeter coverage, overlapping

fields of view, AI-assisted detection, vehicle monitoring,

critical asset protection, lighting integration, deterrence,

and long-term system scalability while minimizing blind

spots and maximizing situational awareness.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Property boundaries identified.

• Camera infrastructure installed.

• Network infrastructure operational.

• Exterior lighting evaluated.

• AI analytics available where specified.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Buildings

• Warehouses

• Industrial Facilities

• Parking Lots

• Campuses

======================================================================

STANDARD SCOPE

Includes

• Perimeter Camera Design

• Layered Coverage

• AI Detection

• Vehicle Monitoring

• Gate Surveillance

• Critical Asset Protection

• Lighting Integration

• Documentation

• Commissioning

======================================================================

SURVEILLANCE PERFORMANCE REQUIREMENTS (SPR)

Perimeter Coverage

100% engineered coverage

--------------------------------------------------

Blind Spots

None permitted within protected zones

--------------------------------------------------

Camera Overlap

Minimum 15% overlap between adjacent views

--------------------------------------------------

Identification Zones

Verified

--------------------------------------------------

Detection Zones

Verified

--------------------------------------------------

AI Detection

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous perimeter protection

--------------------------------------------------

Expandability

Supports future perimeter expansion

--------------------------------------------------

Maintenance Accessibility

Accessible without structural demolition

--------------------------------------------------

Acceptance Criteria

Perimeter surveillance shall provide continuous

coverage, verified AI detection, overlapping

camera views, and documented protection of all

critical property boundaries.

======================================================================

PERIMETER SECURITY DESIGN

Coverage Areas

• Property Lines

• Gates

• Driveways

• Parking Areas

• Walkways

• Building Entrances

• Loading Areas

• Utility Areas

--------------------------------------------------

Critical Assets

• Equipment Yards

• Mechanical Equipment

• Electrical Infrastructure

• Detached Buildings

• Fuel Storage

• Outdoor Inventory

======================================================================

CAMERA COVERAGE REQUIREMENTS

Coverage Strategy

Layered overlapping views

--------------------------------------------------

Identification

Primary access points

--------------------------------------------------

Recognition

Vehicle approaches

--------------------------------------------------

Detection

Entire perimeter

--------------------------------------------------

Long-Range Observation

Where specified

--------------------------------------------------

Blind Spot Verification

Required

======================================================================

AI & AUTOMATED RESPONSE

Supported Detection

• Human Detection

• Vehicle Detection

• Line Crossing

• Intrusion Detection

• Loitering

• Object Left Behind

--------------------------------------------------

Automation

• Lighting Activation

• Push Notifications

• Alarm Relay

• PTZ Tracking

• Audio Deterrence

• Scene Activation

======================================================================

LIGHTING INTEGRATION

Verify

□ Critical areas illuminated

□ Camera IR compatibility verified

□ Motion lighting coordinated

□ Glare minimized

□ Shadows minimized

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Camera Capacity

Minimum 20% reserve

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Recording Capacity

Verified

--------------------------------------------------

Expansion

Future perimeter zones

Additional cameras

Thermal cameras

Radar integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

HTTPS required

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Remote Monitoring

Encrypted only

--------------------------------------------------

Audit Logging

Enabled where supported

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review property layout

• Identify critical assets

• Establish coverage zones

• Review lighting conditions

--------------------------------------------------

MATERIAL VERIFICATION

• Cameras verified

• Mounting hardware verified

• Network components verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable pathways

• Verify conduit

• Verify mounting structures

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install cameras

• Verify overlap

• Verify field of view

• Verify environmental protection

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure AI zones

• Configure notifications

• Configure lighting integration

• Configure deterrence actions

• Configure recording

--------------------------------------------------

TESTING & COMMISSIONING

• Verify perimeter coverage

• Verify blind spot elimination

• Verify AI events

• Verify night operation

• Verify lighting integration

• Verify deterrence functions

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Coverage verified

□ Blind spots eliminated

□ AI detection verified

□ Lighting integration verified

□ Notifications verified

□ Recording verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Camera alignment verified

□ Mounting secure

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Perimeter Coverage Map

□ Camera Layout

□ AI Detection Zones

□ Critical Asset Protection Map

□ Lighting Coordination Report

□ Notification Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Firmware

Maintain supported release

Annual perimeter assessment recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• PoE

• ONVIF

• HTTPS

• AI Metadata

• Control Signals

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laser Range Finder

• Network Analyzer

• Wi-Fi Analyzer (where applicable)

• Laptop

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Builder

□ Property layout verified

--------------------------------------------------

Electrical

□ Exterior lighting verified

--------------------------------------------------

Landscape

□ Vegetation reviewed for obstruction

--------------------------------------------------

Security

□ Coverage approved

======================================================================

ROOM COMPATIBILITY

Applies to all exterior surveillance installations

and associated ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-609 Surveillance Commissioning &

Certification Assembly

Future Thermal Camera Assemblies

Future Radar Detection Assemblies

Future Integrated Security Standards

======================================================================

INSTALLATION RULES

1.

Every protected property boundary shall receive

continuous engineered surveillance coverage.

--------------------------------------------------

2.

Critical access points shall be visible from at least

two independent camera perspectives whenever feasible.

--------------------------------------------------

3.

Blind spots within designated protection zones shall

not be permitted without documented engineering

approval.

--------------------------------------------------

4.

AI detection zones shall be validated under both

daytime and nighttime operating conditions.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include perimeter coverage

maps, AI validation reports, QC photographs,

commissioning reports, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Large blind spots

• Poor camera overlap

• Vehicle approaches not covered

• Lighting causing image washout

• AI zones extending beyond property boundaries

• Unprotected critical assets

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Perimeter Security Standards

Surveillance Engineering Standards

AI Analytics Standards

Environmental Design Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-608

======================================================================