======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-701

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-PNL-001

--------------------------------------------------

ASSEMBLY NAME

Access Control Panel Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Intelligent Access Control Panel

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-501 Network Rack Assembly

ASM-503 Managed Network Switch Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-509 Network Commissioning & Certification Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Access Control Panel Assembly establishes the

engineering standard for installation, configuration,

integration, documentation, and commissioning of

network-connected access control panels.

The assembly standardizes panel installation, power

distribution, battery backup, network connectivity,

door controller integration, cybersecurity, and

long-term serviceability for all Digitally Defined

access control systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Network infrastructure operational.

• Dedicated power available.

• Battery backup available.

• Door hardware engineered.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Estates

• Commercial Offices

• Retail

• Warehouses

• Healthcare

• Educational Facilities

• Multi-Tenant Buildings

======================================================================

STANDARD SCOPE

Includes

• Access Control Panel

• Enclosure

• Power Supply

• Backup Batteries

• Network Connection

• Controller Integration

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Panel Availability

24/7 Continuous Operation

--------------------------------------------------

Controller Communication

Verified

--------------------------------------------------

Power Redundancy

Battery backup operational

--------------------------------------------------

Network Connectivity

Verified

--------------------------------------------------

Event Logging

Verified

--------------------------------------------------

Alarm Reporting

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous Operation

--------------------------------------------------

Reliability

Enterprise-grade performance

--------------------------------------------------

Expandability

Supports future door additions

--------------------------------------------------

Maintenance Accessibility

Front-service accessible

--------------------------------------------------

Acceptance Criteria

Panel shall continuously control, monitor,

record, and report all assigned access control

devices while maintaining secure communications

and backup power.

======================================================================

PANEL PERFORMANCE

Power Supply

Verified

--------------------------------------------------

Battery Charging

Verified

--------------------------------------------------

Controller Communication

Verified

--------------------------------------------------

Network Communication

Verified

--------------------------------------------------

Input Monitoring

Verified

--------------------------------------------------

Output Operation

Verified

======================================================================

POWER REQUIREMENTS

Primary Power

Dedicated circuit

--------------------------------------------------

Battery Backup

Minimum runtime per engineering design

--------------------------------------------------

Power Monitoring

Enabled

--------------------------------------------------

Low Battery Alert

Configured

--------------------------------------------------

Power Failure Reporting

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Door Capacity

Minimum 20% reserve

--------------------------------------------------

Input Capacity

Minimum 20% reserve

--------------------------------------------------

Output Capacity

Minimum 20% reserve

--------------------------------------------------

Power Capacity

Minimum 25% reserve

--------------------------------------------------

Future Expansion

Additional doors

Elevator control

Gate control

Visitor management

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

HTTPS/TLS required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify door schedule

• Verify panel capacity

• Verify power requirements

• Verify network requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Panel verified

• Batteries verified

• Power supply verified

• Network hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify cable pathways

• Verify dedicated power

• Verify grounding

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Mount enclosure

• Install panel

• Install batteries

• Connect network

• Connect power

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure controller

• Configure communication

• Configure alarms

• Configure reporting

• Configure backups

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify communication

• Verify power failover

• Verify battery operation

• Verify alarm reporting

• Verify event logging

• Verify controller operation

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Panel operational

□ Battery backup verified

□ Network communication verified

□ Alarm reporting verified

□ Event logging verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Enclosure secure

□ Wiring organized

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Panel Configuration

□ Input/Output Schedule

□ Battery Test Report

□ Network Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Panel

Manufacturer Warranty

Batteries

Manufacturer Warranty

Infrastructure

25+ Years

Battery replacement per manufacturer schedule.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• HTTPS

• TLS

• Relay Outputs

• Supervised Inputs

• AC/DC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Network Analyzer

• Laptop

• Battery Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Dedicated circuit verified

--------------------------------------------------

Network

□ Network verified

--------------------------------------------------

Security

□ Door schedule verified

--------------------------------------------------

Builder

□ Mounting location approved

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Security Control Rooms

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-702 Intelligent Door Controller Assembly

ASM-703 Card Reader & Credential Assembly

ASM-704 Electronic Lock & Door Hardware Assembly

ASM-705 Request-to-Exit (REX), Door Contacts &

Input Devices Assembly

ASM-706 Credential Management &

User Permissions Assembly

ASM-707 Access Control Integration &

Automation Assembly

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

ASM-709 Access Control Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every access control panel shall be connected to an

approved UPS or battery backup system.

--------------------------------------------------

2.

Only supervised inputs and approved wiring methods

shall be utilized.

--------------------------------------------------

3.

Configuration backups shall be completed before

project turnover.

--------------------------------------------------

4.

Default administrator credentials shall never remain

active.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include battery test

records, configuration backups, QC photographs,

commissioning reports, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Insufficient battery capacity

• Poor enclosure organization

• Missing supervised circuits

• Default credentials retained

• Firmware not updated

• Missing configuration backup

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

Cybersecurity Standards

Life Safety Standards

UL 294 Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-701

======================================================================