======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-702

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-CTRL-001

--------------------------------------------------

ASSEMBLY NAME

Intelligent Door Controller Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Network Door Controller

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-701 Access Control Panel Assembly

ASM-503 Managed Network Switch Assembly

ASM-507 UPS & Power Conditioning Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Intelligent Door Controller Assembly establishes

the engineering standard for installation,

configuration, programming, monitoring, and

commissioning of intelligent network-connected

door controllers.

The assembly standardizes secure communications,

door state monitoring, lock control, input/output

management, alarm processing, and long-term

serviceability for all Digitally Defined access

control systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Access control panel operational.

• Network infrastructure operational.

• Door hardware installed.

• Lock hardware verified.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Educational Facilities

• Government Buildings

• Warehouses

• Residential Estates

• Mixed-Use Facilities

======================================================================

STANDARD SCOPE

Includes

• Intelligent Door Controller

• Controller Enclosure

• Lock Outputs

• Door Inputs

• Network Communication

• Alarm Monitoring

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Door Unlock Response

Less than 1 second

--------------------------------------------------

Door Position Reporting

Real-time

--------------------------------------------------

Controller Communication

Continuous

--------------------------------------------------

Alarm Reporting

Verified

--------------------------------------------------

Event Logging

Verified

--------------------------------------------------

Failover Operation

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Continuous secure operation

--------------------------------------------------

Expandability

Supports additional doors

--------------------------------------------------

Maintenance Accessibility

Accessible without structural demolition

--------------------------------------------------

Acceptance Criteria

Door controller shall continuously monitor,

control, and report door activity while maintaining

secure communication with the access control panel.

======================================================================

DOOR CONTROL FUNCTIONS

Supported Devices

• Electric Strike

• Magnetic Lock

• Electrified Lever

• Electrified Mortise Lock

• Automatic Door Operator

--------------------------------------------------

Supported Inputs

• Door Position Switch

• Request-to-Exit

• Lock Status

• Tamper Switch

• Fire Alarm Interface

--------------------------------------------------

Supported Outputs

• Lock Relay

• Alarm Relay

• Door Operator Trigger

• Auxiliary Relay

======================================================================

COMMUNICATION REQUIREMENTS

Network Communication

Encrypted

--------------------------------------------------

Heartbeat Monitoring

Enabled

--------------------------------------------------

Offline Detection

Enabled

--------------------------------------------------

Automatic Recovery

Verified

--------------------------------------------------

Firmware Updates

Supported

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Door Capacity

Minimum 20% reserve

--------------------------------------------------

Input Capacity

Minimum 20% reserve

--------------------------------------------------

Output Capacity

Minimum 20% reserve

--------------------------------------------------

Future Expansion

Additional doors

Elevator control

Gate operators

Visitor management

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS required

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify door schedule

• Verify controller assignment

• Verify lock compatibility

• Verify network communication

--------------------------------------------------

MATERIAL VERIFICATION

• Controller verified

• Enclosure verified

• Wiring verified

• Network hardware verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify cable pathways

• Verify supervised wiring

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Mount controller

• Connect lock outputs

• Connect inputs

• Connect network

• Label wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure controller

• Configure door logic

• Configure alarms

• Configure reporting

• Configure backups

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify unlock operation

• Verify relock timing

• Verify door status

• Verify alarms

• Verify communication

• Verify failover

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Unlock verified

□ Lock status verified

□ Door monitoring verified

□ Alarm reporting verified

□ Controller communication verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Wiring organized

□ Labels complete

□ Inputs verified

□ Outputs verified

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Controller Configuration

□ Door Assignment Schedule

□ Input/Output Schedule

□ Alarm Configuration

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Controller

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain supported release

Annual controller verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Ethernet

• TLS

• Relay Outputs

• Supervised Inputs

• Door Status

• Lock Control

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Network Analyzer

• Laptop

• Access Control Programming Software

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Power verified

--------------------------------------------------

Network

□ Controller communication verified

--------------------------------------------------

Door Hardware

□ Lock operation verified

--------------------------------------------------

Fire Alarm

□ Interface verified where required

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-703 Card Reader & Credential Assembly

ASM-704 Electronic Lock & Door Hardware Assembly

ASM-705 Request-to-Exit (REX), Door Contacts &

Input Devices Assembly

ASM-706 Credential Management &

User Permissions Assembly

ASM-707 Access Control Integration &

Automation Assembly

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

ASM-709 Access Control Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every controlled door shall have continuous door

position monitoring.

--------------------------------------------------

2.

All supervised inputs shall be verified before

project turnover.

--------------------------------------------------

3.

Controller firmware shall be updated before

commissioning.

--------------------------------------------------

4.

Configuration backups shall be completed before

customer acceptance.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include controller

configuration records, QC photographs,

commissioning reports, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unsupervised inputs

• Incorrect lock timing

• Door contacts improperly adjusted

• Firmware not updated

• Missing configuration backups

• Poor wiring organization

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

UL 294 Standards

Cybersecurity Standards

Life Safety Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-702

======================================================================