======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-703

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-CRD-001

--------------------------------------------------

ASSEMBLY NAME

Card Reader & Credential Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Credential Authentication Device

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-701 Access Control Panel Assembly

ASM-702 Intelligent Door Controller Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Card Reader & Credential Assembly establishes the

engineering standard for installing, configuring,

testing, documenting, and commissioning credential

authentication devices used within Digitally Defined

access control systems.

The assembly standardizes credential authentication,

reader communications, mobile credentials, biometric

integration, user feedback, tamper monitoring,

cybersecurity, and long-term serviceability.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Door controller operational.

• Lock hardware installed.

• Network infrastructure operational where required.

• Credential policies approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Schools

• Government Buildings

• Warehouses

• Residential Estates

• Mixed-Use Facilities

======================================================================

STANDARD SCOPE

Includes

• Card Reader

• Mobile Credential Reader

• Keypad (where applicable)

• Biometric Reader (where applicable)

• Reader Mounting

• Credential Configuration

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Credential Read Time

Less than 1 second

--------------------------------------------------

Authentication Accuracy

Verified

--------------------------------------------------

Reader Communication

Continuous

--------------------------------------------------

Credential Logging

Verified

--------------------------------------------------

Tamper Monitoring

Verified

--------------------------------------------------

LED/Buzzer Feedback

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Continuous credential authentication

--------------------------------------------------

Expandability

Supports future credential technologies

--------------------------------------------------

Maintenance Accessibility

Reader serviceable without wall demolition

--------------------------------------------------

Acceptance Criteria

Reader shall reliably authenticate authorized

credentials, communicate with the controller,

log all events, and provide user feedback in

accordance with engineering standards.

======================================================================

SUPPORTED CREDENTIAL TYPES

Supported Credentials

• Proximity Cards

• Smart Cards

• NFC Credentials

• BLE Mobile Credentials

• PIN Codes

• QR Credentials (where supported)

• Biometrics (where supported)

--------------------------------------------------

Authentication Modes

• Card Only

• PIN Only

• Card + PIN

• Mobile Only

• Mobile + PIN

• Biometric

• Multi-Factor Authentication

======================================================================

COMMUNICATION REQUIREMENTS

Supported Protocols

• OSDP Secure Channel

• Wiegand (Legacy Only)

--------------------------------------------------

Encryption

Enabled where supported

--------------------------------------------------

Reader Supervision

Enabled

--------------------------------------------------

Tamper Detection

Enabled

--------------------------------------------------

Heartbeat Monitoring

Verified

======================================================================

USER INTERFACE

LED Indicators

Verified

--------------------------------------------------

Audible Feedback

Verified

--------------------------------------------------

Accessibility

ADA compliant where applicable

--------------------------------------------------

Mounting Height

Per engineering drawings and code

--------------------------------------------------

User Experience

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Credential Capacity

Expandable

--------------------------------------------------

Reader Capacity

Supports future upgrades

--------------------------------------------------

Authentication Methods

Supports future technologies

--------------------------------------------------

Future Expansion

Mobile credentials

Biometric readers

Visitor credentials

Cloud authentication

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Credential Encryption

Required where supported

--------------------------------------------------

Reader Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

--------------------------------------------------

Credential Ownership

Customer maintained

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify reader type

• Verify credential policy

• Verify mounting location

• Verify controller compatibility

--------------------------------------------------

MATERIAL VERIFICATION

• Reader verified

• Mounting hardware verified

• Cabling verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable pathway

• Verify reader location

• Verify labeling

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install reader

• Connect controller

• Verify alignment

• Secure mounting

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure communication

• Configure credentials

• Configure authentication mode

• Configure LED behavior

• Configure buzzer

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify credential reads

• Verify authorization

• Verify denial events

• Verify tamper detection

• Verify event logging

• Verify user feedback

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Reader operational

□ Credential authentication verified

□ Communication verified

□ Tamper detection verified

□ Event logging verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Reader secure

□ Labels complete

□ Wiring protected

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Reader Schedule

□ Credential Type Schedule

□ Authentication Configuration

□ Reader Firmware Inventory

□ Event Log Verification

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Reader

Manufacturer Warranty

Infrastructure

25+ Years

Firmware

Maintain supported release

Annual operational verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• OSDP

• Wiegand

• BLE

• NFC

• HTTPS

• Supervised Inputs

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• OSDP Diagnostic Tool

• Laptop

• Mobile Credential Test Device

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Door Hardware

□ Reader location verified

--------------------------------------------------

Network

□ Communication verified

--------------------------------------------------

Security

□ Credential policy approved

--------------------------------------------------

Customer

□ Credential ownership confirmed

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-704 Electronic Lock & Door Hardware Assembly

ASM-705 Request-to-Exit (REX), Door Contacts &

Input Devices Assembly

ASM-706 Credential Management &

User Permissions Assembly

ASM-707 Access Control Integration &

Automation Assembly

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

ASM-709 Access Control Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

OSDP Secure Channel shall be utilized whenever

supported by both controller and reader.

--------------------------------------------------

2.

Legacy Wiegand installations shall only be used

when specifically approved by engineering.

--------------------------------------------------

3.

Every credential reader shall have tamper

monitoring enabled where supported.

--------------------------------------------------

4.

Reader firmware shall be updated before

commissioning.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include credential

verification records, QC photographs,

configuration backups, commissioning reports,

and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Using Wiegand instead of OSDP Secure Channel

• Incorrect mounting height

• Reader mounted near interference sources

• Disabled tamper detection

• Default configuration retained

• Outdated firmware

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

OSDP Standards (IEC 60839-11-5)

UL 294 Standards

Cybersecurity Standards

ADA Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-703

======================================================================