======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-704

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-LCK-001

--------------------------------------------------

ASSEMBLY NAME

Electronic Lock & Door Hardware Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Electrified Door Locking Hardware

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-702 Intelligent Door Controller Assembly

ASM-703 Card Reader & Credential Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Electronic Lock & Door Hardware Assembly establishes

the engineering standard for the installation,

configuration, adjustment, testing, and commissioning

of electrified locking hardware used within Digitally

Defined access control systems.

The assembly standardizes lock selection, fail-safe

and fail-secure operation, mechanical alignment,

power transfer, life safety compliance, ADA

requirements, and long-term reliability.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Door assembly complete.

• Door controller operational.

• Power available.

• Door handing verified.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Educational Facilities

• Government Buildings

• Retail

• Warehouses

• Luxury Residential

======================================================================

STANDARD SCOPE

Includes

• Electric Strike

• Magnetic Lock

• Electrified Mortise Lock

• Electrified Cylindrical Lock

• Electrified Exit Device

• Gate Lock

• Door Position Hardware

• Power Transfer Device

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Unlock Response

Less than 1 second

--------------------------------------------------

Mechanical Alignment

Verified

--------------------------------------------------

Latch Engagement

Verified

--------------------------------------------------

Holding Force

Per manufacturer specification

--------------------------------------------------

Door Operation

Smooth without binding

--------------------------------------------------

Life Safety Operation

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Operation

--------------------------------------------------

Reliability

Continuous secure operation

--------------------------------------------------

Expandability

Supports future hardware upgrades

--------------------------------------------------

Maintenance Accessibility

Serviceable without structural demolition

--------------------------------------------------

Acceptance Criteria

Door hardware shall provide reliable locking,

unlocking, life safety operation, and secure

mechanical alignment while complying with all

engineering requirements.

======================================================================

SUPPORTED HARDWARE

Electrified Locks

• Electric Strike

• Magnetic Lock

• Mortise Lock

• Cylindrical Lock

• Cabinet Lock

• Gate Lock

--------------------------------------------------

Exit Hardware

• Panic Device

• Electrified Exit Device

• Delayed Egress Device

--------------------------------------------------

Accessories

• Door Closers

• Door Coordinators

• Power Transfer Hinges

• Door Loops

• Armor Cables

======================================================================

DOOR OPERATION

Door Handing

Verified

--------------------------------------------------

Latch Alignment

Verified

--------------------------------------------------

Preload

Within manufacturer limits

--------------------------------------------------

Closing Speed

Verified

--------------------------------------------------

Opening Force

ADA compliant where applicable

--------------------------------------------------

Fire Rating

Maintained where required

======================================================================

POWER REQUIREMENTS

Voltage

Per manufacturer specification

--------------------------------------------------

Current Draw

Verified

--------------------------------------------------

Power Transfer

Verified

--------------------------------------------------

Backup Power

Supported

--------------------------------------------------

Power Monitoring

Enabled

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Power Reserve

Minimum 25%

--------------------------------------------------

Controller Capacity

Verified

--------------------------------------------------

Door Expansion

Supported

--------------------------------------------------

Future Expansion

Additional locks

Automatic operators

Gate systems

Elevator control

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Controller Communication

Encrypted

--------------------------------------------------

Hardware Monitoring

Continuous

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify door type

• Verify hardware schedule

• Verify life safety requirements

• Verify power requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Lock verified

• Strike verified

• Mounting hardware verified

• Power transfer verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify cable routing

• Verify power

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install lock

• Install strike

• Install power transfer

• Adjust alignment

• Verify operation

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure unlock timing

• Configure fail-safe/fail-secure mode

• Configure monitoring

• Update firmware where applicable

--------------------------------------------------

TESTING & COMMISSIONING

• Verify lock operation

• Verify emergency release

• Verify door closure

• Verify preload

• Verify monitoring

• Verify life safety operation

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Lock operational

□ Alignment verified

□ Door closes correctly

□ Monitoring verified

□ Life safety verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Hardware secure

□ Fasteners torqued

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Hardware Schedule

□ Lock Configuration

□ Door Handing Verification

□ Power Verification

□ Fire Rating Verification

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Hardware

Manufacturer Warranty

Infrastructure

25+ Years

Moving Components

Annual inspection recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Systems

• Lock Power

• Relay Outputs

• Door Position

• Request-to-Exit

• Supervised Inputs

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Torque Wrench

• Alignment Gauge

• Drill

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Door Hardware

□ Mechanical operation verified

--------------------------------------------------

Electrical

□ Power verified

--------------------------------------------------

Fire Alarm

□ Release interface verified

--------------------------------------------------

Builder

□ Door/frame condition approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-705 Request-to-Exit (REX), Door Contacts &

Input Devices Assembly

ASM-706 Credential Management &

User Permissions Assembly

ASM-707 Access Control Integration &

Automation Assembly

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

ASM-709 Access Control Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every electrified lock shall be adjusted for smooth,

binding-free mechanical operation.

--------------------------------------------------

2.

Fail-safe or fail-secure operation shall match the

approved engineering design and applicable code.

--------------------------------------------------

3.

Fire-rated openings shall maintain their listing

after installation.

--------------------------------------------------

4.

Power transfer devices shall protect conductors from

mechanical damage throughout the full door swing.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include operational testing,

QC photographs, commissioning reports, and updated

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect door handing

• Misaligned strikes

• Excessive preload

• Missing fire-rating compliance

• Damaged power transfer wiring

• Incorrect fail-safe/fail-secure configuration

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

UL 294 Standards

NFPA 80

NFPA 101

ADA Standards

BHMA Hardware Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-704

======================================================================