======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-705

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-INP-001

--------------------------------------------------

ASSEMBLY NAME

Request-to-Exit (REX), Door Contacts &

Input Devices Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Access Control Input Devices

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-702 Intelligent Door Controller Assembly

ASM-704 Electronic Lock & Door Hardware Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Request-to-Exit (REX), Door Contacts & Input

Devices Assembly establishes the engineering standard

for installation, configuration, testing, monitoring,

and commissioning of supervised access control input

devices.

The assembly standardizes request-to-exit devices,

door position switches, latch monitoring, lock status,

tamper detection, emergency release interfaces,

supervised wiring, and alarm processing to ensure

accurate door state monitoring and life safety

compliance.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Door controller operational.

• Electrified locking hardware installed.

• Wiring complete.

• Life safety requirements reviewed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Educational Facilities

• Government Buildings

• Retail

• Warehouses

• Residential Estates

======================================================================

STANDARD SCOPE

Includes

• Request-to-Exit Motion Sensors

• REX Push Buttons

• Door Position Switches

• Latch Monitoring

• Lock Status Monitoring

• Tamper Switches

• Emergency Release Devices

• Supervised Inputs

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Input Response Time

Less than 250 milliseconds

--------------------------------------------------

Door Position Accuracy

Verified

--------------------------------------------------

Input Supervision

Continuous

--------------------------------------------------

Alarm Reporting

Verified

--------------------------------------------------

Tamper Detection

Verified

--------------------------------------------------

Life Safety Interface

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous supervised operation

--------------------------------------------------

Expandability

Supports additional monitored inputs

--------------------------------------------------

Maintenance Accessibility

Accessible without structural demolition

--------------------------------------------------

Acceptance Criteria

Every monitored input shall accurately report

its operational state while maintaining

continuous supervision and alarm reporting.

======================================================================

SUPPORTED INPUT DEVICES

Monitoring Devices

• Door Position Switch

• Request-to-Exit Motion Sensor

• REX Push Button

• Lock Status Sensor

• Latch Bolt Monitor

• Tamper Switch

• Glass Break Interface

• Emergency Door Release

--------------------------------------------------

Supervision

End-of-Line Resistors

Single or Double EOL

Per manufacturer specification

======================================================================

INPUT MONITORING

Door Open

Verified

--------------------------------------------------

Door Closed

Verified

--------------------------------------------------

Door Held Open

Verified

--------------------------------------------------

Forced Door

Verified

--------------------------------------------------

Tamper Alarm

Verified

--------------------------------------------------

Emergency Release

Verified

======================================================================

LIFE SAFETY INTERFACES

Supported Interfaces

• Fire Alarm Release

• Emergency Break Glass

• Delayed Egress Release

• ADA Door Operators

--------------------------------------------------

Emergency Unlock

Verified

--------------------------------------------------

Alarm Priority

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Input Capacity

Minimum 20% reserve

--------------------------------------------------

Controller Capacity

Verified

--------------------------------------------------

Expansion

Future monitored devices

Additional doors

Gate monitoring

Elevator interfaces

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Input Monitoring

Continuous

--------------------------------------------------

Controller Communication

Encrypted

--------------------------------------------------

Audit Logging

Enabled

--------------------------------------------------

Configuration Backup

Required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify monitored devices

• Verify life safety requirements

• Verify supervision requirements

• Verify alarm logic

--------------------------------------------------

MATERIAL VERIFICATION

• Sensors verified

• Push buttons verified

• Contacts verified

• Resistors verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable routing

• Verify conduit

• Verify supervised wiring

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install sensors

• Install contacts

• Install REX devices

• Install emergency releases

• Label wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure supervised inputs

• Configure alarm timing

• Configure held-open timer

• Configure forced-door timer

• Configure event logging

--------------------------------------------------

TESTING & COMMISSIONING

• Verify REX activation

• Verify door contact operation

• Verify held-open alarm

• Verify forced-door alarm

• Verify emergency release

• Verify tamper alarms

--------------------------------------------------

PERFORMANCE VERIFICATION

□ REX operational

□ Door contacts verified

□ Held-open alarm verified

□ Forced-door alarm verified

□ Tamper detection verified

□ Emergency release verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Input devices secure

□ Wiring protected

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Input Device Schedule

□ Door Monitoring Schedule

□ Alarm Timing Configuration

□ Supervision Configuration

□ Event Log Verification

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Input Devices

Manufacturer Warranty

Infrastructure

25+ Years

Annual operational verification recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Supervised Inputs

• Relay Inputs

• Door Status

• Lock Status

• Fire Alarm Interface

• Tamper Inputs

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Input Loop Tester

• Laptop

• Access Control Programming Software

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Door Hardware

□ Mechanical operation verified

--------------------------------------------------

Electrical

□ Emergency release verified

--------------------------------------------------

Fire Alarm

□ Interface operation verified

--------------------------------------------------

Security

□ Alarm sequences approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-706 Credential Management &

User Permissions Assembly

ASM-707 Access Control Integration &

Automation Assembly

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

ASM-709 Access Control Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every monitored door shall include supervised door

position monitoring.

--------------------------------------------------

2.

Request-to-Exit devices shall be verified under

normal and emergency operating conditions.

--------------------------------------------------

3.

Held-open and forced-door alarm timers shall match

the approved engineering design.

--------------------------------------------------

4.

Emergency release devices shall override locking

hardware where required by code.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include alarm verification,

QC photographs, configuration backups,

commissioning reports, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect resistor values

• Unsupervised input circuits

• Poor door contact alignment

• Improper held-open timing

• Missing emergency release testing

• Alarm logic not validated

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

UL 294 Standards

NFPA 101

Life Safety Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-705

======================================================================