======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-706

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-IDM-001

--------------------------------------------------

ASSEMBLY NAME

Credential Management & User Permissions Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Credential Administration & Identity Management

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-701 Access Control Panel Assembly

ASM-702 Intelligent Door Controller Assembly

ASM-703 Card Reader & Credential Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Credential Management & User Permissions Assembly

establishes the engineering standard for credential

lifecycle management, user administration, access

permissions, authentication policies, audit logging,

and long-term identity governance for Digitally

Defined access control systems.

The assembly standardizes credential issuance,

modification, suspension, revocation, visitor access,

mobile credentials, biometric enrollment, scheduling,

anti-passback, and reporting to ensure secure,

traceable, and scalable access management.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Access control system operational.

• Credential readers commissioned.

• Customer security policy approved.

• Administrative authority assigned.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Educational Facilities

• Government Buildings

• Warehouses

• Multi-Tenant Buildings

• Luxury Residential Estates

======================================================================

STANDARD SCOPE

Includes

• User Account Management

• Credential Issuance

• Mobile Credentials

• Biometric Enrollment

• Permission Groups

• Access Schedules

• Visitor Credentials

• Audit Reporting

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Credential Processing

Verified

--------------------------------------------------

Permission Assignment

Verified

--------------------------------------------------

Audit Logging

Continuous

--------------------------------------------------

Schedule Enforcement

Verified

--------------------------------------------------

Credential Revocation

Immediate

--------------------------------------------------

Administrative Access

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Administrative Operation

--------------------------------------------------

Reliability

Continuous credential management

--------------------------------------------------

Expandability

Supports unlimited future users

within platform limitations

--------------------------------------------------

Maintenance Accessibility

Administrative software configurable

--------------------------------------------------

Acceptance Criteria

Credential management shall securely control

identity creation, authentication, permissions,

reporting, and credential lifecycle management

while maintaining complete audit history.

======================================================================

SUPPORTED CREDENTIAL TYPES

Credential Formats

• Proximity Cards

• Smart Cards

• NFC Credentials

• BLE Mobile Credentials

• QR Credentials

• PIN Codes

• Biometric Credentials

--------------------------------------------------

Credential Status

• Active

• Disabled

• Suspended

• Expired

• Revoked

======================================================================

USER PERMISSION MANAGEMENT

Permission Groups

• Administrator

• Security Manager

• Standard User

• Visitor

• Contractor

• Temporary User

--------------------------------------------------

Access Levels

Per customer security policy

--------------------------------------------------

Door Groups

Supported

--------------------------------------------------

Area Groups

Supported

--------------------------------------------------

Time Schedules

Supported

======================================================================

ACCESS POLICIES

Supported Policies

• Time Schedules

• Holiday Schedules

• Anti-Passback

• Two-Person Rule

• First-In Unlock

• Escort Required

• Multi-Factor Authentication

--------------------------------------------------

Visitor Management

Supported

--------------------------------------------------

Temporary Credentials

Supported

======================================================================

AUDIT & REPORTING

Audit Logging

Continuous

--------------------------------------------------

Event Reports

Supported

--------------------------------------------------

Credential Reports

Supported

--------------------------------------------------

Door Activity Reports

Supported

--------------------------------------------------

Administrative Change Logs

Required

--------------------------------------------------

Compliance Reports

Supported

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Credential Capacity

Minimum 25% reserve

--------------------------------------------------

User Capacity

Expandable

--------------------------------------------------

Permission Groups

Expandable

--------------------------------------------------

Future Expansion

Cloud Identity

SSO Integration

Visitor Management

Enterprise Directory Integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator accounts

--------------------------------------------------

Multi-Factor Authentication

Required where supported

--------------------------------------------------

Password Policy

Customer approved

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Configuration Backup

Required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review customer security policy

• Define permission groups

• Define credential policies

• Review reporting requirements

--------------------------------------------------

MATERIAL VERIFICATION

• Software licensing verified

• Credential inventory verified

• Mobile credential compatibility verified

--------------------------------------------------

PREWIRE / ROUGH-IN

Not Applicable

--------------------------------------------------

SYSTEM CONFIGURATION

• Create administrators

• Create permission groups

• Configure schedules

• Configure anti-passback

• Configure visitor credentials

• Configure reporting

• Configure MFA

--------------------------------------------------

TESTING & COMMISSIONING

• Verify credential enrollment

• Verify permission groups

• Verify schedules

• Verify visitor credentials

• Verify audit logging

• Verify report generation

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Credentials verified

□ Permission groups verified

□ Audit logging verified

□ Reporting verified

□ MFA verified

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Permission matrix complete

□ Audit logs operational

□ Credential inventory complete

□ Documentation complete

□ Screenshots archived

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Credential Management Policy

□ Permission Matrix

□ Door Group Schedule

□ Access Schedule Matrix

□ Audit Configuration

□ Report Configuration

□ Administrator List

□ Configuration Backup

□ Customer Training Record

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Software

Manufacturer Warranty

Infrastructure

25+ Years

Credential audit recommended quarterly.

======================================================================

SIGNAL CLASSIFICATION

Primary Systems

• OSDP

• HTTPS

• TLS

• Authentication Events

• Audit Logs

• Administrative Database

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Access Control Management Software

• Mobile Credential Test Device

• Report Generator

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Security

□ Permission policy approved

--------------------------------------------------

IT

□ Authentication policy approved

--------------------------------------------------

Customer

□ Administrator ownership confirmed

--------------------------------------------------

Human Resources

□ User onboarding/offboarding procedure verified

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-707 Access Control Integration &

Automation Assembly

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

ASM-709 Access Control Commissioning &

Certification Assembly

Future Enterprise Identity Management Standards

======================================================================

INSTALLATION RULES

1.

Every user shall receive a unique credential.

--------------------------------------------------

2.

Shared administrator accounts are prohibited.

--------------------------------------------------

3.

Temporary and visitor credentials shall include

automatic expiration.

--------------------------------------------------

4.

Administrative actions shall be continuously logged.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include permission

matrices, audit reports, configuration backups,

customer training, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Shared user accounts

• Excessive user permissions

• Expired credentials left active

• Missing audit logs

• Disabled MFA

• Poor permission grouping

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

Identity Management Standards

Cybersecurity Standards

Zero Trust Security Principles

UL 294 Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-706

======================================================================