======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-707

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-INT-001

--------------------------------------------------

ASSEMBLY NAME

Access Control Integration & Automation Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Access Control System Integration

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-503 Managed Network Switch Assembly

ASM-505 Network Controller Assembly

ASM-605 Video Analytics & AI Detection Assembly

ASM-701 Access Control Panel Assembly

ASM-702 Intelligent Door Controller Assembly

ASM-706 Credential Management &

User Permissions Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Access Control Integration & Automation Assembly

establishes the engineering standard for integrating

access control systems with surveillance, automation,

intrusion detection, visitor management, intercom,

lighting, HVAC, elevator control, gates, and other

building technologies.

The assembly standardizes event-driven automation,

cross-platform communication, API integration, relay

logic, synchronization, failover behavior, and unified

event reporting throughout Digitally Defined systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Access control operational.

• Network infrastructure operational.

• Integrated systems available.

• Customer automation requirements approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Luxury Residential

• Commercial Buildings

• Mixed-Use Facilities

• Healthcare

• Schools

• Government Buildings

• Enterprise Facilities

======================================================================

STANDARD SCOPE

Includes

• API Integration

• Relay Integration

• Automation Events

• Surveillance Integration

• Visitor Management

• Intercom Integration

• Lighting Integration

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Integration Response Time

Less than 2 seconds

--------------------------------------------------

Automation Reliability

Verified

--------------------------------------------------

Cross-System Communication

Continuous

--------------------------------------------------

Event Synchronization

Verified

--------------------------------------------------

Alarm Propagation

Verified

--------------------------------------------------

Audit Logging

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Integration

--------------------------------------------------

Reliability

Enterprise-grade interoperability

--------------------------------------------------

Expandability

Supports future integrations

--------------------------------------------------

Maintenance Accessibility

Software configurable

--------------------------------------------------

Acceptance Criteria

Integrated systems shall exchange events,

commands, and status information reliably while

maintaining synchronized operation and complete

audit records.

======================================================================

SUPPORTED INTEGRATIONS

Security

• Surveillance Systems

• Intrusion Detection

• Visitor Management

• Intercom Systems

--------------------------------------------------

Building Systems

• Lighting Control

• HVAC

• Elevator Control

• Gate Operators

• Garage Doors

--------------------------------------------------

Automation Platforms

• Control4

• Crestron

• Savant

• Josh.ai

• RTI

======================================================================

AUTOMATION EVENTS

Supported Triggers

• Door Unlock

• Door Forced Open

• Credential Accepted

• Credential Denied

• Visitor Arrival

• Alarm Activation

• Fire Alarm

• Lockdown

--------------------------------------------------

Supported Actions

• Lighting Scene

• Camera Preset

• PTZ Tracking

• Recording Bookmark

• HVAC Adjustment

• Elevator Recall

• Push Notification

• Email Notification

======================================================================

SYSTEM SYNCHRONIZATION

Clock Synchronization

Required

--------------------------------------------------

Event Time Stamps

Verified

--------------------------------------------------

API Health Monitoring

Enabled

--------------------------------------------------

Relay Status

Verified

--------------------------------------------------

Failover Recovery

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

API Capacity

Minimum 20% reserve

--------------------------------------------------

Relay Capacity

Minimum 20% reserve

--------------------------------------------------

Network Capacity

Verified

--------------------------------------------------

Future Expansion

Enterprise APIs

Cloud Services

AI Workflows

Building Digital Twins

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

API Authentication

Required

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Webhook Security

Verified

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review integration matrix

• Review automation sequences

• Review API requirements

• Review customer workflows

--------------------------------------------------

MATERIAL VERIFICATION

• API licensing verified

• Relay modules verified

• Software compatibility verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify integration wiring

• Verify relay interfaces

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure integrations

• Configure API connections

• Configure relay logic

• Configure automation rules

• Configure notifications

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify event synchronization

• Verify API communication

• Verify relay outputs

• Verify automation sequences

• Verify notifications

• Verify failover

--------------------------------------------------

PERFORMANCE VERIFICATION

□ API communication verified

□ Automation verified

□ Relay interfaces verified

□ Event synchronization verified

□ Audit logging verified

□ Configuration backup completed

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Integration matrix complete

□ API credentials secured

□ Documentation complete

□ Screenshots archived

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Integration Matrix

□ API Configuration

□ Relay Logic Schedule

□ Automation Flow Charts

□ Event Trigger Matrix

□ Notification Schedule

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Software

Manufacturer Warranty

Infrastructure

25+ Years

Integration validation recommended annually.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• HTTPS

• TLS

• API Calls

• Webhooks

• Relay Outputs

• Event Metadata

• Ethernet

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• API Testing Software

• Network Analyzer

• Automation Programming Software

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Automation

□ Integration verified

--------------------------------------------------

Security

□ Event logic approved

--------------------------------------------------

IT

□ API security verified

--------------------------------------------------

Customer

□ Automation workflows approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

ASM-709 Access Control Commissioning &

Certification Assembly

Future Smart Building Standards

Future Enterprise Automation Standards

======================================================================

INSTALLATION RULES

1.

All integrated systems shall maintain synchronized

time and event logging.

--------------------------------------------------

2.

API credentials shall be securely stored and never

shared between unrelated systems.

--------------------------------------------------

3.

Automation sequences shall be validated under both

normal and failure conditions.

--------------------------------------------------

4.

Cross-system events shall be fully documented and

customer approved before project turnover.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include automation flow

documentation, API configuration records,

QC photographs, commissioning reports, and updated

documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unsynchronized system clocks

• Incorrect automation sequencing

• Unsecured API credentials

• Missing relay validation

• Duplicate event triggers

• Incomplete failover testing

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

API Integration Standards

Cybersecurity Standards

Building Automation Standards

ONVIF Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-707

======================================================================