======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-708

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-LIFE-001

--------------------------------------------------

ASSEMBLY NAME

Emergency Lockdown & Life Safety Integration Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Life Safety & Emergency Response Integration

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-701 Access Control Panel Assembly

ASM-702 Intelligent Door Controller Assembly

ASM-704 Electronic Lock & Door Hardware Assembly

ASM-705 Request-to-Exit (REX), Door Contacts &

Input Devices Assembly

ASM-707 Access Control Integration &

Automation Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Emergency Lockdown & Life Safety Integration

Assembly establishes the engineering standard for

integrating access control systems with life safety,

emergency response, fire alarm systems, mass

notification, and emergency building operations.

The assembly standardizes emergency unlocking,

lockdown sequencing, first responder access,

emergency overrides, fire alarm integration,

occupant egress, event logging, and regulatory

compliance while ensuring life safety always takes

priority over physical security.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Access control system operational.

• Fire alarm system operational.

• Emergency procedures approved.

• AHJ requirements reviewed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Commercial Offices

• Healthcare

• Educational Facilities

• Government Buildings

• Industrial Facilities

• Hospitality

• Mixed-Use Buildings

======================================================================

STANDARD SCOPE

Includes

• Emergency Lockdown

• Fire Alarm Integration

• Emergency Unlock

• Mass Notification Integration

• First Responder Access

• Elevator Recall Coordination

• Generator & UPS Coordination

• Documentation

• Commissioning

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Emergency Response Time

Per engineering design

--------------------------------------------------

Emergency Unlock

Verified

--------------------------------------------------

Lockdown Activation

Verified

--------------------------------------------------

Life Safety Override

Verified

--------------------------------------------------

Event Logging

Verified

--------------------------------------------------

System Recovery

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous emergency readiness

--------------------------------------------------

Expandability

Supports future emergency systems

--------------------------------------------------

Maintenance Accessibility

Accessible without structural demolition

--------------------------------------------------

Acceptance Criteria

The system shall safely execute emergency

responses, maintain required egress, coordinate

with life safety systems, and record all events

in accordance with engineering requirements and

applicable codes.

======================================================================

EMERGENCY RESPONSE FUNCTIONS

Supported Events

• Building Lockdown

• Fire Alarm Activation

• Emergency Unlock

• Shelter-in-Place

• Duress Alarm

• Panic Alarm

• Medical Emergency

• Security Breach

--------------------------------------------------

Supported Actions

• Unlock Doors

• Lock Selected Doors

• Trigger Mass Notification

• Activate Cameras

• Trigger Lighting Scenes

• Send Notifications

• Record Event History

======================================================================

LIFE SAFETY INTEGRATION

Integrated Systems

• Fire Alarm Control Panel

• Emergency Voice System

• Mass Notification System

• Elevator Recall

• Automatic Door Operators

• Smoke Control Systems

--------------------------------------------------

Emergency Egress

Verified

--------------------------------------------------

Fire Alarm Release

Verified

======================================================================

FIRST RESPONDER ACCESS

Supported Methods

• Knox® System (where required)

• Emergency Credentials

• Command-Level Access

• Temporary Override

--------------------------------------------------

Emergency Access Logs

Required

--------------------------------------------------

Override Authorization

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Input Capacity

Minimum 20% reserve

--------------------------------------------------

Output Capacity

Minimum 20% reserve

--------------------------------------------------

Power Capacity

Minimum 25% reserve

--------------------------------------------------

Future Expansion

Campus-wide lockdown

Regional notification

Enterprise emergency management

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Emergency Authority

Role-based

--------------------------------------------------

Encryption

TLS/HTTPS required

--------------------------------------------------

Audit Logging

Mandatory

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Emergency Event Protection

Required

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review emergency procedures

• Review life safety requirements

• Review AHJ requirements

• Review emergency workflows

--------------------------------------------------

MATERIAL VERIFICATION

• Interface modules verified

• Fire alarm interfaces verified

• Relay modules verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify supervised wiring

• Verify fire alarm interface

• Verify emergency circuits

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure lockdown logic

• Configure emergency unlock

• Configure fire alarm interface

• Configure notification sequences

• Configure event logging

• Configure recovery procedures

--------------------------------------------------

TESTING & COMMISSIONING

• Verify lockdown

• Verify emergency unlock

• Verify fire alarm release

• Verify emergency notifications

• Verify first responder access

• Verify event logging

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Lockdown verified

□ Emergency unlock verified

□ Fire alarm integration verified

□ Emergency notifications verified

□ First responder access verified

□ Recovery verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Interface wiring complete

□ Labels complete

□ Emergency sequences documented

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Emergency Response Matrix

□ Lockdown Sequence

□ Fire Alarm Interface Report

□ First Responder Access Procedure

□ Event Log Verification

□ Recovery Procedure

□ Configuration Backup

□ Customer Training Record

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Emergency system validation recommended annually.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Fire Alarm Interface

• Supervised Inputs

• Relay Outputs

• HTTPS

• TLS

• Event Metadata

• Ethernet

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Fire Alarm Interface Tester

• Laptop

• Network Analyzer

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Fire Alarm

□ Interface verified

--------------------------------------------------

Electrical

□ Emergency power verified

--------------------------------------------------

Security

□ Lockdown procedures approved

--------------------------------------------------

Authority Having Jurisdiction (AHJ)

□ Acceptance requirements reviewed

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-709 Access Control Commissioning &

Certification Assembly

Future Enterprise Emergency Management Standards

Future Smart Building Safety Standards

======================================================================

INSTALLATION RULES

1.

Life safety requirements shall always take precedence

over security functions.

--------------------------------------------------

2.

Emergency egress shall never be impaired by access

control programming.

--------------------------------------------------

3.

Fire alarm interfaces shall be tested under live

operating conditions where permitted.

--------------------------------------------------

4.

Emergency event logs shall be retained in accordance

with customer policy and applicable regulations.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include emergency response

testing, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Incorrect fire alarm interface programming

• Lockdown preventing emergency egress

• Missing first responder procedures

• Emergency sequences not validated

• Unsupervised emergency circuits

• Missing recovery testing

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

UL 294 Standards

NFPA 72

NFPA 101

IBC

ADA Standards

Life Safety Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-708

======================================================================