======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-709

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-ACS-COM-001

--------------------------------------------------

ASSEMBLY NAME

Access Control Commissioning & Certification Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Access Control & Security Systems

--------------------------------------------------

Assembly Type

Access Control System Commissioning &

Final Acceptance

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-701 Access Control Panel Assembly

ASM-702 Intelligent Door Controller Assembly

ASM-703 Card Reader & Credential Assembly

ASM-704 Electronic Lock & Door Hardware Assembly

ASM-705 Request-to-Exit (REX), Door Contacts &

Input Devices Assembly

ASM-706 Credential Management &

User Permissions Assembly

ASM-707 Access Control Integration &

Automation Assembly

ASM-708 Emergency Lockdown &

Life Safety Integration Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Access Control Commissioning & Certification

Assembly establishes the engineering standard for

final inspection, testing, validation, certification,

documentation, customer training, and formal

acceptance of all Digitally Defined access control

systems.

This assembly serves as the final quality assurance

process before project turnover and verifies that

every panel, controller, credential reader, locking

device, monitored input, integration, emergency

function, and administrative policy operates in

accordance with Digitally Defined engineering

standards.

======================================================================

ENGINEERING ASSUMPTIONS

• Installation complete

• Access control system operational

• Locking hardware operational

• Credential database configured

• Emergency interfaces operational

• Documentation substantially complete

======================================================================

STANDARD APPLICATIONS

Required For

• Commercial Offices

• Healthcare

• Educational Facilities

• Government Buildings

• Warehouses

• Hospitality

• Enterprise Facilities

======================================================================

STANDARD SCOPE

Includes

• Engineering Verification

• Functional Testing

• Credential Validation

• Door Operation Verification

• Emergency Testing

• Integration Verification

• Documentation Review

• Customer Training

• Final Acceptance

======================================================================

ACCESS CONTROL PERFORMANCE REQUIREMENTS (APR)

Verify

□ Credential Authentication

□ Door Unlock Time

□ Door Position Monitoring

□ Lock Monitoring

□ Event Logging

□ Alarm Reporting

□ Emergency Override

□ Battery Backup

□ Controller Communication

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

100% Operational

--------------------------------------------------

Reliability

Continuous during testing

--------------------------------------------------

Performance

Meets engineering specifications

--------------------------------------------------

Documentation

100% Complete

--------------------------------------------------

Customer Acceptance

Required before project closeout

======================================================================

ACCESS CONTROL COMMISSIONING CHECKLIST

Access Control Panel

□ Power verified

□ Battery backup verified

□ Network verified

□ Firmware current

--------------------------------------------------

Door Controllers

□ Communication verified

□ Inputs verified

□ Outputs verified

□ Event logging verified

--------------------------------------------------

Credential Readers

□ Credential reads verified

□ LED indicators verified

□ Audible indicators verified

□ Tamper monitoring verified

--------------------------------------------------

Door Hardware

□ Unlock verified

□ Relock verified

□ Mechanical alignment verified

□ Door closer verified

□ Fail-safe/fail-secure verified

--------------------------------------------------

Door Monitoring

□ Door contacts verified

□ Request-to-Exit verified

□ Held-open alarms verified

□ Forced-door alarms verified

======================================================================

USER & CREDENTIAL VALIDATION

Verify

□ Permission groups

□ Time schedules

□ Temporary credentials

□ Visitor credentials

□ Anti-passback

□ Audit logging

□ Administrator ownership

======================================================================

EMERGENCY & LIFE SAFETY VALIDATION

Verify

□ Fire alarm interface

□ Emergency unlock

□ Lockdown

□ Emergency egress

□ Elevator recall

□ Mass notification integration

□ First responder access

======================================================================

SYSTEM INTEGRATION VALIDATION

Verify

□ Surveillance integration

□ Automation workflows

□ Lighting integration

□ HVAC integration

□ API communications

□ Relay logic

□ Event synchronization

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Verify

□ Controller reserve maintained

□ Input reserve maintained

□ Output reserve maintained

□ Power reserve maintained

□ Future expansion documented

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Verify

□ Default passwords removed

□ Administrator accounts secured

□ MFA enabled where supported

□ Firmware current

□ Configuration backups completed

□ Audit logs verified

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING

• Review engineering package

• Review door schedule

• Review credential policy

--------------------------------------------------

ENGINEERING VERIFICATION

• Verify panel

• Verify controllers

• Verify readers

• Verify locks

• Verify monitored inputs

--------------------------------------------------

SYSTEM TESTING

• Credential testing

• Door testing

• Alarm testing

• Integration testing

• Emergency testing

--------------------------------------------------

PERFORMANCE VALIDATION

• Door timing verification

• Credential verification

• Emergency verification

• Automation verification

• Reporting verification

--------------------------------------------------

CUSTOMER TRAINING

• Credential administration

• Door operation

• User management

• Emergency procedures

• Reporting

• Basic troubleshooting

--------------------------------------------------

FINAL ACCEPTANCE

• Documentation review

• Customer walkthrough

• Questions answered

• Customer approval

======================================================================

PERFORMANCE VERIFICATION

□ Hardware verified

□ Credentials verified

□ Emergency systems verified

□ Integrations verified

□ Customer training completed

□ Documentation complete

□ Meets engineering design intent

======================================================================

QUALITY CONTROL INSPECTION

Verify

□ Labels complete

□ Firmware current

□ Configuration backups complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Access Control Commissioning Report

□ Door Schedule

□ Credential Matrix

□ Permission Matrix

□ Emergency Procedures

□ Integration Matrix

□ Firmware Inventory

□ Configuration Backups

□ Customer Training Record

□ Customer Acceptance Form

□ Warranty Registration

□ As-Built Drawings

□ Digital Project Record Updated

======================================================================

CUSTOMER ACCEPTANCE

Customer Demonstration

□ Completed

--------------------------------------------------

Administrator Training

□ Completed

--------------------------------------------------

Documentation Delivered

□ Completed

--------------------------------------------------

Customer Questions

□ Answered

--------------------------------------------------

Customer Acceptance

□ Signed

======================================================================

WARRANTY & LIFECYCLE

Infrastructure

25+ Years

Electronics

Manufacturer Warranty

Firmware

Maintain current supported release

Annual preventative maintenance recommended.

======================================================================

SIGNAL CLASSIFICATION

Verified Systems

• Ethernet

• TLS

• OSDP

• Relay Outputs

• Supervised Inputs

• Access Events

• Audit Logs

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Laptop

• Network Analyzer

• Multimeter

• Access Control Programming Software

• Fire Alarm Interface Tester

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Power verified

--------------------------------------------------

Fire Alarm

□ Emergency interface verified

--------------------------------------------------

Security

□ Final acceptance completed

--------------------------------------------------

Customer

□ Final walkthrough completed

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-801 Intrusion Detection Control Panel Assembly

ASM-802 Motion Detection Assembly

ASM-803 Glass Break Detection Assembly

ASM-804 Perimeter Sensor Assembly

ASM-805 Intrusion System Integration Assembly

Future Enterprise Security Standards

======================================================================

INSTALLATION RULES

1.

Every controlled opening shall be fully tested before

project turnover.

--------------------------------------------------

2.

Every credential type shall be verified using live

authentication testing.

--------------------------------------------------

3.

Emergency and life safety interfaces shall be tested

under approved operating conditions.

--------------------------------------------------

4.

Configuration backups shall be completed before

customer acceptance.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every project shall include commissioning reports,

QC photographs, customer training records,

configuration backups, warranty documentation,

and updated project records.

======================================================================

COMMON ERRORS TO AVOID

• Untested credential groups

• Door timing not validated

• Missing emergency testing

• Integration workflows not verified

• Missing configuration backups

• Incomplete customer training

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Access Control Engineering Standards

UL 294 Standards

NFPA 72

NFPA 101

Cybersecurity Standards

Commissioning Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-709

======================================================================