======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-801

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-PNL-001

--------------------------------------------------

ASSEMBLY NAME

Intrusion Detection Control Panel Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Intrusion Detection Control Panel

--------------------------------------------------

Difficulty Level

5 of 5

--------------------------------------------------

Required Crew

1 Level-2+ Technician

1 Level-2 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2+

--------------------------------------------------

Dependencies

ASM-501 Network Rack Assembly

ASM-503 Managed Network Switch Assembly

ASM-507 UPS & Power Conditioning Assembly

ASM-509 Network Commissioning &

Certification Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Intrusion Detection Control Panel Assembly

establishes the engineering standard for installing,

configuring, programming, documenting, and

commissioning intrusion detection control panels.

The assembly standardizes alarm processing, zone

management, communication paths, battery backup,

system supervision, event logging, cybersecurity,

and long-term serviceability for all Digitally

Defined intrusion detection systems.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Structured cabling complete.

• Dedicated power available.

• Battery backup available.

• Sensor locations engineered.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Retail

• Warehouses

• Educational Facilities

• Mixed-Use Facilities

======================================================================

STANDARD SCOPE

Includes

• Intrusion Control Panel

• Enclosure

• Power Supply

• Backup Batteries

• Zone Programming

• Communication Modules

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Panel Availability

24/7 Continuous Operation

--------------------------------------------------

Zone Monitoring

Continuous

--------------------------------------------------

Alarm Processing

Verified

--------------------------------------------------

Event Logging

Verified

--------------------------------------------------

Communication Reporting

Verified

--------------------------------------------------

Battery Backup

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

Continuous Monitoring

--------------------------------------------------

Reliability

Enterprise-grade operation

--------------------------------------------------

Expandability

Supports future zones and devices

--------------------------------------------------

Maintenance Accessibility

Front-service accessible

--------------------------------------------------

Acceptance Criteria

The control panel shall continuously monitor,

process, report, and archive all intrusion events

while maintaining supervised communication,

backup power, and engineering compliance.

======================================================================

CONTROL PANEL PERFORMANCE

Zone Monitoring

Verified

--------------------------------------------------

Communication Modules

Verified

--------------------------------------------------

Power Supply

Verified

--------------------------------------------------

Battery Charging

Verified

--------------------------------------------------

Alarm Processing

Verified

--------------------------------------------------

System Supervision

Verified

======================================================================

POWER REQUIREMENTS

Primary Power

Dedicated circuit

--------------------------------------------------

Battery Backup

Per engineering design

--------------------------------------------------

Battery Monitoring

Enabled

--------------------------------------------------

Low Battery Reporting

Enabled

--------------------------------------------------

AC Failure Reporting

Verified

======================================================================

ZONE MANAGEMENT

Supported Zone Types

• Entry/Exit

• Interior

• Perimeter

• 24-Hour

• Fire Interface

• Panic

• Tamper

• Environmental

--------------------------------------------------

Zone Supervision

Required

--------------------------------------------------

Zone Labels

Required

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Zone Capacity

Minimum 20% reserve

--------------------------------------------------

Power Capacity

Minimum 25% reserve

--------------------------------------------------

Communication Capacity

Verified

--------------------------------------------------

Future Expansion

Additional sensors

Wireless expansion

Cellular backup

Automation integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Administrative Access

Restricted

--------------------------------------------------

Authentication

Unique administrator credentials

--------------------------------------------------

Encryption

TLS/HTTPS required where supported

--------------------------------------------------

Firmware

Current manufacturer-supported version

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Verify zone schedule

• Verify power requirements

• Verify communication paths

• Verify enclosure location

--------------------------------------------------

MATERIAL VERIFICATION

• Panel verified

• Batteries verified

• Communication modules verified

• Power supply verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify conduit

• Verify cable pathways

• Verify dedicated power

• Verify grounding

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Mount enclosure

• Install panel

• Install batteries

• Connect communication modules

• Label all wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure zones

• Configure reporting

• Configure supervision

• Configure communication paths

• Configure user codes

• Update firmware

--------------------------------------------------

TESTING & COMMISSIONING

• Verify alarm activation

• Verify reporting

• Verify battery operation

• Verify supervision

• Verify communication failover

• Verify event logging

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Panel operational

□ Zone supervision verified

□ Reporting verified

□ Battery backup verified

□ Event logging verified

□ Firmware current

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Enclosure secure

□ Wiring organized

□ Labels complete

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Zone Schedule

□ Panel Configuration

□ Communication Configuration

□ Battery Test Report

□ Firmware Inventory

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Control Panel

Manufacturer Warranty

Batteries

Manufacturer Warranty

Infrastructure

25+ Years

Battery replacement per manufacturer schedule.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Supervised Zones

• Relay Outputs

• Ethernet

• Cellular

• TLS

• AC/DC Power

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Battery Tester

• Laptop

• Alarm Programming Software

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Dedicated circuit verified

--------------------------------------------------

Network

□ Communication verified

--------------------------------------------------

Security

□ Zone schedule verified

--------------------------------------------------

Customer

□ Reporting requirements approved

======================================================================

ROOM COMPATIBILITY

ROOM-009 Equipment Room

ROOM-010 Network Closet

Security Equipment Rooms

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-802 Motion Detection Assembly

ASM-803 Glass Break Detection Assembly

ASM-804 Door, Window &

Perimeter Contact Assembly

ASM-805 Sirens, Strobes &

Alarm Notification Assembly

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

ASM-807 Intrusion System Integration &

Automation Assembly

ASM-808 Life Safety &

Environmental Detection Assembly

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Every intrusion control panel shall utilize supervised

zone monitoring.

--------------------------------------------------

2.

Battery backup shall be verified before project

turnover.

--------------------------------------------------

3.

Configuration backups shall be completed before

customer acceptance.

--------------------------------------------------

4.

Default administrator credentials shall never remain

active.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include battery test

records, configuration backups, QC photographs,

commissioning reports, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Unsupervised zones

• Incorrect zone programming

• Missing battery testing

• Default credentials retained

• Firmware not updated

• Poor enclosure organization

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

UL 681 Standards

UL 1023 Standards

Cybersecurity Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-801

======================================================================