======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-802

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-MOT-001

--------------------------------------------------

ASSEMBLY NAME

Motion Detection Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Motion Detection Sensor

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-801 Intrusion Detection Control Panel Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Motion Detection Assembly establishes the

engineering standard for installing, configuring,

testing, documenting, and commissioning motion

detection devices within Digitally Defined intrusion

detection systems.

The assembly standardizes passive infrared (PIR),

dual-technology, microwave, ceiling-mounted,

long-range, curtain, and outdoor motion detection

while maximizing detection performance and minimizing

false alarms.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Intrusion control panel operational.

• Sensor locations engineered.

• Environmental conditions reviewed.

• Detection coverage approved.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Retail

• Warehouses

• Educational Facilities

• Mixed-Use Buildings

======================================================================

STANDARD SCOPE

Includes

• PIR Motion Sensors

• Dual-Technology Sensors

• Microwave Sensors

• Ceiling Sensors

• Curtain Sensors

• Outdoor Motion Sensors

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Detection Accuracy

Verified

--------------------------------------------------

Coverage Area

Per engineering design

--------------------------------------------------

False Alarm Resistance

Optimized

--------------------------------------------------

Tamper Monitoring

Verified

--------------------------------------------------

Zone Supervision

Continuous

--------------------------------------------------

Alarm Reporting

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous detection

--------------------------------------------------

Expandability

Supports additional sensors

--------------------------------------------------

Maintenance Accessibility

Accessible without structural demolition

--------------------------------------------------

Acceptance Criteria

Motion detectors shall reliably detect human

movement within the engineered coverage area

while minimizing nuisance and false alarms.

======================================================================

SUPPORTED SENSOR TYPES

Indoor

• Passive Infrared (PIR)

• Dual Technology (PIR + Microwave)

• Ceiling Mount PIR

• Curtain Motion

--------------------------------------------------

Outdoor

• Dual Technology Outdoor

• Long-Range Motion

• Pet Immune Sensors

• Anti-Mask Sensors

======================================================================

DETECTION REQUIREMENTS

Coverage Pattern

Verified

--------------------------------------------------

Mounting Height

Per manufacturer specification

--------------------------------------------------

Detection Range

Per engineering drawings

--------------------------------------------------

Cross Coverage

Verified where applicable

--------------------------------------------------

Blind Spots

Not permitted

======================================================================

ENVIRONMENTAL REQUIREMENTS

Avoid

• HVAC airflow

• Direct sunlight

• Moving vegetation

• Reflective surfaces

• Heat sources

--------------------------------------------------

Temperature Rating

Per manufacturer specification

--------------------------------------------------

Environmental Protection

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Zone Capacity

Minimum 20% reserve

--------------------------------------------------

Power Capacity

Verified

--------------------------------------------------

Expansion

Additional sensors

Outdoor coverage

Warehouse zoning

AI verification integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Zone Supervision

Continuous

--------------------------------------------------

Tamper Detection

Enabled

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review detection plan

• Verify mounting location

• Review environmental conditions

• Verify zone assignment

--------------------------------------------------

MATERIAL VERIFICATION

• Sensor verified

• Mounting hardware verified

• Wiring verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable routing

• Verify conduit

• Verify supervised wiring

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install sensor

• Secure mounting

• Connect supervised loop

• Label wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure sensitivity

• Configure pulse count

• Configure tamper

• Configure reporting

--------------------------------------------------

TESTING & COMMISSIONING

• Verify walk test

• Verify coverage

• Verify blind spots

• Verify tamper alarm

• Verify reporting

• Verify false alarm resistance

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Detection verified

□ Coverage verified

□ Tamper verified

□ Reporting verified

□ Zone supervision verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Sensor secure

□ Labels complete

□ Wiring protected

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Motion Detection Layout

□ Zone Assignment

□ Coverage Verification

□ Sensitivity Settings

□ Walk Test Report

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Sensor

Manufacturer Warranty

Infrastructure

25+ Years

Annual walk test recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Supervised Zone

• Tamper

• Alarm

• Trouble

• Relay Output

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Multimeter

• Walk Test Tool

• Ladder

• Laptop

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Electrical

□ Power verified

--------------------------------------------------

Security

□ Coverage approved

--------------------------------------------------

Customer

□ Pet immunity requirements reviewed

--------------------------------------------------

Builder

□ Mounting location approved

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-803 Glass Break Detection Assembly

ASM-804 Door, Window &

Perimeter Contact Assembly

ASM-805 Sirens, Strobes &

Alarm Notification Assembly

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

ASM-807 Intrusion System Integration &

Automation Assembly

ASM-808 Life Safety &

Environmental Detection Assembly

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Motion detectors shall never be installed facing

direct sunlight, HVAC discharge, or moving objects.

--------------------------------------------------

2.

Detection coverage shall match approved engineering

drawings.

--------------------------------------------------

3.

Every motion detector shall be walk tested prior to

project turnover.

--------------------------------------------------

4.

Tamper monitoring shall remain enabled where

supported.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include walk test records,

QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Improper mounting height

• HVAC airflow causing false alarms

• Unverified blind spots

• Incorrect sensitivity settings

• Disabled tamper monitoring

• Poor sensor aiming

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

UL 639 Standards

False Alarm Reduction Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-802

======================================================================