======================================================================

DIGITALLY DEFINED

ASSEMBLY STANDARDS LIBRARY

ASSEMBLY ID

ASM-803

--------------------------------------------------

ASSEMBLY CLASSIFICATION CODE

ACC-IDS-GLS-001

--------------------------------------------------

ASSEMBLY NAME

Glass Break Detection Assembly

VERSION

1.0

STATUS

FROZEN

======================================================================

ASSEMBLY METADATA

Assembly Category

Intrusion Detection & Alarm Systems

--------------------------------------------------

Assembly Type

Glass Break Detection System

--------------------------------------------------

Difficulty Level

4 of 5

--------------------------------------------------

Required Crew

1 Level-2 Technician

1 Level-1 Technician

--------------------------------------------------

Estimated Labor

Automatically Generated

Referenced from LAB Library

--------------------------------------------------

Required Skill Level

Level-2

--------------------------------------------------

Dependencies

ASM-801 Intrusion Detection Control Panel Assembly

PROD Library

MAT Library

LAB Library

ROOM Library

QC Library

======================================================================

PURPOSE

The Glass Break Detection Assembly establishes the

engineering standard for installing, configuring,

testing, documenting, and commissioning glass break

detection devices within Digitally Defined intrusion

detection systems.

The assembly standardizes acoustic, shock, and

dual-technology glass break sensors while maximizing

intrusion detection accuracy and minimizing nuisance

or false alarms.

======================================================================

ENGINEERING ASSUMPTIONS

This assembly assumes:

• Intrusion control panel operational.

• Protected glazing identified.

• Sensor coverage engineered.

• Environmental conditions reviewed.

• Approved Digitally Defined products utilized.

• Installation performed by qualified technicians.

======================================================================

STANDARD APPLICATIONS

Approved For

• Residential Homes

• Luxury Estates

• Commercial Offices

• Retail

• Banks

• Storefronts

• Educational Facilities

======================================================================

STANDARD SCOPE

Includes

• Acoustic Glass Break Sensors

• Shock Sensors

• Dual-Technology Sensors

• Tamper Monitoring

• Zone Programming

• Documentation

• Commissioning

======================================================================

INTRUSION PERFORMANCE REQUIREMENTS (IPR)

Detection Accuracy

Verified

--------------------------------------------------

Coverage Area

Per engineering design

--------------------------------------------------

False Alarm Resistance

Optimized

--------------------------------------------------

Tamper Monitoring

Verified

--------------------------------------------------

Zone Supervision

Continuous

--------------------------------------------------

Alarm Reporting

Verified

======================================================================

SYSTEM DESIGN PERFORMANCE REQUIREMENTS (SDPR)

Availability

24/7 Continuous Monitoring

--------------------------------------------------

Reliability

Continuous glass break detection

--------------------------------------------------

Expandability

Supports future sensor additions

--------------------------------------------------

Maintenance Accessibility

Accessible without structural demolition

--------------------------------------------------

Acceptance Criteria

Glass break sensors shall reliably detect glass

fracture events within the engineered protection

zone while minimizing nuisance alarms and

maintaining continuous supervision.

======================================================================

SUPPORTED SENSOR TYPES

Acoustic Sensors

• Omni-Directional

• Directional

--------------------------------------------------

Shock Sensors

• Frame Mounted

• Surface Mounted

--------------------------------------------------

Dual-Technology Sensors

• Acoustic + Shock

• Acoustic + Motion Verification

======================================================================

GLAZING COMPATIBILITY

Supported Glass

• Plate Glass

• Tempered Glass

• Laminated Glass

• Wired Glass

• Insulated Glass

Per manufacturer specification

--------------------------------------------------

Maximum Coverage

Per manufacturer specification

--------------------------------------------------

Multi-Window Protection

Verified

======================================================================

SENSOR PLACEMENT

Mounting Height

Per manufacturer specification

--------------------------------------------------

Viewing Angle

Verified

--------------------------------------------------

Distance from Protected Glass

Per engineering drawings

--------------------------------------------------

Environmental Clearance

Verified

--------------------------------------------------

Blind Spots

Not permitted

======================================================================

ENVIRONMENTAL REQUIREMENTS

Avoid

• Mechanical equipment noise

• Speaker locations

• HVAC discharge

• High-vibration surfaces

• Excessive echo environments

--------------------------------------------------

Temperature Rating

Per manufacturer specification

--------------------------------------------------

Environmental Protection

Verified

======================================================================

SYSTEM CAPACITY & GROWTH PLANNING (SCGP)

Zone Capacity

Minimum 20% reserve

--------------------------------------------------

Power Capacity

Verified

--------------------------------------------------

Expansion

Additional glazing

Storefront expansion

Perimeter upgrades

AI verification integration

======================================================================

CYBERSECURITY & REMOTE ACCESS REQUIREMENTS (CSRR)

Zone Supervision

Continuous

--------------------------------------------------

Tamper Detection

Enabled

--------------------------------------------------

Configuration Backup

Required

--------------------------------------------------

Audit Logging

Enabled

======================================================================

ASSEMBLY EXECUTION PHASES

PLANNING & ENGINEERING

• Review glazing schedule

• Verify sensor placement

• Review environmental conditions

• Verify zone assignments

--------------------------------------------------

MATERIAL VERIFICATION

• Sensors verified

• Mounting hardware verified

• Wiring verified

--------------------------------------------------

PREWIRE / ROUGH-IN

• Verify cable routing

• Verify conduit

• Verify supervised wiring

--------------------------------------------------

TRIM / DEVICE INSTALLATION

• Install sensors

• Secure mounting

• Connect supervised loop

• Label wiring

--------------------------------------------------

SYSTEM CONFIGURATION

• Configure sensitivity

• Configure tamper

• Configure reporting

• Configure supervision

--------------------------------------------------

TESTING & COMMISSIONING

• Verify glass break simulator test

• Verify coverage

• Verify tamper alarm

• Verify reporting

• Verify false alarm resistance

• Verify zone supervision

--------------------------------------------------

PERFORMANCE VERIFICATION

□ Detection verified

□ Coverage verified

□ Tamper verified

□ Reporting verified

□ Zone supervision verified

□ Meets engineering design intent

--------------------------------------------------

QUALITY CONTROL INSPECTION

Verify

□ Sensors secure

□ Labels complete

□ Wiring protected

□ Documentation complete

□ Photos complete

======================================================================

DOCUMENTATION & PROJECT CLOSEOUT

Required

□ Glass Protection Layout

□ Zone Assignment

□ Coverage Verification

□ Sensitivity Settings

□ Glass Break Test Report

□ Configuration Backup

□ As-Built Updated

□ Digital Project Record Updated

--------------------------------------------------

WARRANTY & LIFECYCLE

Sensor

Manufacturer Warranty

Infrastructure

25+ Years

Annual functional testing recommended.

======================================================================

SIGNAL CLASSIFICATION

Primary Signals

• Supervised Zone

• Tamper

• Alarm

• Trouble

• Relay Output

======================================================================

REQUIRED PRODUCTS

Automatically Generated

Referenced from

PROD Library

======================================================================

REQUIRED MATERIALS

Automatically Generated

Referenced from

MAT Library

======================================================================

REQUIRED LABOR

Automatically Generated

Referenced from

LAB Library

======================================================================

REQUIRED TOOLS

• Glass Break Simulator

• Multimeter

• Ladder

• Laptop

• Label Printer

======================================================================

INTER-TRADE COORDINATION

Builder

□ Glazing schedule verified

--------------------------------------------------

Security

□ Coverage approved

--------------------------------------------------

Customer

□ Protected openings approved

--------------------------------------------------

Electrical

□ Wiring verified

======================================================================

ROOM COMPATIBILITY

Compatible with all applicable ROOM standards.

======================================================================

UPGRADE COMPATIBILITY

ASM-804 Door, Window &

Perimeter Contact Assembly

ASM-805 Sirens, Strobes &

Alarm Notification Assembly

ASM-806 Alarm Communication &

Central Station Monitoring Assembly

ASM-807 Intrusion System Integration &

Automation Assembly

ASM-808 Life Safety &

Environmental Detection Assembly

ASM-809 Intrusion Detection Commissioning &

Certification Assembly

======================================================================

INSTALLATION RULES

1.

Glass break sensors shall only be installed within

their approved coverage distances.

--------------------------------------------------

2.

Sensor placement shall account for room acoustics

and glazing construction.

--------------------------------------------------

3.

Every sensor shall be tested using an approved

glass break simulator prior to project turnover.

--------------------------------------------------

4.

Tamper monitoring shall remain enabled where

supported.

--------------------------------------------------

5.

Only approved Digitally Defined products shall be

installed.

--------------------------------------------------

6.

Every installation shall include glass break test

records, QC photographs, commissioning reports,

configuration backups, and updated documentation.

======================================================================

COMMON ERRORS TO AVOID

• Sensor mounted outside coverage area

• Incorrect glazing compatibility

• Excessive background noise

• Incorrect sensitivity adjustment

• Disabled tamper monitoring

• Untested sensors

• Incomplete documentation

======================================================================

REFERENCED LIBRARIES

DD-058 Assembly Standards Library

ROOM Library

PROD Library

MAT Library

LAB Library

QC Library

Intrusion Detection Engineering Standards

UL 639 Standards

False Alarm Reduction Standards

Installation Standards

======================================================================

REVISION APPROVAL

Engineering Approval

______________________

Operations Approval

______________________

Effective Date

______________________

Supersedes Version

N/A

Change Summary

Initial Release

======================================================================

END OF ASSEMBLY

ASM-803

======================================================================